| – |
| --- |
| Non conformity Report |  |
| IDENTIFICATION |  |
| 1. Originator’s Name: F. Terzi | 5. Date: 16.02.2007 |
| 2. Contractor/Supplier: ASG Superconductors S.p.A. | 6. Part description: |
| 3. Contract No: F462/LHC/LHC | 7. Qty: 1 |
| 4. Project Engineer: M. Bajko | 8. Dwg No: |

| 9. Found during what activity: |  |
| --- | --- |
|  Incoming inspection |  Final inspection |
|  In-process inspection |  Other: |

10. Description of non conformity (use continuation page if necessary)

The following temperature sensors TT 821 has been removed from rejected CMs, so wires cut at reduced length: - CX_LS_X08779 (CM 2013) - CX_LS_X13726 (CM 2023) - CX_LS_X14240 (CM 2032) - CX_LS_X15919 (CM 2049) - CX_LS_X20810 (CM 2051) - CX_LS_X15926 (CM 2069) - CX_LS_X20764 (CM 2098) - CX_LS_X20778 (CM 2124) - CX_LS_X23054 (CM 2190) - CX_LS_X24537 (CM 2239) - CX_LS_X26582 (CM 2290) - CX_LS_X25895 (CM 2368)

11. Action taken to prevent misuse (use continuation page if necessary)

| IMPORTANCE |  |  |
| --- | --- | --- |
| 12. |  Non critical |  Critical |

| DISPOSITION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 13. |  Use-as-is |  Repair |  Reject |  Rework |  Return to supplier |
| Description of proposed action (use continuation page if necessary) All mentioned TT 821 sensors (if available) will be sent back to CERN. |  |  |  |  |  |

CORRECTIVE/PREVENTIVE ACTION

14. Description of proposed action (use continuation page if necessary)

| APPROVAL OF NON CRITICAL NON CONFORMITIES |  |  |
| --- | --- | --- |
| 15 | Project Engineer: Marta Bajko | Date: 16.02.2007 |

| APPROVAL OF CRITICAL NON CONFORMITIES |  |  |
| --- | --- | --- |
| 16 | Project Management: | Date: |

| CLOSURE OF THE NON CONFORMITY |  |  |
| --- | --- | --- |
| Planned actions have been completed and corrective/preventive actions have been initiated |  |  |
|  | For non critical non conformities Quality Manager or Project Engineer | For critical non conformities Project Engineer |
| 17 | Name: F. Terzi Date: 16.02.2007 | Name: Date: |