## Sheet1
ANSALDO DIPOLES THERMOMETERS (TT821)
Final measurement before shipping the cold-mass to CERN
MAGNET N° | THERMOM. N° | DELIVERY VALUES |  | FINAL VALUES |  | REMARK | Opération which caused | Connections
|  | Temp. °C | Resist. | Temp. °C | Resist. |  | the damage | configuration
HCMB__A001-02000001 | CX_LS_X09272 | amb. | 65.8 | 18.6 | 65.63 |  |  | grounded
HCMB__A001-02000002 | CX_LS_X11789 | 19 | 59.39 | 23 | 57.9 |  |  | mixed
HCMB__A001-02000003 | CX_LS_X09260 | 19 | 55.24 | 21 | 55.45 |  |  | grounded
HCMB__A001-02000004 | CX_LS_X09320 | 19 | 64.67 | 19 | 65.25 |  |  | mixed
HCMB__A001-02000005 | CX_LS_X13728 | 16 | 60.09 | 17 | 60.54 |  |  | mixed
HCMB__A001-02000006 | CX_LS_X08961 | 20 | 56.77 | 12 | 57.53 | replaced on end plate | bullet screws welding | mixed ?
HCMB__A001-02000007 | CX_LS_X13688 | 19 | 57.43 | 24 | 58.03 |  |  | mixed
HCMB__A001-02000008 | CX_LS_X09322 | 19 | 84.49 | 15 | 85.3 |  |  | mixed
HCMB__A001-02000009 | CX_LS_X09319 | 19 | 57.31 | 26 | 56.82 |  |  | mixed
HCMB__A001-02000010 | CX_LS_X09321 | 19 | 53.27 | 18 | 53.87 |  |  | mixed
HCMB__A001-02000011 | CX_LS_X19112 | 24 | 62.16 | 14 | 63.54 |  |  | mixed
HCMB__A001-02000012 | CX_LS_X09268 | 19 | 57.7 | 20 | 57.63 |  |  | mixed
HCMB__A001-02000013 | CX_LS_X08779 | 19 | 60.51 | 22 | 59.14 |  |  | mixed
HCMB__A001-02000014 | CX_LS_X13729 | 20 | 60.62 | 25 | 59.29 |  |  | mixed
HCMB__A001-02000015 | CX_LS_X19113 | 24.4 | 61.12 | 18 | 61.95 |  |  | mixed
HCMB__A001-02000016 | CX_LS_X16039 | 24.9 | 67.89 | 31 | 67.2 | replaced on end plate | Before welding of end covers | mixed
HCMB__A001-02000017 | CX_LS_X09334 | 19 | 61.51 | 26 | 60.21 |  |  | mixed
HCMB__A001-02000018 | CX_LS_X11807 | 20 | 59.54 | 27 | 57.81 |  |  | mixed
HCMB__A001-02000019 | CX_LS_X08956 | 20 | 56.62 | 17 | 56.94 |  |  | mixed
HCMB__A001-02000020 | CX_LS_X13689 | 19 | 59.65 | 27 | 58.84 |  |  | mixed
HCMB__A001-02000021 | CX_LS_X13727 | 20 | 61.96 | 20 | 61.29 |  |  | mixed
HCMB__A001-02000022 | CX_LS_X11804 | 20 | 60.16 | 26 | 58.43 |  |  | mixed
HCMB__A001-02000023 | CX_LS_X13726 | 20 | 58.49 | 28 | 57.11 |  |  | mixed
HCMB__A001-02000024 | CX_LS_X11815 | 20 | 60.34 | 21 | 59.67 |  |  | mixed
HCMB__A001-02000025 | CX_LS_X11693 | 20 | 52.78 | 27 | 51.23 |  |  | mixed
HCMB__A001-02000026 | CX_LS_X11810 | 20 | 56.73 | 19 | 56.44 |  |  | mixed
HCMB__A001-02000027 | CX_LS_X09332 | 19 | 54.78 | 17 | 55.22 |  |  | mixed
HCMB__A001-02000028 | CX_LS_X11798 | 20 | 59.14 | 22 | 58.27 |  |  | mixed
HCMB__A001-02000029 | CX_LS_X08951 | 20 | 58.88 | 20 | 58.44 |  |  | mixed
HCMB__A001-02000030 | CX_LS_X19111 | 23.9 | 61.75 | 20 | 62.41 |  |  | mixed
HCMB__A001-02000031 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000032 | CX_LS_X14240 | 22.1 | 47.16 | 15 | 48.02 |  |  | mixed
HCMB__A001-02000033 | CX_LS_X16023 | 23.5 | 62.35 | 16 | 64.17 |  |  | mixed
HCMB__A001-02000034 | CX_LS_X16034 | 24 | 66.42 | 12 | 68.3 |  |  | mixed
HCMB__A001-02000035 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000036 | CX_LS_X16038 | 23.7 | 66.3 | 18 | 67.5 |  |  | mixed
HCMB__A001-02000037 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000038 | CX_LS_X15938 | 21.7 | 73.61 | 17 | 74.9 |  |  | mixed
HCMB__A001-02000039 | CX_LS_X16021 | 22.9 | 67.64 | 17 | 68.87 |  |  | mixed
HCMB__A001-02000040 | CX_LS_X16002 | 22.8 | 62.36 | 17 | 64.41 |  |  | mixed
HCMB__A001-02000041 | CX_LS_X14236 | 21.8 | 44.75 | 16 | 45.41 |  |  | mixed
HCMB__A001-02000042 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000043 | CX_LS_X14202 | 22 | 47.44 | 21 | 47.78 |  |  | mixed
HCMB__A001-02000044 | CX_LS_X14237 | 22 | 47.44 | 17 | 48.36 |  |  | mixed
HCMB__A001-02000045 | CX_LS_X15944 | 21.7 | 63.32 | 17 | 63.99 |  |  | mixed
HCMB__A001-02000046 | CX_LS_X14200 | 21.6 | 46.79 | 20 | 47.22 | Replaced on end plate | ??? | mixed
HCMB__A001-02000047 | CX_LS_X15916 | 21.1 | 69.29 | 17 | 70.04 |  |  | mixed
HCMB__A001-02000048 | CX_LS_X14233 | 21.9 | 47.28 | 14 | 48.68 |  |  | mixed
HCMB__A001-02000049 | CX_LS_X15919 | 21.6 | 69.47 | 21 | 69.7 |  |  | mixed
HCMB__A001-02000050 | CX_LS_X14203 | 22 | 46.89 | 15 | 47.69 |  |  | mixed
HCMB__A001-02000051 | CX_LS_X20810 | 25.3 | 67.65 | 16 | 70.55 | At middle of the magnet |  | mixed
HCMB__A001-02000052 | CX_LS_X14239 | 21.9 | 46.61 | 18 | 47.29 |  |  | mixed
HCMB__A001-02000053 | CX_LS_X15935 | 21.7 | 72.08 | 19 | 72.49 |  |  | mixed
HCMB__A001-02000054 | CX_LS_X16025 | 23.9 | 59.11 | 16 | 61.29 |  |  | mixed
HCMB__A001-02000055 | CX_LS_X16040 | 24.7 | 67.37 | 16 | 69.35 |  |  | mixed
HCMB__A001-02000056 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000057 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000058 | CX_LS_X16041 | 24.2 | 66.1 | 18 | 67.16 |  |  | mixed
HCMB__A001-02000059 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000060 | CX_LS_X15925 | 21.6 | 68.81 | 15 | 70.24 |  |  | mixed
HCMB__A001-02000061 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000062 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000063 | CX_LS_X16007 | 23 | 61.63 | 17 | 62.77 |  |  | mixed
HCMB__A001-02000064 | CX_LS_X15952 | 21.6 | 62.59 | 17 | 63.66 |  |  | mixed
HCMB__A001-02000065 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000066 | CX_LS_X15917 | 21.1 | 68.14 | 16 | 68.86 |  |  | mixed
HCMB__A001-02000067 | CX_LS_X15953 | 21.6 | 66.36 | 22 | 66.58 |  |  | mixed
HCMB__A001-02000068 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000069 | CX_LS_X15926 | 21.6 | 69.25 | 19 | 70.08 |  |  | mixed
HCMB__A001-02000070 | CX_LS_X15951 | 21.8 | 61.5 | 20 | 61.83 | Replaced on end plate | Short circuited | mixed
HCMB__A001-02000071 | CX_LS_X15929 | 21.7 | 70.31 | 21 | 70.31 |  |  | mixed
HCMB__A001-02000072 | CX_LS_X14201 | 21.6 | 45.33 | 17 | 45.55 |  |  | mixed
HCMB__A001-02000073 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000074 | CX_LS_X15948 | 22.2 | 63.36 | 20 | 63.53 |  |  | mixed
HCMB__A001-02000075 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000076 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000077 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000078 | CX_LS_X15937 | 21.8 | 70.51 | 22 | 70.37 |  |  | mixed
HCMB__A001-02000079 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000080 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000081 | CX_LS_X15920 | 21.6 | 72.31 | 20 | 72.83 |  |  | mixed
HCMB__A001-02000082 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000083 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000084 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000085 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000086 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000087 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000088 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000089 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000090 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000091 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000092 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000093 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000094 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000095 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000096 | CX_LS_X | [6 empty] | mixed
HCMB__A001-02000097 | CX_LS_X | [6 empty] | mixed
mixed = floating
| OK at standard place (drawing LHCMB__A0156.E) for series. At the middle of the magnet for pre-series (n°1 to 30) | [6 empty] | EXCEPT during
| Damaged at standard place but replaced on the connection side end plate | [6 empty] | H.V. tests where
| Damaged at standard place and not replaced | [6 empty] | they are grounded