## start
Mid-Plane of the Cold Mass
Jump to a graph, sheet or window by clicking on a green field
horizontal-shape |  | horizontal-delta |  | vertical
outer tube | inner tube | outer tube | inner tube | outer tube | inner tube
Offset of both tubes |  | Acceptancy test |  | Raw data
Twist
Magnet name |  | Step |  | Date & operator
Ansaldo 2020 |  | Final Mid-Plane |  | Date: 7/11/03
Operator: Russo

## all_measTR
pointID | x | y_meas | z_meas | x__theor | z_theor | +tol_x | -tol_x | +tol_z | -tol_z | offset | x_m-x_th | y_twist | twist | tw-av | av(tw) | +tol_tw-av | -tol_tw-av
ext1 | -98.372 | 155.143 | -0.002 | -97.6559 | 0 | -96.6559 | -98.6559 | 1 | -1 | 0.71607 | -0.71607 | 155.143 | 4.5239 | 4.4506 | 0.073343 | 3.0733 | -2.9267
ext2 | -98.839 | 268.254 | -0.056 | -97.9444 | 0 | -96.9444 | -98.9444 | 1 | -1 | 0.89638 | -0.89463 | 268.254 | 3.9173 | 3.844 | 0.073343 | 3.0733 | -2.9267
ext3 | -99.855 | 727.472 | 0.233 | -99.0973 | 0 | -98.0973 | -100.0973 | 1 | -1 | 0.79274 | -0.75773 | 727.472 | 5.7012 | 5.6278 | 0.073343 | 3.0733 | -2.9267
ext4 | -99.743 | 948.257 | -0.716 | -99.6266 | 0 | -98.6266 | -100.6266 | 1 | -1 | 0.72541 | -0.11643 | 948.257 | -1.5628 | -1.6362 | 0.073343 | 3.0733 | -2.9267
ext5 | -100.677 | 1199.54 | 0.344 | -100.2079 | 0 | -99.2079 | -101.2079 | 1 | -1 | 0.58172 | -0.46911 | 1199.54 | 2.8892 | 2.8158 | 0.073343 | 3.0733 | -2.9267
ext6 | -100.853 | 1459.084 | -0.378 | -100.7847 | 0 | -99.7847 | -101.7847 | 1 | -1 | 0.38411 | -0.068253 | 1459.084 | -0.44725 | -0.5206 | 0.073343 | 3.0733 | -2.9267
ext7 | -101.555 | 1644.196 | 0.371 | -101.1815 | 0 | -100.1815 | -102.1815 | 1 | -1 | 0.52641 | -0.37346 | 1644.196 | 2.3956 | 2.3223 | 0.073343 | 3.0733 | -2.9267
ext8 | -101.902 | 1968.899 | -0.148 | -101.8481 | 0 | -100.8481 | -102.8481 | 1 | -1 | 0.1575 | -0.053878 | 1968.899 | -0.015423 | -0.088765 | 0.073343 | 3.0733 | -2.9267
ext9 | -102.55 | 2131.393 | 0.425 | -102.1676 | 0 | -101.1676 | -103.1676 | 1 | -1 | 0.57169 | -0.38237 | 2131.393 | 2.298 | 2.2246 | 0.073343 | 3.0733 | -2.9267
ext10 | -102.937 | 2478.982 | 0.055 | -102.8196 | 0 | -101.8196 | -103.8196 | 1 | -1 | 0.12968 | -0.11744 | 2478.982 | 0.48324 | 0.4099 | 0.073343 | 3.0733 | -2.9267
ext11 | -103.427 | 2581.502 | 0.54 | -103.0036 | 0 | -102.0036 | -104.0036 | 1 | -1 | 0.68617 | -0.42335 | 2581.502 | 2.7812 | 2.7079 | 0.073343 | 3.0733 | -2.9267
ext12 | -104.037 | 2971.203 | 0.527 | -103.6693 | 0 | -102.6693 | -104.6693 | 1 | -1 | 0.64261 | -0.36772 | 2971.203 | 2.0512 | 1.9779 | 0.073343 | 3.0733 | -2.9267
ext13 | -103.821 | 2989.582 | 0.21 | -103.6993 | 0 | -102.6993 | -104.6993 | 1 | -1 | 0.2427 | -0.12166 | 2989.582 | 0.7043 | 0.63095 | 0.073343 | 3.0733 | -2.9267
ext14 | -104.609 | 3452.751 | 0.395 | -104.4172 | 0 | -103.4172 | -105.4172 | 1 | -1 | 0.43911 | -0.1918 | 3452.751 | 1.4549 | 1.3815 | 0.073343 | 3.0733 | -2.9267
ext15 | -104.471 | 3501.626 | 0.212 | -104.4885 | 0 | -103.4885 | -105.4885 | 1 | -1 | 0.21272 | 0.017499 | 3501.626 | 1.352 | 1.2787 | 0.073343 | 3.0733 | -2.9267
ext16 | -105.065 | 3942.335 | 0.229 | -105.0931 | 0 | -104.0931 | -106.0931 | 1 | -1 | 0.23071 | 0.02807 | 3942.335 | 1.7273 | 1.654 | 0.073343 | 3.0733 | -2.9267
ext17 | -105.009 | 4013.945 | 0.092 | -105.1848 | 0 | -104.1848 | -106.1848 | 1 | -1 | 0.1984 | 0.17578 | 4013.945 | 1.7479 | 1.6745 | 0.073343 | 3.0733 | -2.9267
ext18 | -105.525 | 4432.181 | 0.107 | -105.684 | 0 | -104.684 | -106.684 | 1 | -1 | 0.19166 | 0.15901 | 4432.181 | 0.86366 | 0.79032 | 0.073343 | 3.0733 | -2.9267
ext19 | -105.529 | 4432.181 | 0.144 | -105.684 | 0 | -104.684 | -106.684 | 1 | -1 | 0.21157 | 0.15501 | 4432.181 | 2.4368 | 2.3634 | 0.073343 | 3.0733 | -2.9267
ext20 | -105.5 | 4525.435 | 0.129 | -105.7868 | 0 | -104.7868 | -106.7868 | 1 | -1 | 0.31451 | 0.28684 | 4525.435 | 1.7633 | 1.69 | 0.073343 | 3.0733 | -2.9267
ext21 | -105.81 | 4772.66 | 0.111 | -106.0445 | 0 | -105.0445 | -107.0445 | 1 | -1 | 0.25943 | 0.23449 | 4772.66 | 2.8018 | 2.7284 | 0.073343 | 3.0733 | -2.9267
ext22 | -105.932 | 5035.345 | 0.125 | -106.2944 | 0 | -105.2944 | -107.2944 | 1 | -1 | 0.38339 | 0.36244 | 5035.345 | 2.5396 | 2.4662 | 0.073343 | 3.0733 | -2.9267
ext23 | -106.087 | 5217.392 | 0.139 | -106.4533 | 0 | -105.4533 | -107.4533 | 1 | -1 | 0.39175 | 0.36626 | 5217.392 | 1.7582 | 1.6848 | 0.073343 | 3.0733 | -2.9267
ext24 | -106.292 | 5547.157 | 0.278 | -106.711 | 0 | -105.711 | -107.711 | 1 | -1 | 0.50281 | 0.41896 | 5547.157 | 2.4933 | 2.42 | 0.073343 | 3.0733 | -2.9267
ext25 | -106.417 | 5706.696 | 0.314 | -106.8218 | 0 | -105.8218 | -107.8218 | 1 | -1 | 0.51227 | 0.40476 | 5706.696 | 1.3777 | 1.3044 | 0.073343 | 3.0733 | -2.9267
ext26 | -106.448 | 5706.698 | 0.397 | -106.8218 | 0 | -105.8218 | -107.8218 | 1 | -1 | 0.54526 | 0.37376 | 6060.159 | 1.6605 | 1.5872 | 0.073343 | 3.0733 | -2.9267
ext27 | -106.584 | 6060.159 | 0.285 | -107.035 | 0 | -106.035 | -108.035 | 1 | -1 | 0.53349 | 0.45099 | 6166.218 | 0.62718 | 0.55384 | 0.073343 | 3.0733 | -2.9267
ext28 | -106.672 | 6166.218 | 0.34 | -107.0903 | 0 | -106.0903 | -108.0903 | 1 | -1 | 0.53905 | 0.4183 | 6571.929 | 0.55007 | 0.47673 | 0.073343 | 3.0733 | -2.9267
ext29 | -106.697 | 6166.219 | 0.389 | -107.0903 | 0 | -106.0903 | -108.0903 | 1 | -1 | 0.55318 | 0.3933 | 6621.936 | -0.29303 | -0.36637 | 0.073343 | 3.0733 | -2.9267
ext30 | -106.708 | 6571.929 | 0.25 | -107.265 | 0 | -106.265 | -108.265 | 1 | -1 | 0.61052 | 0.55699 | 6962.74 | 0.6169 | 0.54356 | 0.073343 | 3.0733 | -2.9267
ext31 | -106.75 | 6621.936 | 0.377 | -107.2825 | 0 | -106.2825 | -108.2825 | 1 | -1 | 0.65242 | 0.53247 | 7084.411 | -0.74028 | -0.81363 | 0.073343 | 3.0733 | -2.9267
ext32 | -106.792 | 6962.74 | 0.328 | -107.3779 | 0 | -106.3779 | -108.3779 | 1 | -1 | 0.67148 | 0.58592 | 7431.416 | 0.4524 | 0.37905 | 0.073343 | 3.0733 | -2.9267
ext33 | -106.752 | 7084.411 | 0.337 | -107.402 | 0 | -106.402 | -108.402 | 1 | -1 | 0.73216 | 0.64999 | 7597.136 | -1.3058 | -1.3791 | 0.073343 | 3.0733 | -2.9267
ext34 | -106.804 | 7431.416 | 0.328 | -107.4417 | 0 | -106.4417 | -108.4417 | 1 | -1 | 0.71714 | 0.63774 | 7867.962 | -0.31873 | -0.39208 | 0.073343 | 3.0733 | -2.9267
ext35 | -106.794 | 7597.136 | 0.367 | -107.4456 | 0 | -106.4456 | -108.4456 | 1 | -1 | 0.74785 | 0.65161 | 8108.7 | -0.21078 | -0.28412 | 0.073343 | 3.0733 | -2.9267
ext36 | -106.845 | 7867.962 | 0.291 | -107.4309 | 0 | -106.4309 | -108.4309 | 1 | -1 | 0.6542 | 0.58592 | 8324.676 | 0.65289 | 0.57955 | 0.073343 | 3.0733 | -2.9267
ext37 | -106.857 | 8108.7 | 0.338 | -107.396 | 0 | -106.396 | -108.396 | 1 | -1 | 0.63618 | 0.53897 | 8621.517 | 0.68373 | 0.61039 | 0.073343 | 3.0733 | -2.9267
ext38 | -106.856 | 8324.676 | 0.338 | -107.3471 | 0 | -106.3471 | -108.3471 | 1 | -1 | 0.59615 | 0.49107 | 8817.517 | 1.1567 | 1.0834 | 0.073343 | 3.0733 | -2.9267
ext39 | -106.68 | 8621.517 | 0.228 | -107.2528 | 0 | -106.2528 | -108.2528 | 1 | -1 | 0.61652 | 0.57281 | 9132.65 | -0.66317 | -0.73651 | 0.073343 | 3.0733 | -2.9267
ext40 | -106.646 | 8817.517 | 0.255 | -107.1734 | 0 | -106.1734 | -108.1734 | 1 | -1 | 0.5858 | 0.52739 | 9305.306 | 1.059 | 0.98567 | 0.073343 | 3.0733 | -2.9267
ext41 | -106.468 | 9132.65 | -0.03 | -107.0171 | 0 | -106.0171 | -108.0171 | 1 | -1 | 0.54989 | 0.54907 | 9642.061 | -0.087395 | -0.16074 | 0.073343 | 3.0733 | -2.9267
ext42 | -106.398 | 9305.306 | -0.035 | -106.9164 | 0 | -105.9164 | -107.9164 | 1 | -1 | 0.51963 | 0.51845 | 9793.085 | 0.74542 | 0.67208 | 0.073343 | 3.0733 | -2.9267
ext43 | -106.219 | 9642.061 | -0.101 | -106.6897 | 0 | -105.6897 | -107.6897 | 1 | -1 | 0.48141 | 0.4707 | 10152.537 | -1.2698 | -1.3431 | 0.073343 | 3.0733 | -2.9267
ext44 | -106.142 | 9793.085 | -0.085 | -106.5749 | 0 | -105.5749 | -107.5749 | 1 | -1 | 0.44117 | 0.43291 | 10647.125 | -0.62204 | -0.69539 | 0.073343 | 3.0733 | -2.9267
ext45 | -106.175 | 9793.086 | -0.058 | -106.5749 | 0 | -105.5749 | -107.5749 | 1 | -1 | 0.40409 | 0.39991 | 10663.324 | -1.5525 | -1.6259 | 0.073343 | 3.0733 | -2.9267
ext46 | -105.831 | 10152.537 | -0.323 | -106.2691 | 0 | -105.2691 | -107.2691 | 1 | -1 | 0.54428 | 0.43808 | 10974.118 | -3.4289 | -3.5023 | 0.073343 | 3.0733 | -2.9267
ext47 | -105.879 | 10157.239 | -0.211 | -106.2648 | 0 | -105.2648 | -107.2648 | 1 | -1 | 0.43971 | 0.38578 | 11173.372 | -1.5423 | -1.6156 | 0.073343 | 3.0733 | -2.9267
ext48 | -105.454 | 10647.125 | -0.442 | -105.7732 | 0 | -104.7732 | -106.7732 | 1 | -1 | 0.5452 | 0.31918 | 11431.256 | -2.92 | -2.9933 | 0.073343 | 3.0733 | -2.9267
ext49 | -105.424 | 10663.324 | -0.592 | -105.7555 | 0 | -104.7555 | -106.7555 | 1 | -1 | 0.67848 | 0.33146 | 11684.374 | -2.2774 | -2.3507 | 0.073343 | 3.0733 | -2.9267
ext50 | -105.182 | 10974.118 | -0.717 | -105.3976 | 0 | -104.3976 | -106.3976 | 1 | -1 | 0.7487 | 0.21555 | 11890.774 | -4.1178 | -4.1911 | 0.073343 | 3.0733 | -2.9267
ext51 | -105.013 | 11173.372 | -0.49 | -105.15 | 0 | -104.15 | -106.15 | 1 | -1 | 0.5088 | 0.13702 | 12196.609 | -2.9663 | -3.0396 | 0.073343 | 3.0733 | -2.9267
ext52 | -104.864 | 11431.256 | -0.456 | -104.8087 | 0 | -103.8087 | -105.8087 | 1 | -1 | 0.45934 | -0.055301 | 12310.031 | -4.5805 | -4.6538 | 0.073343 | 3.0733 | -2.9267
ext53 | -104.894 | 11431.257 | -0.51 | -104.8087 | 0 | -103.8087 | -105.8087 | 1 | -1 | 0.51708 | -0.085302 | 12707.275 | -3.0228 | -3.0962 | 0.073343 | 3.0733 | -2.9267
ext54 | -104.47 | 11684.374 | -0.534 | -104.4507 | 0 | -103.4507 | -105.4507 | 1 | -1 | 0.53435 | -0.019312 | 12730.003 | -4.3543 | -4.4276 | 0.073343 | 3.0733 | -2.9267
ext55 | -104.249 | 11890.774 | -0.589 | -104.1419 | 0 | -103.1419 | -105.1419 | 1 | -1 | 0.59866 | -0.10711 | 13217.757 | -2.118 | -2.1914 | 0.073343 | 3.0733 | -2.9267
ext56 | -103.731 | 12196.609 | -0.655 | -103.6565 | 0 | -102.6565 | -104.6565 | 1 | -1 | 0.65923 | -0.074521 | 13256.389 | -2.6116 | -2.6849 | 0.073343 | 3.0733 | -2.9267
ext57 | -103.612 | 12310.031 | -0.614 | -103.468 | 0 | -102.468 | -104.468 | 1 | -1 | 0.63066 | -0.144 | 13658.806 | -1.8764 | -1.9498 | 0.073343 | 3.0733 | -2.9267
ext58 | -102.952 | 12707.275 | -0.506 | -102.7718 | 0 | -101.7718 | -103.7718 | 1 | -1 | 0.53712 | -0.18017 | 14138.148 | -2.9611 | -3.0345 | 0.073343 | 3.0733 | -2.9267
ext59 | -102.968 | 12730.003 | -0.488 | -102.7303 | 0 | -101.7303 | -103.7303 | 1 | -1 | 0.54281 | -0.23769 | 14236.972 | -2.6938 | -2.7671 | 0.073343 | 3.0733 | -2.9267
ext60 | -102.874 | 12800.911 | -0.501 | -102.5996 | 0 | -101.5996 | -103.5996 | 1 | -1 | 0.57124 | -0.27444 | 14623.956 | -3.3056 | -3.3789 | 0.073343 | 3.0733 | -2.9267
ext61 | -102.833 | 12800.911 | -0.406 | -102.5996 | 0 | -101.5996 | -103.5996 | 1 | -1 | 0.46832 | -0.23344
ext62 | -102.098 | 13217.757 | -0.199 | -101.7948 | 0 | -100.7948 | -102.7948 | 1 | -1 | 0.36265 | -0.30317
ext63 | -102.143 | 13256.389 | -0.071 | -101.7171 | 0 | -100.7171 | -102.7171 | 1 | -1 | 0.43176 | -0.42588
ext64 | -102.111 | 13256.389 | -0.102 | -101.7171 | 0 | -100.7171 | -102.7171 | 1 | -1 | 0.40687 | -0.39388
ext65 | -102.113 | 13256.391 | -0.103 | -101.7171 | 0 | -100.7171 | -102.7171 | 1 | -1 | 0.40906 | -0.39588
ext66 | -101.413 | 13658.806 | 0.001 | -100.8761 | 0 | -99.8761 | -101.8761 | 1 | -1 | 0.5369 | -0.5369
ext67 | -101.244 | 13727.88 | -0.001 | -100.726 | 0 | -99.726 | -101.726 | 1 | -1 | 0.51805 | -0.51805
ext68 | -100.572 | 14138.148 | 0.041 | -99.7992 | 0 | -98.7992 | -100.7992 | 1 | -1 | 0.77392 | -0.77283
ext69 | -100.367 | 14236.972 | -0.018 | -99.567 | 0 | -98.567 | -100.567 | 1 | -1 | 0.80022 | -0.80002
ext70 | -99.547 | 14623.956 | 0.142 | -98.6243 | 0 | -97.6243 | -99.6243 | 1 | -1 | 0.93351 | -0.92265
ext71 | -99.111 | 14748.339 | -0.003 | -98.3101 | 0 | -97.3101 | -99.3101 | 1 | -1 | 0.80094 | -0.80094
int1 | 95.567 | 364.653 | -0.543 | 96.3305 | 0 | 97.3305 | 95.3305 | 1 | -1 | 0.93686 | -0.76345
int2 | 95.116 | 418.655 | -0.412 | 96.1928 | 0 | 97.1928 | 95.1928 | 1 | -1 | 0.98143 | -0.89077
int3 | 94.374 | 875.891 | -0.487 | 95.0656 | 0 | 96.0656 | 94.0656 | 1 | -1 | 0.91038 | -0.76916
int4 | 94.09 | 904.143 | -0.412 | 94.9984 | 0 | 95.9984 | 93.9984 | 1 | -1 | 0.99975 | -0.90844
int5 | 93.682 | 1194.766 | -0.218 | 94.3236 | 0 | 95.3236 | 93.3236 | 1 | -1 | 0.67761 | -0.64158
int6 | 93.554 | 1386.879 | -0.291 | 93.894 | 0 | 94.894 | 92.894 | 1 | -1 | 0.4475 | -0.33997
int7 | 92.762 | 1665.066 | -0.095 | 93.2951 | 0 | 94.2951 | 92.2951 | 1 | -1 | 0.54152 | -0.53312
int8 | 92.563 | 1898.465 | -0.145 | 92.8139 | 0 | 93.8139 | 91.8139 | 1 | -1 | 0.28981 | -0.25092
int9 | 91.789 | 2157.352 | -0.022 | 92.3028 | 0 | 93.3028 | 91.3028 | 1 | -1 | 0.5143 | -0.51383
int10 | 91.529 | 2410.117 | -0.039 | 91.8268 | 0 | 92.8268 | 90.8268 | 1 | -1 | 0.30036 | -0.29782
int11 | 90.947 | 2640.057 | -0.001 | 91.4135 | 0 | 92.4135 | 90.4135 | 1 | -1 | 0.46653 | -0.46653
int12 | 90.729 | 2922.225 | 0.128 | 90.932 | 0 | 91.932 | 89.932 | 1 | -1 | 0.24003 | -0.20305
int13 | 90.225 | 3131.622 | 0.073 | 90.593 | 0 | 91.593 | 89.593 | 1 | -1 | 0.37521 | -0.36804
int14 | 89.96 | 3434.739 | 0.112 | 90.1299 | 0 | 91.1299 | 89.1299 | 1 | -1 | 0.20352 | -0.16993
int15 | 89.708 | 3544.808 | -0.051 | 89.9698 | 0 | 90.9698 | 88.9698 | 1 | -1 | 0.26677 | -0.26185
int16 | 89.293 | 3947.052 | -0.107 | 89.4215 | 0 | 90.4215 | 88.4215 | 1 | -1 | 0.16719 | -0.12847
int17 | 89.117 | 4036.251 | -0.248 | 89.3077 | 0 | 90.3077 | 88.3077 | 1 | -1 | 0.31282 | -0.19066
int18 | 88.921 | 4459.427 | -0.061 | 88.8063 | 0 | 89.8063 | 87.8063 | 1 | -1 | 0.12994 | 0.11474
int19 | 88.783 | 4499.364 | -0.33 | 88.7622 | 0 | 89.7622 | 87.7622 | 1 | -1 | 0.33065 | 0.020766
int20 | 88.605 | 4971.571 | -0.214 | 88.2846 | 0 | 89.2846 | 87.2846 | 1 | -1 | 0.38528 | 0.32038
int21 | 88.506 | 4985.064 | -0.434 | 88.2721 | 0 | 89.2721 | 87.2721 | 1 | -1 | 0.493 | 0.23386
int22 | 88.253 | 5414.667 | -0.369 | 87.9086 | 0 | 88.9086 | 86.9086 | 1 | -1 | 0.50478 | 0.34444
int23 | 88.302 | 5483.511 | -0.203 | 87.8564 | 0 | 88.8564 | 86.8564 | 1 | -1 | 0.48966 | 0.4456
int24 | 87.959 | 5876.078 | -0.207 | 87.5912 | 0 | 88.5912 | 86.5912 | 1 | -1 | 0.42209 | 0.36785
int25 | 87.909 | 5995.916 | 0.046 | 87.5211 | 0 | 88.5211 | 86.5211 | 1 | -1 | 0.39062 | 0.3879
int26 | 87.687 | 6362.984 | -0.038 | 87.3383 | 0 | 88.3383 | 86.3383 | 1 | -1 | 0.35076 | 0.3487
int27 | 87.694 | 6508.87 | 0.218 | 87.279 | 0 | 88.279 | 86.279 | 1 | -1 | 0.46882 | 0.41505
int28 | 87.604 | 6806.011 | 0.143 | 87.1815 | 0 | 88.1815 | 86.1815 | 1 | -1 | 0.44606 | 0.42252
int29 | 87.622 | 7020.218 | 0.434 | 87.1307 | 0 | 88.1307 | 86.1307 | 1 | -1 | 0.65555 | 0.49132
int30 | 87.561 | 7298.205 | 0.208 | 87.0891 | 0 | 88.0891 | 86.0891 | 1 | -1 | 0.51572 | 0.47191
int31 | 87.591 | 7532.382 | 0.481 | 87.0754 | 0 | 88.0754 | 86.0754 | 1 | -1 | 0.70515 | 0.51563
int32 | 87.57 | 7771.012 | 0.24 | 87.0815 | 0 | 88.0815 | 86.0815 | 1 | -1 | 0.54431 | 0.48854
int33 | 87.608 | 8047.298 | 0.621 | 87.1138 | 0 | 88.1138 | 86.1138 | 1 | -1 | 0.79365 | 0.49421
int34 | 87.66 | 8249.757 | 0.353 | 87.1547 | 0 | 88.1547 | 86.1547 | 1 | -1 | 0.61637 | 0.50528
int35 | 87.834 | 8559.409 | 0.379 | 87.2455 | 0 | 88.2455 | 86.2455 | 1 | -1 | 0.69997 | 0.58849
int36 | 87.863 | 8717.043 | 0.211 | 87.3048 | 0 | 88.3048 | 86.3048 | 1 | -1 | 0.59673 | 0.55818
int37 | 88.09 | 9072.592 | 0.095 | 87.471 | 0 | 88.471 | 86.471 | 1 | -1 | 0.6262 | 0.61895
int38 | 88.073 | 9208.883 | 0.03 | 87.5467 | 0 | 88.5467 | 86.5467 | 1 | -1 | 0.52717 | 0.52632
int39 | 88.313 | 9588.11 | 0.099 | 87.7919 | 0 | 88.7919 | 86.7919 | 1 | -1 | 0.53043 | 0.52111
int40 | 88.398 | 9698.953 | -0.241 | 87.8732 | 0 | 88.8732 | 86.8732 | 1 | -1 | 0.57747 | 0.52478
int41 | 88.669 | 10102.454 | -0.084 | 88.2062 | 0 | 89.2062 | 87.2062 | 1 | -1 | 0.47038 | 0.46282
int42 | 88.727 | 10180.629 | -0.23 | 88.2774 | 0 | 89.2774 | 87.2774 | 1 | -1 | 0.50503 | 0.44961
int43 | 89.128 | 10617.364 | -0.076 | 88.7152 | 0 | 89.7152 | 87.7152 | 1 | -1 | 0.41978 | 0.41285
int44 | 89.172 | 10659.437 | -0.321 | 88.7609 | 0 | 89.7609 | 87.7609 | 1 | -1 | 0.52157 | 0.41109
int45 | 89.531 | 11075.762 | -0.29 | 89.2476 | 0 | 90.2476 | 88.2476 | 1 | -1 | 0.40549 | 0.28342
int46 | 89.569 | 11132.556 | -0.05 | 89.3188 | 0 | 90.3188 | 88.3188 | 1 | -1 | 0.25519 | 0.25025
int47 | 89.943 | 11531.781 | -0.19 | 89.8514 | 0 | 90.8514 | 88.8514 | 1 | -1 | 0.21093 | 0.091614
int48 | 90.021 | 11649.238 | 0.112 | 90.0189 | 0 | 91.0189 | 89.0189 | 1 | -1 | 0.11202 | 0.0021163
int49 | 90.384 | 12009.701 | -0.091 | 90.5635 | 0 | 91.5635 | 89.5635 | 1 | -1 | 0.20129 | -0.17954
int50 | 90.56 | 12163.814 | 0.212 | 90.8105 | 0 | 91.8105 | 89.8105 | 1 | -1 | 0.32817 | -0.25051
int51 | 91.012 | 12500.359 | -0.078 | 91.3792 | 0 | 92.3792 | 90.3792 | 1 | -1 | 0.37537 | -0.36717
int52 | 91.266 | 12680.246 | 0.277 | 91.6996 | 0 | 92.6996 | 90.6996 | 1 | -1 | 0.51457 | -0.43365
int53 | 91.831 | 12975.022 | 0.082 | 92.2497 | 0 | 93.2497 | 91.2497 | 1 | -1 | 0.42663 | -0.41868
int54 | 92.227 | 13196.453 | 0.359 | 92.6832 | 0 | 93.6832 | 91.6832 | 1 | -1 | 0.58049 | -0.45617
int55 | 92.719 | 13460.981 | 0.213 | 93.2239 | 0 | 94.2239 | 92.2239 | 1 | -1 | 0.54798 | -0.50489
int56 | 93.134 | 13713.232 | 0.437 | 93.7627 | 0 | 94.7627 | 92.7627 | 1 | -1 | 0.76565 | -0.62869
int57 | 93.483 | 13913.936 | 0.366 | 94.2076 | 0 | 95.2076 | 93.2076 | 1 | -1 | 0.81175 | -0.72455
int58 | 94.055 | 14230.078 | 0.312 | 94.9373 | 0 | 95.9373 | 93.9373 | 1 | -1 | 0.96545 | -0.93587
int59 | 94.349 | 14374.458 | 0.3506 | 95.2824 | 0 | 96.2824 | 94.2824 | 1 | -1 | 0.9816 | -0.99711
int60 | 95.261 | 14746.468 | 0.23785 | 96.2058 | 0 | 97.2058 | 95.2058 | 1 | -1 | 0.97726 | -0.97428
BACK

## outer tube, transversal
Mole Offset (mm): Horizontal= ; Vertical =0
BACK

## outer tube, vertical
Mole Offset (mm): Horizontal= ; Vertical =0
BACK

## outer tube-transversal-delta
Mole Offset (mm): Horizontal= ; Vertical =0
BACK

## inner tube, transversal
Mole Offset (mm): Horizontal= ; Vertical =0
BACK

## inner tube, vertical
Mole Offset (mm): Horizontal= ; Vertical =0
BACK

## inner tube-transv-delta
Mole Offset (mm): Horizontal= ; Vertical =0
BACK

## offset of both tubes
Mole Offset (mm): Horizontal= ; Vertical =0
BACK

## twist_ni_500
BACK

## Sheet1
IMPORT
THEOR
ANALYSIS
LAYOUT
"Analysis.xls" (data and graphs)
"Final.xls" (data, graphs, layout and macros)
Leica measurement
Inner tube Connection
Outer tube Connection
Inner tube Lyre
Outer tube Lyre
Axyz
transformation
Measured x-y-z values, sorted and compensated with offset mole
Theoretic x-y-z values
Measured values, transformed
Midplane2_2.xls
-Last modification: February 2003