## Geometrical data
LHC Part Id
HCLQXB_001-FL000006
|  | Operation |  | Fidu 5
|  | Laser Tracker Nr.: |  | 954 |  | Used AC Mole Calibration Values
|  | AC Mole Number |  |  |  | Optic X | Optic Z | Magn. X | Magn. Z
GEO Mole Number
|  | Operator |  | SIMCO
|  | Date of treatment |  | 2006-03-24
|  | Date of measurement |  | 2006-03-22
|  | RMS Bundle [mm] |  | 0.041
Coldmass Temp. [°C]
|  | Best fit done on |  | GEO mole shape
- Coldmass Reference Points (expressed in RST Coordinate system)
|  | CM references |  |  |  | INFO | Differences to CM references FERMILAB
| NIP side |  | CM reference points |  |  | NIP side |  | CM reference points
|  |  | X | Y | Z |  |  | DX | DY | DZ
|  | Upper | 140.866 | -297.288 | 51.941 |  | Upper | -0.43928 | -0.00754 | -0.09344
|  | Lower | 144.125 | -295.932 | -22.971 |  | Lower | -0.45434 | 0.02004 | -0.09576
| IP side |  | CM reference points |  |  | IP side |  | CM reference points
|  |  | X | Y | Z |  |  | DX | DY | DZ
|  | Upper | 136.818 | 12308.278 | 43.309 |  | Upper | 1.3395 | 0.00836 | 0.18488
|  | Lower | 139.049 | 12308.276 | -31.624 |  | Lower | 1.3607 | -0.02158 | 0.23522
- Extremity flanges (Values expressed in RST Coordinate system)
COLD BORE TUBE EXTREMITIES
| NIP side | CBT FLANGE
Center (Outer diameter)
|  | DX | DY | DZ | Tol(Y)
|  | 0.162 | -4.621 | -0.249 | ± 1.0
|  | DR |  | Tol(R)
|  | 0.29706 |  | ± 1.4
| IP side | CBT FLANGE
Center (Outer diameter)
|  | DX | DY | DZ | Tol(Y)
|  | 0.523 | -7.082 | 0.577 | ± 1.0
|  | DR (mm) |  | Tol(R)
|  | 0.77875 |  | ± 1.4
ANGLES OF CBT EXTREMITIES W.R.T. GA
| NIP side | Lead End side
CBT FLANGE
|  | Angle/Cmeas (mrad) |  | Tol(gV1c)
|  | 4.69 |  | ±4.5
| IP side | Non Lead End side
CBT FLANGE
|  | Angle/Cmeas (mrad) |  | Tol(gV1c)
|  | 4.12 |  | ±4.5

## RST parameters
LHC part ID
HCLQXB_001-FL000006
- Fiducials RST parameters
| Id | R | S | T | RMS R | RMS S | RMS T | Total RMS | INFO | DR | DS | DT
| NIP_A | 425.349 | 1216.357 | 539.37 | 0.008 | 0.004 | 0.001 | 0.009 | NIP_A | 0.079 | -1.033 | 0.11
| NIP_B | 326.077 | 1723.736 | 575.206 | 0.014 | 0.007 | 0.042 | 0.045 | NIP_B | 0.137 | -1.124 | 0.116
only measured 1x | NIP_C | -326.164 | 1724.147 | 573.532 | 0.059 | 0.023 | 0.053 | 0.083 | NIP_C | 0.096 | -1.143 | 0.122
| NIP_D | -424.197 | 1213.79 | 537.016 | 0.008 | 0.005 | 0.002 | 0.01 | NIP_D | 0.113 | -1.01 | 0.086
only measured 1x | CEN_A | 424.843 | 5753.736 | 539.039 | 0.017 | 0.001 | 0.017 | 0.024 | CEN_A | 0.373 | -1.034 | 0.529
| CEN_B | 324.194 | 6262.405 | 574.024 | 0.034 | 0.018 | 0.032 | 0.05 | CEN_B | 0.374 | -1.105 | 0.524
| CEN_C | -325.828 | 6262.269 | 572.592 | 0.014 | 0.003 | 0.001 | 0.014 | CEN_C | 0.342 | -1.041 | 0.602
only measured 1x | CEN_D | -423.669 | 5751.954 | 535.734 |  |  |  |  | CEN_D | 0.431 | -1.166 | 0.514
only measured 1x | IP_A | 425.299 | 10291.689 | 537.814 | 0.032 | 0 | 0.025 | 0.041 | IP_A | 0.599 | -1.151 | 0.924
| IP_B | 325.023 | 10800.431 | 573.048 | 0.004 | 0.005 | 0.01 | 0.012 | IP_B | 0.573 | -1.169 | 0.918
| IP_C | -324.075 | 10801.401 | 571.106 | 0.013 | 0.01 | 0.005 | 0.018 | IP_C | 0.655 | -1.169 | 0.996
only measured 1x | IP_D | -423.764 | 10291.844 | 535.752 |  |  |  |  | IP_D | 0.516 | -1.096 | 0.842

## Cartography
LHC part ID
HCLQXB_001-FL000006
- NIP side
| Point | X (mm) |  |  |  | Y (mm) |  |  |  | Z (mm) |  |  |  | Delta Radial (mm)
|  | Measured | Theo | Delta | Tolerance | Measured | Theo | Delta | Tolerance | Measured | Theo | Delta | Tolerance | Delta | Tolerance
| EE | -385.196 | -389.6 | 4.404 | ±8 | -540.868 | -531.3 | -9.568 | 9/-6 | 71.553 | 75 | -3.447 | ±8 | 5.5926 | ±11.3
| LD1 | -243.949 | -240 | -3.949 | ±8 | -537.504 | -531.3 | -6.204 | 9/-6 | 279.671 | 277.5 | 2.171 | ±8 | 4.5064 | ±11.3
| L | -2.302 | 0 | -2.302 | ±5 | -539.478 | -531.3 | -8.178 | ±10 | 379.501 | 376.9 | 2.601 | ±5 | 3.4734 | ±7.1
| XBt | 241.931 | 240 | 1.931 | ±5 | -540.153 | -531.3 | -8.853 | 15/-12 | 274.184 | 277.5 | -3.316 | ±5 | 3.8373 | ±7.1
| FF | 384.464 | 389.6 | -5.136 | ±8 | -542.498 | -531.3 | -11.198 | 9/-6 | 74.762 | 75 | -0.238 | ±8 | 5.1415 | ±11.3
| M1 (1) |  | 0 |  | ±5 |  | -328.7 |  | ±20 |  | -150 |  | ±5 |  | ±7.1
| M2 (1) |  | -150 |  | ±5 |  | -328.7 |  | ±20 |  | 0 |  | ±5 |  | ±7.1
| M4 (1) |  | 0 |  | ±5 |  | -328.7 |  | ±20 |  | 150 |  | ±5 |  | ±7.1
| V | 0.162 | 0 | 0.162 | ±1 | -313.421 | -308.8 | -4.621 | ±1 | -0.249 | 0 | -0.249 | ±1 | 0.29706 | ±1.4
| W' | 2.349 | 0 | 2.349 | ±5 | -192.5588 | -181.3 | -11.2588 | ±10 | 76.121 | 75 | 1.121 | ±5 | 2.6028 | ±7.1
- IP side
| Point | X (mm) |  |  |  | Y (mm) |  |  |  | Z (mm) |  |  |  | Delta Radial (mm)
|  | Measured | Theo | Delta | Tolerance | Measured | Theo | Delta | Tolerance | Measured | Theo | Delta | Tolerance | Delta | Tolerance
| EE | -388.322 | -389.6 | 1.278 | ±8 | 12541.373 | 12552.6 | -11.227 | 6/-9 | 74.098 | 75 | -0.902 | ±8 | 1.5643 | ±11.3
| LD1 | -239.807 | -240 | 0.193 | ±8 | 12547.919 | 12552.6 | -4.681 | 6/-9 | 277.284 | 277.5 | -0.216 | ±8 | 0.28966 | ±11.3
| L | 1.204 | 0 | 1.204 | ±5 | 12547.023 | 12552.6 | -5.577 | ±10 | 380.154 | 376.9 | 3.254 | ±5 | 3.4696 | ±7.1
| XBt | 242.513 | 240 | 2.513 | ±5 | 12549.529 | 12552.6 | -3.071 | 12/-15 | 276.415 | 277.5 | -1.085 | ±5 | 2.7372 | ±7.1
| FF | 388.527 | 389.6 | -1.073 | ±8 | 12542.514 | 12552.6 | -10.086 | 6/-9 | 75.562 | 75 | 0.562 | ±8 | 1.2113 | ±11.3
| M1 (2) | 1.878 | 0 | 1.878 | ±5 | 12621.976 | 12627.6 | -5.624 | ±20 | -149.293 | -150 | 0.707 | ±5 | 2.0067 | ±7.1
| M2 (2) |  | -150 |  | ±5 |  | 12627.6 |  | ±20 |  | 0 |  | ±5 |  | ±7.1
| M4 (2) | 1.919 | 0 | 1.919 | ±5 | 12627.495 | 12627.6 | -0.105 | ±20 | 148.603 | 150 | -1.397 | ±5 | 2.3736 | ±7.1
| V | 0.523 | 0 | 0.523 | ±1 | 12323.018 | 12330.1 | -7.082 | ±1 | 0.577 | 0 | 0.577 | ±1 | 0.77875 | ±1.4
| W' | 0.588 | 0 | 0.588 | ±5 | 12192.4945 | 12202.6 | -10.1055 | ±10 | 75.07 | 75 | 0.07 | ±5 | 0.59215 | ±7.1

## Mechanical shape data
LHC Part Id
HCLQXB_001-FL000006
V1
Point Id | dx | y | dz
NIP_2 | 0.37 | -144.606 | -0.215
NIP_3 | 0.456 | 3.559 | 0.122
NIP_4 | 0.42 | 307.112 | 0.481
IP_34 | 0.211 | 307.65 | 0.427
NIP_5 | 0.365 | 682.139 | 0.555
IP_33 | -0.045 | 684.945 | 0.455
NIP_6 | 0.334 | 1064.739 | 0.474
IP_32 | -0.043 | 1068.252 | 0.489
NIP_7 | 0.255 | 1442.588 | 0.264
IP_31 | -0.079 | 1444.032 | 0.178
NIP_8 | 0.344 | 1819.2 | -0.053
IP_30 | -0.033 | 1825.297 | -0.148
IP_29 | -0.023 | 2199.791 | -0.481
NIP_9 | 0.358 | 2201.606 | -0.395
NIP_10 | 0.359 | 2577.162 | -0.571
IP_27 | 0.037 | 2954.595 | -0.667
NIP_11 | 0.458 | 2954.882 | -0.696
IP_26 | -0.023 | 3334.103 | -0.634
NIP_12 | 0.267 | 3339.751 | -0.622
NIP_13 | 0.223 | 3712.654 | -0.518
IP_25 | -0.031 | 3712.737 | -0.511
IP_24 | -0.272 | 4091.383 | -0.37
NIP_14 | -0.03 | 4200.346 | -0.241
NIP_15 | -0.095 | 4470.605 | -0.09
IP_23 | -0.423 | 4472.988 | -0.031
NIP_16 | -0.212 | 4849.599 | 0.284
IP_22 | -0.479 | 4858.132 | 0.329
NIP_17 | -0.422 | 5234.243 | 0.61
IP_21 | -0.679 | 5235.353 | 0.587
IP_20 | -0.748 | 5608.247 | 0.693
NIP_18 | -0.384 | 5612.922 | 0.581
NIP_19 | -0.379 | 6019.257 | 0.342
IP_19 | -0.731 | 6023.485 | 0.444
NIP_20 | -0.191 | 6427.503 | 0.027
IP_18 | -0.455 | 6433.042 | 0.183
NIP_21 | 0.148 | 6838.299 | -0.181
IP_17 | -0.26 | 6843.03 | -0.101
NIP_22 | 0.208 | 7217.151 | -0.436
IP_16 | -0.156 | 7223.381 | -0.337
NIP_23 | 0.215 | 7592.498 | -0.542
IP_15 | -0.171 | 7599.692 | -0.505
IP_14 | -0.183 | 7974.121 | -0.483
NIP_24 | 0.149 | 7975.569 | -0.563
NIP_25 | 0.254 | 8354.316 | -0.573
IP_13 | -0.189 | 8355.729 | -0.48
NIP_26 | 0.17 | 8731.007 | -0.603
IP_12 | -0.265 | 8736.481 | -0.472
NIP_27 | 0.161 | 9110.794 | -0.455
IP_11 | -0.309 | 9118.54 | -0.339
NIP_28 | 0.137 | 9495.038 | -0.318
IP_10 | -0.275 | 9498.892 | -0.192
NIP_29 | 0.179 | 9870.492 | -0.221
IP_9 | -0.229 | 9877.769 | -0.097
IP_8 | -0.189 | 10248.472 | -0.023
NIP_30 | 0.294 | 10250.798 | -0.176
IP_7 | -0.012 | 10622.584 | -0.003
NIP_31 | 0.314 | 10634.436 | -0.097
NIP_32 | 0.367 | 11010.733 | 0.02
IP_6 | 0.029 | 11013.094 | 0.213
NIP_33 | 0.403 | 11387.198 | 0.049
IP_5 | 0.026 | 11393.052 | 0.315
IP_4 | 0.006 | 11773.618 | 0.402
NIP_34 | 0.296 | 11786.086 | 0.144
NIP_35 | 0.401 | 11901.885 | 0.074
IP_3 | 0.209 | 12152.625 | 0.368
IP_2 | 0.196 | 12152.873 | 0.365
average | 0.0091515 |  | -0.060076
max | 0.458 |  | 0.693
min | -0.748 |  | -0.696
rms | 0.30467 |  | 0.39869

## Magnetic shape data
LHC Part Id
HCLQXB_001-FL000006
V1
Point Id | dx | y | dz | ANGLE | Polarity | Mounting Angle
MQXBb_NIP_4 | 0.193 | 307.112 | 0.497
MQXBb_IP_34 | 0.094 | 307.65 | 0.423
MQXBb_NIP_5 | 0.038 | 682.139 | 0.287
MQXBb_IP_33 | -0.089 | 684.945 | 0.233
MQXBb_NIP_6 | 0.087 | 1064.739 | 0.167
MQXBb_IP_32 | -0.031 | 1068.252 | 0.134
MQXBb_NIP_7 | 0.179 | 1442.588 | 0.054
MQXBb_IP_31 | 0.087 | 1444.032 | -0.034
MQXBb_NIP_8 | 0.217 | 1819.2 | -0.059
MQXBb_IP_30 | 0.112 | 1825.297 | -0.143
MQXBb_IP_29 | 0.206 | 2199.791 | -0.218
MQXBb_NIP_9 | 0.299 | 2201.606 | -0.13
MQXBb_NIP_10 | 0.277 | 2577.162 | -0.17
MQXBb_IP_28 | 0.173 | 2579.44 | -0.197
MQXBb_IP_27 | 0.243 | 2954.595 | -0.063
MQXBb_NIP_11 | 0.348 | 2954.882 | -0.095
MQXBb_IP_26 | 0.191 | 3334.103 | 0.06
MQXBb_NIP_12 | 0.306 | 3339.751 | 0.098
MQXBb_NIP_13 | 0.281 | 3712.654 | 0.076
MQXBb_IP_25 | 0.22 | 3712.737 | 0.076
MQXBb_IP_24 | 0.14 | 4091.383 | 0.143
MQXBb_NIP_14 | 0.141 | 4200.346 | 0.256
MQXBb_NIP_15 | -0.041 | 4470.605 | 0.433
MQXBb_IP_23 | -0.129 | 4472.988 | 0.433
MQXBb_NIP_16 | -0.269 | 4849.599 | 0.468
MQXBb_IP_22 | -0.315 | 4858.132 | 0.47
MQXBb_NIP_17 | -0.381 | 5234.243 | 0.621
MQXBb_IP_21 | -0.466 | 5235.353 | 0.62
MQXBa_NIP_21 | 0.002 | 6838.299 | 0.285
MQXBa_IP_17 | -0.129 | 6843.03 | 0.362
MQXBa_NIP_22 | -0.104 | 7217.151 | 0.292
MQXBa_IP_16 | -0.195 | 7223.381 | 0.382
MQXBa_NIP_23 | -0.147 | 7592.498 | 0.228
MQXBa_IP_15 | -0.244 | 7599.692 | 0.268
MQXBa_IP_14 | -0.217 | 7974.121 | 0.142
MQXBa_NIP_24 | -0.161 | 7975.569 | 0.062
MQXBa_NIP_25 | -0.051 | 8354.316 | -0.04
MQXBa_IP_13 | -0.191 | 8355.729 | 0.032
MQXBa_NIP_26 | 0.016 | 8731.007 | 0.095
MQXBa_IP_12 | -0.12 | 8736.481 | 0.198
MQXBa_NIP_27 | 0.008 | 9110.794 | 0.25
MQXBa_IP_11 | -0.18 | 9118.54 | 0.316
MQXBa_NIP_28 | -0.02 | 9495.038 | 0.38
MQXBa_IP_10 | -0.144 | 9498.892 | 0.483
MQXBa_NIP_29 | 0.043 | 9870.492 | 0.511
MQXBa_IP_9 | -0.092 | 9877.769 | 0.639
MQXBa_IP_8 | 0.044 | 10248.472 | 0.774
MQXBa_NIP_30 | 0.228 | 10250.798 | 0.624
MQXBa_IP_7 | 0.059 | 10622.584 | 0.773
MQXBa_NIP_31 | 0.156 | 10634.436 | 0.623
MQXBa_NIP_32 | 0.372 | 11010.733 | 0.526
MQXBa_IP_6 | 0.263 | 11013.094 | 0.726
MQXBa_NIP_33 | 0.454 | 11387.198 | 0.586
MQXBa_IP_5 | 0.382 | 11393.052 | 0.829
MQXBa_IP_4 | 0.393 | 11773.618 | 0.844
MQXBa_NIP_34 | 0.435 | 11786.086 | 0.571

## Shape data Geo Mole
LHC Part Id
HCLQXB_001-FL000006
V1
Point Id | dx | y | dz
NIP_1 | 0.162 | -313.421 | -0.249
NIP_2 | 0.113 | -290.721 | -0.413
IP_27 | 0.258 | 108.91 | 0.298
NIP_3 | 0.407 | 189.976 | 0.459
IP_26 | 0.138 | 597.483 | 0.65
NIP_4 | 0.255 | 675.886 | 0.587
IP_25 | 0.058 | 1080.125 | 0.584
NIP_5 | 0.141 | 1161.229 | 0.484
IP_24 | 0.07 | 1575.159 | 0.282
NIP_6 | 0.162 | 1654.038 | 0.147
IP_23 | 0.082 | 2069.407 | -0.131
NIP_7 | 0.187 | 2141.901 | -0.286
IP_22 | 0.108 | 2551.662 | -0.476
NIP_8 | 0.284 | 2639.034 | -0.577
IP_21 | 0.12 | 3055.047 | -0.542
NIP_9 | 0.253 | 3118.114 | -0.67
IP_20 | 0.032 | 3542.981 | -0.452
NIP_10 | 0.116 | 3610.116 | -0.535
IP_19 | -0.117 | 4022.906 | -0.252
NIP_11 | -0.057 | 4096.378 | -0.366
IP_18 | -0.361 | 4516.681 | 0.134
NIP_12 | -0.244 | 4580.823 | 0.023
IP_17 | -0.503 | 5002.164 | 0.569
NIP_13 | -0.408 | 5073.889 | 0.511
IP_16 | -0.66 | 5482.751 | 0.748
NIP_14 | -0.488 | 5564.148 | 0.594
IP_15 | -0.704 | 5989.709 | 0.503
NIP_15 | -0.489 | 6049.637 | 0.315
IP_14 | -0.434 | 6460.627 | 0.264
NIP_16 | -0.133 | 6538.615 | 0.037
IP_13 | -0.152 | 6949.797 | -0.079
NIP_17 | 0.078 | 7031.415 | -0.305
IP_12 | -0.091 | 7428.857 | -0.331
NIP_18 | 0.114 | 7517.359 | -0.525
IP_11 | -0.144 | 7926.68 | -0.386
NIP_19 | 0.101 | 8005.609 | -0.573
IP_10 | -0.123 | 8417.675 | -0.366
NIP_20 | 0.149 | 8491.412 | -0.586
IP_9 | -0.243 | 8879.205 | -0.333
NIP_21 | 0.031 | 8982.176 | -0.467
IP_8 | -0.224 | 9388.234 | -0.115
NIP_22 | 0.041 | 9468.307 | -0.322
IP_7 | -0.179 | 9878.168 | 0.014
NIP_23 | 0.122 | 9968.629 | -0.223
IP_6 | -0.107 | 10377.332 | 0.087
NIP_24 | 0.191 | 10453.514 | -0.175
IP_5 | 0.041 | 10859.517 | 0.245
NIP_25 | 0.368 | 10939.258 | 0.001
IP_4 | 0.061 | 11349.399 | 0.374
NIP_26 | 0.36 | 11427.13 | 0.107
IP_3 | 0.013 | 11849.259 | 0.459
NIP_27 | 0.297 | 11910.025 | 0.232
IP_2 | 0.443 | 12274.809 | 0.469
IP_1 | 0.523 | 12323.018 | 0.577
average | 0.00033333 |  | 0.00035185
max | 0.523 |  | 0.748
min | -0.704 |  | -0.67
rms | 0.2758 |  | 0.41221

## cold_parameters
Low-Beta Quadropole Type: |  |  | Q2
Positon in LHC: | [5 empty] | of installation in the LHC Tunnel
Number of thermal cycles
done befor Fiducialisation: |  |  | 1 | (In case of more than 3 thermal cycles please give number 3)
Main magnet type: |  |  | MQXB
Warm in Fidu co-ordinates system | [6 empty] | Cold in director beam B1 co-ordinates system
Point ID | R_Fidu | S_Fidu | T_Fidu | R_Depla | S_Depla | T_Depla | Fiducials | R | S | T
NIP_A | 425.349 | 1216.357 | 539.37 | 0 |  | -0.15 |  |  |  | 0.53952
NIP_B | 326.077 | 1723.736 | 575.206 | 0 |  | -0.15 |  |  |  | 0.57536
NIP_C | -326.164 | 1724.147 | 573.532 | 0 |  | -0.15 |  |  |  | 0.57368
NIP_D | -424.197 | 1213.79 | 537.016 | 0 |  | -0.15 |  |  |  | 0.53717
CEN_A | 424.843 | 5753.736 | 539.039 | 0 |  | -0.15 |  |  |  | 0.53919
CEN_B | 324.194 | 6262.405 | 574.024 | 0 |  | -0.15 |  |  |  | 0.57417
CEN_C | -325.828 | 6262.269 | 572.592 | 0 |  | -0.15 |  |  |  | 0.57274
CEN_D | -423.669 | 5751.954 | 535.734 | 0 |  | -0.15 |  |  |  | 0.53588
IP_A | 425.299 | 10291.689 | 537.814 | 0 |  | -0.15 |  |  |  | 0.53796
IP_B | 325.023 | 10800.431 | 573.048 | 0 |  | -0.15 |  |  |  | 0.5732
IP_C | -324.075 | 10801.401 | 571.106 | 0 |  | -0.15 |  |  |  | 0.57126 | Geo-Ref-Angle:
IP_D | -423.764 | 10291.844 | 535.752 | 0 |  | -0.15 |  |  |  | 0.5359
Valid for all Low-Beta magnets (Q1 to Q3):
1.Case: | the magnet is installed in the same direction than the fiducialisation Coordinate system.
- All Low-Beta magnets installed on the left side of the IP
2.Case: | the magnet is installed in the opposite direction than the fiducialisation Coordinate system.
- All Low-Beta magnets installed on the right side of the IP
Deplacement values:
| R_depla: | 0
| S_depla: | 0.34 | for Q1 in 1.Case
|  | 11 | for Q2 in 1.Case
|  | 12.36 | for Q3 in 1.Case
|  | 6370.34 | for Q1 in 2.Case
|  | 5511 | for Q2 in 2.Case
|  | 6382.36 | for Q3 in 2.Case
| T_depla: | -0.45 | in case of 0 thermal cycles befor Fiducialisation
|  | -0.15 | in case of 1 thermal cycles befor Fiducialisation
|  | -0.1 | in case of 2 thermal cycles befor Fiducialisation
|  | 0 | in case of 3 or more thermal cycles befor Fiducialisation

## parameters_insertion
ligne-titr | accelerateur | module | classe | numéro | pt | code | R | S | T | BumpR | BumpL | BumpV | BumpT | AngleTilt
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | E | 1
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | A | 1
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | M | 1
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | C | 1
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | T | 1
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | D | 1
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | B | 1
ligne-data | LHC | HCLQXB_001-FL000006 | MQXB | 0 | S | 1

## installation_deviations
FID ID | Point ID | calc. coordinates at cold |  |  | theor. coordinates at cold |  |  | Diff. theoretical to reel
|  | R(reel) | S(reel) | T(reel) | R(theo) | S(theo) | T(theo) | delta_R | delta_S | delta_T | dR_bump | dS_bump | dT_bump
| NIP_A |  |  | 0.53952
| NIP_B |  |  | 0.57536
| NIP_C |  |  | 0.57368
| NIP_D |  |  | 0.53717
| CEN_A |  |  | 0.53919
| CEN_B |  |  | 0.57417
| CEN_C |  |  | 0.57274
| CEN_D |  |  | 0.53588
| IP_A |  |  | 0.53796
| IP_B |  |  | 0.5732
| IP_C |  |  | 0.57126
| IP_D |  |  | 0.5359
Values of theoretical coordiates for the different LowBeta Typs in all possible Positions:
| Q1 | [5 empty] | Q3
| Main magnet type MQXA in 1L = 1. Case |  |  | Main magnet type MQXA in 1R = 2. Case |  |  | Main magnet type MQXA in 3L = 1. Case |  |  | Main magnet type MQXA in 3R = 2. Case
A | 0.425 | 0.8299 | 0.54 | 0.325 | 0.8246 | 0.575 | 0.425 | 0.8484 | 0.54 | 0.325 | 0.8161 | 0.575
E | 0.325 | 1.3454 | 0.575 | 0.425 | 1.3301 | 0.54 | 0.325 | 1.3539 | 0.575 | 0.425 | 1.3216 | 0.54
B | 0.425 | 5.0399 | 0.54 | 0.325 | 5.0246 | 0.575 | 0.425 | 5.0484 | 0.54 | 0.325 | 5.0161 | 0.575
S | 0.325 | 5.5454 | 0.575 | 0.425 | 5.5401 | 0.54 | 0.325 | 5.5539 | 0.575 | 0.425 | 5.5216 | 0.54
T | -0.325 | 5.5454 | 0.575 | 0.425 | 5.5401 | 0.54 | -0.325 | 5.5539 | 0.575 | 0.425 | 5.5216 | 0.54
D | -0.425 | 5.0399 | 0.54 | 0.325 | 5.0246 | 0.575 | -0.425 | 5.0484 | 0.54 | 0.325 | 5.0161 | 0.575
Q2
| Main magnet type MQXB in B2L = 1. Case |  |  | Main magnet type MQXB in B2R = 2. Case
A | 0.425 | 1.2148 | 0.54 | 0.325 | -5.3003 | 0.575 | Q1 | are always in Position 1L or 1R and of the type MQXA!
E | 0.325 | 1.7203 | 0.575 | 0.425 | -4.7948 | 0.54 | Q2 | are always in Position B2L or B2R and of the type MQXB!
C | 0.425 | 5.7548 | 0.54 | 0.325 | -0.7603 | 0.575 | Q3 | are always in Position 3L or 3R and of the type MQXA!
M | 0.325 | 6.2603 | 0.575 | 0.425 | -0.2548 | 0.54
B | 0.425 | 10.2948 | 0.54 | 0.325 | 3.7797 | 0.575
S | 0.325 | 10.8003 | 0.575 | 0.425 | 4.2852 | 0.54
T | -0.325 | 10.8003 | 0.575 | -0.425 | 4.2852 | 0.54
D | -0.425 | 10.2948 | 0.54 | -0.325 | 3.7797 | 0.575
Note on L2: ce calcul est fait avec l ' hypothese que les bump sont les memes en Entrée qu'en sortie
Note on L3: le bump en R est entré avec la convention inverse de signe du R
Note on M2: ce calcul est fait avec l ' hypothese que les bump sont les memes en Entrée qu'en sortie
Note on N2: ce calcul est fait avec l ' hypothese que les bump sont les memes en Entrée qu'en sortie