## Original data
File name |  | HCMBB_A001-01000008_cc.xls
Component ID |  | HCMBB_A001 |  |  | Serial Number |  |  | 1000008
Ref. Test Proced. |  | CERN IT 2708/LHC/LHC Rev 1.1 Annex b.18
Firm Name |  | Alstom | [9 empty] | File name for aperture 1 |  |  | alstomcc8t1
Test Type |  | Magnetic Measures |  |  | ITP number |  |  | 21 |  |  |  | File name for aperture 2 |  |  | alstomcc8t2
Test Operator |  | J. Cid |  |  | Test Controller |  |  | V. Remondino
Aperture 1 | [11 empty] | Aperture 2
Date of test |  | 30.10.2001 |  |  | Time of test |  |  | 8.00-10.00 |  |  |  | Date of test |  | 30.10.2001 |  |  | Time of test |  |  | 13.30-15.30
Mole name |  | taupe_dipole#3 |  |  | Calibration date |  |  | 20.07.99 |  |  |  | Mole name |  | taupe_dipole#3 |  |  | Calibration date |  |  | 20.07.99
Coil length |  | 0.7499 m |  |  | Coil temperature |  |  | 24.5 C |  |  |  | Coil length |  | 0.7499 m |  |  | Coil temperature |  |  | 24.5 C
Excitation current |  | 8.5 A |  |  | Analysis tools |  |  | dri,rot,nor,cel,fdw |  |  |  | Excitation current |  | 8.5 A |  |  | Analysis tools |  |  | dri,rot,nor,cel,fdw
N. points |  | 20 |  |  | N. measure |  |  | 10 (5+,5-) |  |  |  | N. points |  | 20 |  |  | N. measure |  |  | 10 (5+,5-)
Rotation speed |  | 0.6 |  |  | I. Gain |  |  | 50/500 |  |  |  | Rotation speed |  | 0.6 |  |  | I. Gain |  |  | 50/500
Dx average |  | 5.3076e-05 |  |  | Dy average |  |  | 0.0004591 |  |  |  | Dx average |  | 0.00020765 |  |  | Dy average |  |  | 0.0004226
Magnetic length |  | 14.4715 |  |  | Main field in centre |  |  | 0.005064 |  |  |  | Magnetic length |  | 14.4727 |  |  | Main field in centre |  |  | 0.005066
Phase |  | 11.8923 |  |  | Integral field (T.m) |  |  | 0.073284 |  |  |  | Phase |  | 11.9139 |  |  | Integral field (T.m) |  |  | 0.073321
File | Aperture 1 - Collared coils | [19 empty] | Integrals | File | Aperture 2 - Collared coils | [19 empty] | Integrals
C1 (mT) | 0.003234 | 0.00507 | 0.005065 | 0.005064 | 0.005063 | 0.005063 | 0.005063 | 0.005063 | 0.005062 | 0.005061 | 0.005063 | 0.005063 | 0.005065 | 0.005063 | 0.005064 | 0.005064 | 0.005064 | 0.005064 | 0.005069 | 0.003339 | 0.073284 | C1 | 0.003235 | 0.005071 | 0.005067 | 0.005066 | 0.005065 | 0.005065 | 0.005065 | 0.005065 | 0.005065 | 0.005064 | 0.005065 | 0.005065 | 0.005065 | 0.005065 | 0.005066 | 0.005067 | 0.005067 | 0.005066 | 0.005071 | 0.003349 | 0.073321
Angle (mrad) | -4.3533 | 0.031738 | 0.19187 | 0.08129 | -0.04755 | -0.20969 | 0.18722 | 0.31226 | -0.006157 | 0.18032 | 0.15071 | 0.24202 | 0.48601 | 0.6447 | 0.46827 | -0.11392 | 0.30575 | -0.26358 | -0.14856 | 0.48311 | 11.8923 | Angle (mrad) | -5.591 | -0.9656 | -0.010469 | -0.067092 | -0.16245 | -0.054415 | 0.41913 | 0.30894 | 0.31113 | 0.41598 | 0.33567 | 0.68022 | 0.57083 | 0.4409 | 0.39162 | 0.37507 | 0.46252 | 0.44848 | 0.23427 | -0.84948 | 11.9139
Multipoles | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12 | Position 13 | Position 14 | Position 15 | Position 16 | Position 17 | Position 18 | Position 19 | Position 20 |  | Multipoles | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12 | Position 13 | Position 14 | Position 15 | Position 16 | Position 17 | Position 18 | Position 19 | Position 20
b1 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | b1 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
b2 | -2.3682 | 0.25378 | 0.33209 | 1.2035 | -0.17616 | 0.070019 | 0.041704 | -0.29344 | -0.78758 | 0.068736 | -0.5048 | -0.13872 | 0.33598 | -0.21767 | 0.23487 | -0.23786 | -0.71741 | 0.32544 | -0.37428 | 0.96879 | -0.075393 | b2 | -1.7046 | -1.1138 | -0.67312 | -1.2462 | -0.12428 | -1.0931 | -0.77703 | -0.79393 | -1.0326 | -1.2076 | -1.1638 | -1.0421 | -1.5126 | -1.0051 | -0.45901 | -0.061033 | -0.68972 | -0.93265 | -0.42265 | 0.33303 | -0.84032
b3 | 42.3081 | 3.7031 | 3.2164 | 2.9472 | 3.8179 | 3.1733 | 3.972 | 4.5212 | 4.1558 | 3.9231 | 4.1927 | 4.0254 | 4.2249 | 3.8771 | 3.2603 | 2.4691 | 3.1464 | 4.19 | 3.7238 | -1.4746 | 4.7977 | b3 | 39.4457 | 3.7728 | 1.9738 | 2.4321 | 2.9564 | 2.344 | 2.7012 | 2.7813 | 3.0295 | 3.4237 | 3.5785 | 3.3126 | 2.8775 | 2.5408 | 0.43766 | 0.018181 | 2.2232 | 3.3631 | 3.6325 | -2.3849 | 3.6794
b4 | -0.42296 | -0.10597 | -0.014448 | -0.02122 | -0.064738 | 0.21157 | 0.15622 | 0.08768 | 0.13257 | -0.12887 | 0.13723 | -0.032445 | -0.00043934 | 0.069757 | -0.12721 | -0.09532 | 0.13183 | 0.11712 | 0.20787 | 0.52698 | 0.03827 | b4 | 0.11337 | -0.25031 | -0.05655 | -0.15497 | -0.22507 | -0.091013 | -0.080504 | -0.060043 | -0.0548 | -0.087495 | 0.039012 | -0.086792 | -0.33732 | -0.19899 | -0.33745 | 0.049427 | -0.00056244 | -0.17014 | 0.14231 | 0.27181 | -0.088556
b5 | -1.3711 | 1.8417 | 1.6051 | 1.7594 | 2.0143 | 2.0723 | 2.0931 | 2.0737 | 2.0848 | 2.0795 | 1.9243 | 2.1433 | 2.0786 | 2.1196 | 2.0558 | 1.8781 | 1.7138 | 1.6984 | 1.5904 | -1.8234 | 1.6969 | b5 | -1.7134 | 1.545 | 1.1667 | 1.3105 | 1.6148 | 1.8156 | 1.929 | 1.9717 | 1.9088 | 2.0078 | 1.9998 | 1.9469 | 1.7899 | 1.9731 | 2.1129 | 1.6296 | 1.337 | 1.516 | 1.5308 | -2.6547 | 1.4641
b6 | -0.45426 | -0.026014 | 0.02819 | 0.041416 | -0.10884 | -0.018279 | 0.010775 | -0.080176 | 0.0013421 | -0.02217 | 0.036977 | 0.051183 | 0.012205 | -0.0031588 | -0.087112 | -0.078172 | 0.085364 | -0.032621 | -0.021073 | 0.11571 | -0.02197 | b6 | -0.065757 | -0.040806 | -0.01027 | 0.00013918 | -0.0027197 | 0.060154 | -0.045282 | -0.11561 | -0.089689 | 0.018751 | 0.074601 | 0.065051 | 0.1517 | 0.012284 | -0.0065151 | -0.070737 | -0.10472 | -0.053873 | -0.037909 | -0.21562 | -0.019695
b7 | 2.7471 | 0.79144 | 0.90425 | 0.97328 | 0.93846 | 0.80751 | 0.90693 | 0.87942 | 0.87214 | 0.85304 | 0.80877 | 0.84863 | 0.887 | 0.90737 | 0.84423 | 0.74646 | 0.80087 | 0.82105 | 0.79097 | 0.58366 | 0.90791 | b7 | 2.5286 | 0.69291 | 0.77368 | 0.81584 | 0.80832 | 0.6944 | 0.73848 | 0.71169 | 0.72674 | 0.73948 | 0.75015 | 0.75618 | 0.83252 | 0.86757 | 0.66555 | 0.67936 | 0.76695 | 0.75176 | 0.74672 | 0.59517 | 0.80449
b8 | 0.0080499 | -0.015013 | -0.0048348 | -0.0051382 | -0.0088971 | 0.015537 | 0.031666 | 0.0026252 | -0.0072203 | -0.021067 | 0.010168 | 0.0095857 | 0.033106 | 0.033855 | 0.023476 | 0.066833 | -0.0059021 | -0.022792 | 0.01893 | 0.022895 | 0.0090762 | b8 | -0.038731 | 0.010251 | 0.0014023 | 0.019381 | -0.018697 | -0.0097821 | 0.017572 | -0.0074792 | -0.033032 | -0.018932 | -0.0179 | 0.019738 | -0.030375 | -0.05121 | -0.046514 | -0.028861 | 0.023329 | -0.0036704 | 0.010755 | 0.052433 | -0.0079821
b9 | 0.38212 | 0.38974 | 0.37829 | 0.38721 | 0.41583 | 0.39885 | 0.41966 | 0.39811 | 0.41204 | 0.39993 | 0.38228 | 0.38832 | 0.39805 | 0.39447 | 0.35979 | 0.36896 | 0.37925 | 0.39982 | 0.37742 | 0.25338 | 0.38652 | b9 | 0.35857 | 0.37706 | 0.35068 | 0.37954 | 0.37576 | 0.37812 | 0.39025 | 0.38488 | 0.37826 | 0.38723 | 0.3829 | 0.38229 | 0.38684 | 0.35277 | 0.31345 | 0.2802 | 0.3625 | 0.39174 | 0.37496 | 0.31337 | 0.3661
b10 | -0.06106 | -0.0087863 | 7.9085e-05 | 0.025921 | -0.015325 | 0.020099 | 0.022128 | -0.047325 | -0.0024877 | -0.033058 | 0.0047151 | 0.021942 | 0.026323 | -0.00027466 | -0.049292 | -0.00038888 | 0.035483 | -0.010609 | 0.037551 | 0.018585 | 0 | b10 | -0.029933 | -0.0019068 | 0.027316 | 0.04674 | -0.027842 | 0.029041 | 0.0046263 | -0.023083 | -0.047205 | -0.015255 | 0.037163 | 0.053441 | -0.01395 | -0.060144 | -0.06765 | -0.016169 | -0.00817 | -0.017734 | 0.063773 | 0.08482 | 0
b11 | 0.64985 | 0.75478 | 0.74272 | 0.74766 | 0.75393 | 0.74722 | 0.75006 | 0.75219 | 0.75134 | 0.74358 | 0.74287 | 0.74986 | 0.75601 | 0.75334 | 0.75258 | 0.75721 | 0.74619 | 0.7468 | 0.748 | 0.66231 | 0.7435 | b11 | 0.63912 | 0.75194 | 0.73657 | 0.73479 | 0.74503 | 0.74207 | 0.74383 | 0.74761 | 0.74967 | 0.74549 | 0.74286 | 0.74567 | 0.74004 | 0.74486 | 0.74141 | 0.73055 | 0.73448 | 0.74126 | 0.74398 | 0.65071 | 0.73579
b12 | -0.0076702 | -2.4576e-05 | -0.00024601 | 0.0022817 | -0.002705 | 0.0017149 | 0.0039822 | -0.0066373 | -0.0055351 | -0.0056977 | -0.0038065 | 0.004167 | 0.00035821 | 0.0021857 | -0.0037981 | 0.0035839 | -0.001851 | 0.00036947 | 0.0032988 | 0.0072631 | -0.00043842 | b12 | 0.00099762 | -0.0045311 | 0.0024812 | 0.001756 | -0.0079355 | 0.0020403 | 0.0017196 | -0.0057161 | -0.0038889 | -0.0050745 | 0.0044276 | 0.0083419 | -0.0004562 | -0.0079442 | -0.0067441 | -0.0016394 | -0.0077905 | -0.0053807 | 0.0055291 | 0.011091 | -0.0011832
b13 | 0.10649 | 0.092857 | 0.089168 | 0.088882 | 0.089688 | 0.085711 | 0.089986 | 0.092601 | 0.08886 | 0.089756 | 0.088668 | 0.087044 | 0.087659 | 0.089386 | 0.09098 | 0.087659 | 0.089703 | 0.092443 | 0.093241 | 0.073465 | 0.089685 | b13 | 0.087094 | 0.091001 | 0.091039 | 0.091331 | 0.091143 | 0.086155 | 0.08647 | 0.08716 | 0.089142 | 0.087159 | 0.086297 | 0.086827 | 0.089835 | 0.093303 | 0.088965 | 0.093285 | 0.089761 | 0.087376 | 0.088262 | 0.063076 | 0.088179
b14 | -0.0070614 | -0.003815 | -0.0019412 | -0.00058018 | -0.0041827 | -0.00083713 | -0.001289 | -0.0049289 | -0.0031274 | -0.0030722 | -0.0023322 | -0.0002589 | 0.00039068 | -0.0010796 | -0.0064098 | -0.0018246 | -0.00061467 | -0.0018383 | -0.00077108 | 0.0058189 | -0.0020307 | b14 | 0.0081373 | -0.0039086 | -0.0028393 | -0.001664 | -0.0060567 | -0.0027874 | -0.0056437 | -0.0058211 | -0.0068157 | -0.0061632 | -0.0028214 | -0.0030444 | -0.0040627 | -0.0089615 | -0.0099392 | -0.0057282 | -0.004301 | -0.0044575 | -0.0011479 | 0.0010894 | -0.0041578
b15 | 0.0048013 | 0.034108 | 0.031773 | 0.034143 | 0.034836 | 0.034807 | 0.033454 | 0.032752 | 0.034521 | 0.034032 | 0.031905 | 0.036309 | 0.034452 | 0.030752 | 0.03116 | 0.032108 | 0.032293 | 0.030579 | 0.031132 | 0.014124 | 0.03148 | b15 | -0.0082872 | 0.033476 | 0.031195 | 0.031883 | 0.032462 | 0.036427 | 0.03448 | 0.030075 | 0.028872 | 0.034929 | 0.034721 | 0.033228 | 0.030083 | 0.029168 | 0.036556 | 0.037434 | 0.030509 | 0.031404 | 0.033982 | 0.01581 | 0.030884
b16 | [21 empty] | b16
b17 | [21 empty] | b17
a1 | -43.5329 | 0.31738 | 1.9187 | 0.8129 | -0.4755 | -2.0969 | 1.8722 | 3.1226 | -0.06157 | 1.8032 | 1.5071 | 2.4202 | 4.8601 | 6.447 | 4.6827 | -1.1392 | 3.0575 | -2.6358 | -1.4856 | 4.8311 | 0 | a1 | -55.9108 | -9.656 | -0.10469 | -0.67092 | -1.6245 | -0.54415 | 4.1913 | 3.0894 | 3.1113 | 4.1598 | 3.3567 | 6.8022 | 5.7083 | 4.409 | 3.9162 | 3.7507 | 4.6252 | 4.4848 | 2.3427 | -8.4948 | 0
a2 | -0.88787 | -2.8111 | -1.9426 | -2.9139 | -1.216 | -1.0498 | -0.46313 | -1.2485 | -1.5243 | -0.4173 | -0.046625 | -0.70376 | -1.4137 | -1.2225 | -0.42108 | 2.4049 | -0.60968 | -1.379 | -1.4174 | -4.0366 | -1.1207 | a2 | -0.17071 | -1.3527 | 0.70771 | 0.15647 | -0.25162 | -0.4113 | -0.46845 | 0.11695 | 1.0995 | 0.7889 | -0.29628 | -0.36246 | -0.011428 | -1.1346 | -1.3976 | -1.7595 | -0.68784 | -0.19276 | -0.50269 | -2.5492 | -0.40186
a3 | 2.2716 | 0.063517 | -0.32223 | -0.29891 | -0.50731 | 0.67803 | -0.0071034 | -0.18394 | -0.45659 | 0.067678 | 0.36555 | 0.47944 | 0.56915 | -0.26881 | 0.6457 | 2.6245 | 1.4814 | 0.90403 | 0.47558 | -0.94212 | 0.36996 | a3 | 2.1593 | 0.47789 | 0.081834 | 0.12238 | 0.45866 | 1.0061 | 0.42218 | -0.098556 | -0.77646 | -0.3085 | -0.43463 | -0.26155 | -0.092324 | 0.21711 | -0.032972 | 1.0209 | -0.2043 | 0.23223 | 0.074982 | -1.2842 | 0.12621
a4 | -0.36377 | 0.74443 | 0.17929 | 0.45558 | 0.60161 | 0.17164 | 0.35828 | 0.69415 | 0.21907 | 0.13495 | 0.091054 | 0.15239 | 0.50845 | 0.046917 | -0.16783 | -0.62852 | -0.24529 | 0.4348 | 0.11607 | 0.86782 | 0.21802 | a4 | 1.7012 | -0.75823 | -0.62145 | -0.72158 | -0.18357 | -0.67679 | -0.40537 | -0.51826 | -0.26263 | -0.50878 | -0.80993 | -0.33185 | -0.43668 | -0.26344 | -0.069305 | -0.16578 | -0.57535 | -0.62823 | -0.82267 | 0.3951 | -0.38411
a5 | -2.6532 | 0.10593 | -0.13169 | -0.13873 | -0.23315 | 0.028212 | -0.0098961 | -0.17331 | -0.24955 | -0.19548 | -0.10296 | 0.022866 | -0.26902 | -0.24868 | -0.092615 | 0.355 | 0.26015 | 0.10869 | -0.16331 | -0.065434 | -0.14847 | a5 | -2.9148 | 0.21376 | 0.038562 | 0.037095 | -0.04617 | 0.018422 | -0.075545 | -0.049347 | -0.22775 | -0.1964 | -0.26277 | -0.19752 | -0.29919 | -0.26979 | -0.18146 | -0.16345 | 0.12853 | -0.12232 | -0.12112 | 0.078237 | -0.18578
a6 | -0.54032 | -0.01202 | -0.059674 | -0.024158 | 0.040366 | -0.010063 | 0.042939 | 0.026373 | 0.051088 | -0.0026967 | -0.034446 | -0.060396 | 0.018455 | 0.0035977 | -0.0084275 | 0.11109 | -0.031881 | 0.0056608 | 0.0066401 | 0.015243 | -0.014126 | a6 | 0.34348 | -0.12627 | -0.090732 | -0.075384 | -0.087796 | -0.096348 | 0.0044883 | -0.023284 | 0.042513 | 0.010133 | -0.035863 | -0.037891 | -0.11225 | -0.06305 | -0.10077 | 0.036655 | 0.034117 | -0.036606 | -0.12431 | -0.054105 | -0.03623
a7 | -1.8382 | -0.12606 | -0.024094 | -0.0012957 | 0.033673 | -0.074934 | -0.037593 | -0.033903 | -0.03047 | 0.027826 | -0.051824 | -0.033551 | -0.029818 | 0.0013848 | 0.01186 | -0.13277 | 0.042709 | 0.022505 | 0.078578 | 0.12456 | -0.075126 | a7 | -2.0498 | -0.11667 | -0.00060071 | 0.033081 | 0.11068 | -0.033949 | 0.0051867 | 0.064155 | -0.011995 | 0.014414 | 0.019016 | 0.0039302 | -0.034549 | -0.056194 | 0.094281 | -0.10118 | -0.043356 | 0.049324 | 0.10071 | 0.11796 | -0.058791
a8 | -0.14441 | 0.035937 | 0.0013883 | -0.04749 | -0.0096755 | 0.00018815 | 0.026854 | 0.010415 | 0.00029316 | -0.035816 | 0.0052221 | -0.02128 | 0.0082364 | 0.0013035 | 0.0021866 | -0.010128 | -0.02171 | -0.009961 | -0.045972 | -0.10536 | -0.014079 | a8 | 0.16438 | 0.016044 | -0.0019511 | -0.01644 | -0.029884 | -0.011461 | 0.019985 | 0.0070461 | 0.039688 | 0.0061399 | 0.0080262 | 0.0013302 | -0.0064073 | -0.052918 | -0.021016 | -0.076268 | -0.0037753 | -0.014693 | 0.00098871 | -0.05619 | -0.0035102
a9 | 0.12215 | 0.01255 | 0.0011135 | -0.011812 | -0.017557 | 0.0074584 | -0.017003 | -0.024607 | -0.039697 | -0.025913 | -0.0090887 | -4.6476e-05 | -0.0010569 | 0.0042675 | -0.010489 | 0.052996 | -0.010084 | -0.01949 | -0.035455 | -0.036155 | -0.0046545 | a9 | 0.094332 | 0.029823 | -0.012254 | -0.011117 | -0.036479 | 0.0067641 | 0.0079226 | -0.0035612 | -0.01957 | -0.0089268 | -0.030803 | -0.0033935 | 0.0015219 | 0.024587 | 0.022003 | 0.092218 | -0.011088 | -0.0047019 | -0.015381 | -0.022101 | 0.0037942
a10 | -0.13613 | -0.0043491 | -0.0047758 | -0.040885 | -0.029884 | -0.022892 | -0.0023436 | -0.0014988 | 0.0020693 | -0.016134 | 0.041111 | -0.024839 | 0.011121 | 0.051704 | 0.044414 | 0.02524 | 0.011803 | 0.030472 | 0.023712 | -0.010827 | 0 | a10 | 0.071516 | -0.056913 | -0.0073242 | -0.01794 | -0.036868 | -0.037123 | 0.010573 | 0.055108 | 0.079371 | -0.0022944 | -0.0043932 | 0.012276 | 0.040297 | 0.0029718 | -0.024907 | -0.017419 | 0.039211 | 0.0027374 | -0.037727 | -0.06837 | 0
a11 | -0.2017 | -0.0077737 | -0.00082949 | -0.0026432 | -0.0021763 | -0.013823 | -0.01509 | -0.0057792 | -0.0041517 | -0.0044159 | -0.0046096 | -0.0048972 | -0.0018424 | 0.00049179 | 0.0053788 | -0.018829 | -0.010734 | -0.0099896 | -0.017054 | -0.0012654 | -0.012886 | a11 | -0.23497 | -0.022758 | -0.004038 | -0.0014892 | 0.0021194 | -0.012421 | -0.012985 | -0.012346 | -0.0030498 | -0.0069615 | -0.0076204 | -0.0017479 | -0.0014733 | -0.00059949 | 0.0098891 | -0.039537 | -0.012542 | -0.0070276 | -0.002999 | -0.0072935 | -0.015154
a12 | -0.028952 | -0.006344 | -0.0064049 | -0.0088244 | -0.0093663 | -0.0056594 | 0.0015837 | -0.0026487 | -0.0002598 | -0.0013972 | 0.0019421 | -0.005877 | 0.00018115 | 0.0022341 | 0.003154 | 0.0054787 | -0.0012205 | 0.00016159 | 0.001077 | -0.0044188 | -0.0027772 | a12 | -0.0098512 | -0.016013 | -0.00083194 | -0.0020088 | -0.0073638 | -0.0081655 | 0.0031478 | 0.004747 | 0.011378 | -0.0021568 | -0.0016781 | 0.0023315 | -0.00075807 | -0.002854 | -0.0094467 | 0.0030996 | 0.0046562 | 8.9514e-05 | -0.0083629 | -0.0056939 | -0.0020863
a13 | 0.0036444 | -0.0023478 | -0.00025708 | -6.0497e-07 | -0.0004448 | 0.0017201 | -9.2947e-05 | 0.00081401 | -0.0033368 | -0.0005725 | -0.00034193 | 0.0011692 | 0.0012136 | 0.00062643 | 7.0179e-05 | 0.0011389 | -0.0026387 | -0.0022544 | -0.0057229 | -0.0045865 | -0.0006217 | a13 | -8.9749e-05 | -0.00073429 | -0.000148 | -0.00081393 | -0.00085813 | 2.3915e-05 | 2.9353e-05 | -0.00020467 | -0.0053086 | -0.0058413 | -0.0038727 | -0.0026941 | -0.00096133 | 0.0006086 | -0.00066638 | 0.0015629 | -0.0017095 | -0.0028179 | -0.0032811 | -0.0020614 | -0.0015082
a14 | 0.0028526 | -0.010075 | -0.011556 | -0.013705 | -0.011492 | -0.012594 | -0.0095176 | -0.0095268 | -0.010447 | -0.012415 | -0.009059 | -0.012763 | -0.010279 | -0.00887 | -0.0099489 | -0.010455 | -0.01014 | -0.0092062 | -0.010607 | -0.0044551 | -0.010041 | a14 | 0.013411 | -0.012149 | -0.0092719 | -0.0097385 | -0.011558 | -0.013053 | -0.0091722 | -0.0060599 | -0.0035218 | -0.010843 | -0.011286 | -0.0091918 | -0.0098927 | -0.012464 | -0.013746 | -0.013844 | -0.0081745 | -0.010237 | -0.012393 | -0.0035879 | -0.0093479
a15 | -0.0086532 | -0.0011639 | -0.0022201 | -0.0011845 | -0.0028922 | -0.0013012 | 0.00021759 | -0.0045493 | -0.0035917 | -0.0038723 | -0.001001 | -0.00042192 | -0.00021946 | -0.00096584 | -0.0032573 | -0.00041164 | -0.00046063 | -0.0012397 | -0.00022823 | 0.00045369 | -0.0017619 | a15 | -0.014938 | -0.0046279 | -0.0026774 | -0.0030204 | -0.0068284 | -0.0037036 | -0.0039712 | -0.0027252 | -0.0076912 | -0.0072765 | -0.0040644 | -0.0024907 | -0.0048004 | -0.0083105 | -0.008702 | -0.0038469 | -0.0046197 | -0.0054526 | -0.0018788 | 0.0017024 | -0.0049275
a16 | [21 empty] | a16
a17 | [21 empty] | a17
Dx (m) | 4.4506e-05 | 1.9685e-05 | 0 | -5.9231e-05 | 3.4343e-05 | -4.6664e-05 | -5.0243e-05 | 0.00010694 | 0 | 7.5363e-05 | -1.0221e-05 | -5.0098e-05 | -5.913e-05 | 0 | 0.00011061 | 0 | -8.043e-05 | 2.5078e-05 | -8.4074e-05 | -4.7756e-05 | 5.3076e-05 | Dx (m) | 0.00013195 | 0 | -6.3137e-05 | -0.00010821 | 6.3734e-05 | -6.79e-05 | -1.0147e-05 | 5.4506e-05 | 0.00010764 | 3.4737e-05 | -8.5147e-05 | -0.0001218 | 3.2238e-05 | 0.00013731 | 0.00015582 | 3.5334e-05 | 2.0424e-05 | 4.0731e-05 | -0.00014601 | -0.00022353 | 0.00020765
Dy (m) | 0.00036874 | 0 | 1.0931e-05 | 9.2743e-05 | 6.7475e-05 | 5.1218e-05 | 0 | 0 | 0 | 3.7345e-05 | -9.4139e-05 | 5.5992e-05 | -2.5151e-05 | -0.00011668 | -0.00010113 | -5.6602e-05 | -2.8036e-05 | -6.9032e-05 | -5.5815e-05 | 2.771e-05 | 0.0004591 | Dy (m) | -0.00014166 | 0.00012859 | 1.656e-05 | 4.129e-05 | 8.3967e-05 | 8.3905e-05 | -2.4341e-05 | -0.00012443 | -0.00017951 | 0 | 0 | -2.8301e-05 | -9.2515e-05 | 0 | 5.5136e-05 | 4.2449e-05 | -9.0411e-05 | 0 | 8.5685e-05 | 0.00017645 | 0.0004226
Magnetic length (m) |  | 14.4715 | [19 empty] | Magnetic length (m) |  | 14.4727
C1 centre (mT) |  | 0.005064 | [19 empty] | C1 centre (mT) |  | 0.005066
Coil positioning (mm) |  | 0.023521 | [19 empty] | Coil positioning (mm) |  | 0.024451

## Summary Data
File | Aperture 1 - Collared coils | [19 empty] | Integrals | File | Aperture 2 - Collared coils | [19 empty] | Integrals
C1 (mT) | 0.003234 | 0.00507 | 0.005065 | 0.005064 | 0.005063 | 0.005063 | 0.005063 | 0.005063 | 0.005062 | 0.005061 | 0.005063 | 0.005063 | 0.005065 | 0.005063 | 0.005064 | 0.005064 | 0.005064 | 0.005064 | 0.005069 | 0.003339 | 0.073284 | C1 | 0.003235 | 0.005071 | 0.005067 | 0.005066 | 0.005065 | 0.005065 | 0.005065 | 0.005065 | 0.005065 | 0.005064 | 0.005065 | 0.005065 | 0.005065 | 0.005065 | 0.005066 | 0.005067 | 0.005067 | 0.005066 | 0.005071 | 0.003349 | 0.073321
Angle (mrad) | -4.3533 | 0.031738 | 0.19187 | 0.08129 | -0.04755 | -0.20969 | 0.18722 | 0.31226 | -0.006157 | 0.18032 | 0.15071 | 0.24202 | 0.48601 | 0.6447 | 0.46827 | -0.11392 | 0.30575 | -0.26358 | -0.14856 | 0.48311 | 11.8923 | Angle (mrad) | -5.591 | -0.9656 | -0.010469 | -0.067092 | -0.16245 | -0.054415 | 0.41913 | 0.30894 | 0.31113 | 0.41598 | 0.33567 | 0.68022 | 0.57083 | 0.4409 | 0.39162 | 0.37507 | 0.46252 | 0.44848 | 0.23427 | -0.84948 | 11.9139
Multipoles | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12 | Position 13 | Position 14 | Position 15 | Position 16 | Position 17 | Position 18 | Position 19 | Position 20 | 0 | Multipoles | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6 | Position 7 | Position 8 | Position 9 | Position 10 | Position 11 | Position 12 | Position 13 | Position 14 | Position 15 | Position 16 | Position 17 | Position 18 | Position 19 | Position 20 | 0
b1 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | b1 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
b2 | -2.3682 | 0.25378 | 0.33209 | 1.2035 | -0.17616 | 0.070019 | 0.041704 | -0.29344 | -0.78758 | 0.068736 | -0.5048 | -0.13872 | 0.33598 | -0.21767 | 0.23487 | -0.23786 | -0.71741 | 0.32544 | -0.37428 | 0.96879 | -0.075393 | b2 | -1.7046 | -1.1138 | -0.67312 | -1.2462 | -0.12428 | -1.0931 | -0.77703 | -0.79393 | -1.0326 | -1.2076 | -1.1638 | -1.0421 | -1.5126 | -1.0051 | -0.45901 | -0.061033 | -0.68972 | -0.93265 | -0.42265 | 0.33303 | -0.84032
b3 | 42.3081 | 3.7031 | 3.2164 | 2.9472 | 3.8179 | 3.1733 | 3.972 | 4.5212 | 4.1558 | 3.9231 | 4.1927 | 4.0254 | 4.2249 | 3.8771 | 3.2603 | 2.4691 | 3.1464 | 4.19 | 3.7238 | -1.4746 | 4.7977 | b3 | 39.4457 | 3.7728 | 1.9738 | 2.4321 | 2.9564 | 2.344 | 2.7012 | 2.7813 | 3.0295 | 3.4237 | 3.5785 | 3.3126 | 2.8775 | 2.5408 | 0.43766 | 0.018181 | 2.2232 | 3.3631 | 3.6325 | -2.3849 | 3.6794
b4 | -0.42296 | -0.10597 | -0.014448 | -0.02122 | -0.064738 | 0.21157 | 0.15622 | 0.08768 | 0.13257 | -0.12887 | 0.13723 | -0.032445 | -0.00043934 | 0.069757 | -0.12721 | -0.09532 | 0.13183 | 0.11712 | 0.20787 | 0.52698 | 0.03827 | b4 | 0.11337 | -0.25031 | -0.05655 | -0.15497 | -0.22507 | -0.091013 | -0.080504 | -0.060043 | -0.0548 | -0.087495 | 0.039012 | -0.086792 | -0.33732 | -0.19899 | -0.33745 | 0.049427 | -0.00056244 | -0.17014 | 0.14231 | 0.27181 | -0.088556
b5 | -1.3711 | 1.8417 | 1.6051 | 1.7594 | 2.0143 | 2.0723 | 2.0931 | 2.0737 | 2.0848 | 2.0795 | 1.9243 | 2.1433 | 2.0786 | 2.1196 | 2.0558 | 1.8781 | 1.7138 | 1.6984 | 1.5904 | -1.8234 | 1.6969 | b5 | -1.7134 | 1.545 | 1.1667 | 1.3105 | 1.6148 | 1.8156 | 1.929 | 1.9717 | 1.9088 | 2.0078 | 1.9998 | 1.9469 | 1.7899 | 1.9731 | 2.1129 | 1.6296 | 1.337 | 1.516 | 1.5308 | -2.6547 | 1.4641
b6 | -0.45426 | -0.026014 | 0.02819 | 0.041416 | -0.10884 | -0.018279 | 0.010775 | -0.080176 | 0.0013421 | -0.02217 | 0.036977 | 0.051183 | 0.012205 | -0.0031588 | -0.087112 | -0.078172 | 0.085364 | -0.032621 | -0.021073 | 0.11571 | -0.02197 | b6 | -0.065757 | -0.040806 | -0.01027 | 0.00013918 | -0.0027197 | 0.060154 | -0.045282 | -0.11561 | -0.089689 | 0.018751 | 0.074601 | 0.065051 | 0.1517 | 0.012284 | -0.0065151 | -0.070737 | -0.10472 | -0.053873 | -0.037909 | -0.21562 | -0.019695
b7 | 2.7471 | 0.79144 | 0.90425 | 0.97328 | 0.93846 | 0.80751 | 0.90693 | 0.87942 | 0.87214 | 0.85304 | 0.80877 | 0.84863 | 0.887 | 0.90737 | 0.84423 | 0.74646 | 0.80087 | 0.82105 | 0.79097 | 0.58366 | 0.90791 | b7 | 2.5286 | 0.69291 | 0.77368 | 0.81584 | 0.80832 | 0.6944 | 0.73848 | 0.71169 | 0.72674 | 0.73948 | 0.75015 | 0.75618 | 0.83252 | 0.86757 | 0.66555 | 0.67936 | 0.76695 | 0.75176 | 0.74672 | 0.59517 | 0.80449
b8 | 0.0080499 | -0.015013 | -0.0048348 | -0.0051382 | -0.0088971 | 0.015537 | 0.031666 | 0.0026252 | -0.0072203 | -0.021067 | 0.010168 | 0.0095857 | 0.033106 | 0.033855 | 0.023476 | 0.066833 | -0.0059021 | -0.022792 | 0.01893 | 0.022895 | 0.0090762 | b8 | -0.038731 | 0.010251 | 0.0014023 | 0.019381 | -0.018697 | -0.0097821 | 0.017572 | -0.0074792 | -0.033032 | -0.018932 | -0.0179 | 0.019738 | -0.030375 | -0.05121 | -0.046514 | -0.028861 | 0.023329 | -0.0036704 | 0.010755 | 0.052433 | -0.0079821
b9 | 0.38212 | 0.38974 | 0.37829 | 0.38721 | 0.41583 | 0.39885 | 0.41966 | 0.39811 | 0.41204 | 0.39993 | 0.38228 | 0.38832 | 0.39805 | 0.39447 | 0.35979 | 0.36896 | 0.37925 | 0.39982 | 0.37742 | 0.25338 | 0.38652 | b9 | 0.35857 | 0.37706 | 0.35068 | 0.37954 | 0.37576 | 0.37812 | 0.39025 | 0.38488 | 0.37826 | 0.38723 | 0.3829 | 0.38229 | 0.38684 | 0.35277 | 0.31345 | 0.2802 | 0.3625 | 0.39174 | 0.37496 | 0.31337 | 0.3661
b10 | -0.06106 | -0.0087863 | 7.9085e-05 | 0.025921 | -0.015325 | 0.020099 | 0.022128 | -0.047325 | -0.0024877 | -0.033058 | 0.0047151 | 0.021942 | 0.026323 | -0.00027466 | -0.049292 | -0.00038888 | 0.035483 | -0.010609 | 0.037551 | 0.018585 | 0 | b10 | -0.029933 | -0.0019068 | 0.027316 | 0.04674 | -0.027842 | 0.029041 | 0.0046263 | -0.023083 | -0.047205 | -0.015255 | 0.037163 | 0.053441 | -0.01395 | -0.060144 | -0.06765 | -0.016169 | -0.00817 | -0.017734 | 0.063773 | 0.08482 | 0
b11 | 0.64985 | 0.75478 | 0.74272 | 0.74766 | 0.75393 | 0.74722 | 0.75006 | 0.75219 | 0.75134 | 0.74358 | 0.74287 | 0.74986 | 0.75601 | 0.75334 | 0.75258 | 0.75721 | 0.74619 | 0.7468 | 0.748 | 0.66231 | 0.7435 | b11 | 0.63912 | 0.75194 | 0.73657 | 0.73479 | 0.74503 | 0.74207 | 0.74383 | 0.74761 | 0.74967 | 0.74549 | 0.74286 | 0.74567 | 0.74004 | 0.74486 | 0.74141 | 0.73055 | 0.73448 | 0.74126 | 0.74398 | 0.65071 | 0.73579
b12 | -0.0076702 | -2.4576e-05 | -0.00024601 | 0.0022817 | -0.002705 | 0.0017149 | 0.0039822 | -0.0066373 | -0.0055351 | -0.0056977 | -0.0038065 | 0.004167 | 0.00035821 | 0.0021857 | -0.0037981 | 0.0035839 | -0.001851 | 0.00036947 | 0.0032988 | 0.0072631 | -0.00043842 | b12 | 0.00099762 | -0.0045311 | 0.0024812 | 0.001756 | -0.0079355 | 0.0020403 | 0.0017196 | -0.0057161 | -0.0038889 | -0.0050745 | 0.0044276 | 0.0083419 | -0.0004562 | -0.0079442 | -0.0067441 | -0.0016394 | -0.0077905 | -0.0053807 | 0.0055291 | 0.011091 | -0.0011832
b13 | 0.10649 | 0.092857 | 0.089168 | 0.088882 | 0.089688 | 0.085711 | 0.089986 | 0.092601 | 0.08886 | 0.089756 | 0.088668 | 0.087044 | 0.087659 | 0.089386 | 0.09098 | 0.087659 | 0.089703 | 0.092443 | 0.093241 | 0.073465 | 0.089685 | b13 | 0.087094 | 0.091001 | 0.091039 | 0.091331 | 0.091143 | 0.086155 | 0.08647 | 0.08716 | 0.089142 | 0.087159 | 0.086297 | 0.086827 | 0.089835 | 0.093303 | 0.088965 | 0.093285 | 0.089761 | 0.087376 | 0.088262 | 0.063076 | 0.088179
b14 | -0.0070614 | -0.003815 | -0.0019412 | -0.00058018 | -0.0041827 | -0.00083713 | -0.001289 | -0.0049289 | -0.0031274 | -0.0030722 | -0.0023322 | -0.0002589 | 0.00039068 | -0.0010796 | -0.0064098 | -0.0018246 | -0.00061467 | -0.0018383 | -0.00077108 | 0.0058189 | -0.0020307 | b14 | 0.0081373 | -0.0039086 | -0.0028393 | -0.001664 | -0.0060567 | -0.0027874 | -0.0056437 | -0.0058211 | -0.0068157 | -0.0061632 | -0.0028214 | -0.0030444 | -0.0040627 | -0.0089615 | -0.0099392 | -0.0057282 | -0.004301 | -0.0044575 | -0.0011479 | 0.0010894 | -0.0041578
b15 | 0.0048013 | 0.034108 | 0.031773 | 0.034143 | 0.034836 | 0.034807 | 0.033454 | 0.032752 | 0.034521 | 0.034032 | 0.031905 | 0.036309 | 0.034452 | 0.030752 | 0.03116 | 0.032108 | 0.032293 | 0.030579 | 0.031132 | 0.014124 | 0.03148 | b15 | -0.0082872 | 0.033476 | 0.031195 | 0.031883 | 0.032462 | 0.036427 | 0.03448 | 0.030075 | 0.028872 | 0.034929 | 0.034721 | 0.033228 | 0.030083 | 0.029168 | 0.036556 | 0.037434 | 0.030509 | 0.031404 | 0.033982 | 0.01581 | 0.030884
b16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a1 | -43.5329 | 0.31738 | 1.9187 | 0.8129 | -0.4755 | -2.0969 | 1.8722 | 3.1226 | -0.06157 | 1.8032 | 1.5071 | 2.4202 | 4.8601 | 6.447 | 4.6827 | -1.1392 | 3.0575 | -2.6358 | -1.4856 | 4.8311 | 0 | a1 | -55.9108 | -9.656 | -0.10469 | -0.67092 | -1.6245 | -0.54415 | 4.1913 | 3.0894 | 3.1113 | 4.1598 | 3.3567 | 6.8022 | 5.7083 | 4.409 | 3.9162 | 3.7507 | 4.6252 | 4.4848 | 2.3427 | -8.4948 | 0
a2 | -0.88787 | -2.8111 | -1.9426 | -2.9139 | -1.216 | -1.0498 | -0.46313 | -1.2485 | -1.5243 | -0.4173 | -0.046625 | -0.70376 | -1.4137 | -1.2225 | -0.42108 | 2.4049 | -0.60968 | -1.379 | -1.4174 | -4.0366 | -1.1207 | a2 | -0.17071 | -1.3527 | 0.70771 | 0.15647 | -0.25162 | -0.4113 | -0.46845 | 0.11695 | 1.0995 | 0.7889 | -0.29628 | -0.36246 | -0.011428 | -1.1346 | -1.3976 | -1.7595 | -0.68784 | -0.19276 | -0.50269 | -2.5492 | -0.40186
a3 | 2.2716 | 0.063517 | -0.32223 | -0.29891 | -0.50731 | 0.67803 | -0.0071034 | -0.18394 | -0.45659 | 0.067678 | 0.36555 | 0.47944 | 0.56915 | -0.26881 | 0.6457 | 2.6245 | 1.4814 | 0.90403 | 0.47558 | -0.94212 | 0.36996 | a3 | 2.1593 | 0.47789 | 0.081834 | 0.12238 | 0.45866 | 1.0061 | 0.42218 | -0.098556 | -0.77646 | -0.3085 | -0.43463 | -0.26155 | -0.092324 | 0.21711 | -0.032972 | 1.0209 | -0.2043 | 0.23223 | 0.074982 | -1.2842 | 0.12621
a4 | -0.36377 | 0.74443 | 0.17929 | 0.45558 | 0.60161 | 0.17164 | 0.35828 | 0.69415 | 0.21907 | 0.13495 | 0.091054 | 0.15239 | 0.50845 | 0.046917 | -0.16783 | -0.62852 | -0.24529 | 0.4348 | 0.11607 | 0.86782 | 0.21802 | a4 | 1.7012 | -0.75823 | -0.62145 | -0.72158 | -0.18357 | -0.67679 | -0.40537 | -0.51826 | -0.26263 | -0.50878 | -0.80993 | -0.33185 | -0.43668 | -0.26344 | -0.069305 | -0.16578 | -0.57535 | -0.62823 | -0.82267 | 0.3951 | -0.38411
a5 | -2.6532 | 0.10593 | -0.13169 | -0.13873 | -0.23315 | 0.028212 | -0.0098961 | -0.17331 | -0.24955 | -0.19548 | -0.10296 | 0.022866 | -0.26902 | -0.24868 | -0.092615 | 0.355 | 0.26015 | 0.10869 | -0.16331 | -0.065434 | -0.14847 | a5 | -2.9148 | 0.21376 | 0.038562 | 0.037095 | -0.04617 | 0.018422 | -0.075545 | -0.049347 | -0.22775 | -0.1964 | -0.26277 | -0.19752 | -0.29919 | -0.26979 | -0.18146 | -0.16345 | 0.12853 | -0.12232 | -0.12112 | 0.078237 | -0.18578
a6 | -0.54032 | -0.01202 | -0.059674 | -0.024158 | 0.040366 | -0.010063 | 0.042939 | 0.026373 | 0.051088 | -0.0026967 | -0.034446 | -0.060396 | 0.018455 | 0.0035977 | -0.0084275 | 0.11109 | -0.031881 | 0.0056608 | 0.0066401 | 0.015243 | -0.014126 | a6 | 0.34348 | -0.12627 | -0.090732 | -0.075384 | -0.087796 | -0.096348 | 0.0044883 | -0.023284 | 0.042513 | 0.010133 | -0.035863 | -0.037891 | -0.11225 | -0.06305 | -0.10077 | 0.036655 | 0.034117 | -0.036606 | -0.12431 | -0.054105 | -0.03623
a7 | -1.8382 | -0.12606 | -0.024094 | -0.0012957 | 0.033673 | -0.074934 | -0.037593 | -0.033903 | -0.03047 | 0.027826 | -0.051824 | -0.033551 | -0.029818 | 0.0013848 | 0.01186 | -0.13277 | 0.042709 | 0.022505 | 0.078578 | 0.12456 | -0.075126 | a7 | -2.0498 | -0.11667 | -0.00060071 | 0.033081 | 0.11068 | -0.033949 | 0.0051867 | 0.064155 | -0.011995 | 0.014414 | 0.019016 | 0.0039302 | -0.034549 | -0.056194 | 0.094281 | -0.10118 | -0.043356 | 0.049324 | 0.10071 | 0.11796 | -0.058791
a8 | -0.14441 | 0.035937 | 0.0013883 | -0.04749 | -0.0096755 | 0.00018815 | 0.026854 | 0.010415 | 0.00029316 | -0.035816 | 0.0052221 | -0.02128 | 0.0082364 | 0.0013035 | 0.0021866 | -0.010128 | -0.02171 | -0.009961 | -0.045972 | -0.10536 | -0.014079 | a8 | 0.16438 | 0.016044 | -0.0019511 | -0.01644 | -0.029884 | -0.011461 | 0.019985 | 0.0070461 | 0.039688 | 0.0061399 | 0.0080262 | 0.0013302 | -0.0064073 | -0.052918 | -0.021016 | -0.076268 | -0.0037753 | -0.014693 | 0.00098871 | -0.05619 | -0.0035102
a9 | 0.12215 | 0.01255 | 0.0011135 | -0.011812 | -0.017557 | 0.0074584 | -0.017003 | -0.024607 | -0.039697 | -0.025913 | -0.0090887 | -4.6476e-05 | -0.0010569 | 0.0042675 | -0.010489 | 0.052996 | -0.010084 | -0.01949 | -0.035455 | -0.036155 | -0.0046545 | a9 | 0.094332 | 0.029823 | -0.012254 | -0.011117 | -0.036479 | 0.0067641 | 0.0079226 | -0.0035612 | -0.01957 | -0.0089268 | -0.030803 | -0.0033935 | 0.0015219 | 0.024587 | 0.022003 | 0.092218 | -0.011088 | -0.0047019 | -0.015381 | -0.022101 | 0.0037942
a10 | -0.13613 | -0.0043491 | -0.0047758 | -0.040885 | -0.029884 | -0.022892 | -0.0023436 | -0.0014988 | 0.0020693 | -0.016134 | 0.041111 | -0.024839 | 0.011121 | 0.051704 | 0.044414 | 0.02524 | 0.011803 | 0.030472 | 0.023712 | -0.010827 | 0 | a10 | 0.071516 | -0.056913 | -0.0073242 | -0.01794 | -0.036868 | -0.037123 | 0.010573 | 0.055108 | 0.079371 | -0.0022944 | -0.0043932 | 0.012276 | 0.040297 | 0.0029718 | -0.024907 | -0.017419 | 0.039211 | 0.0027374 | -0.037727 | -0.06837 | 0
a11 | -0.2017 | -0.0077737 | -0.00082949 | -0.0026432 | -0.0021763 | -0.013823 | -0.01509 | -0.0057792 | -0.0041517 | -0.0044159 | -0.0046096 | -0.0048972 | -0.0018424 | 0.00049179 | 0.0053788 | -0.018829 | -0.010734 | -0.0099896 | -0.017054 | -0.0012654 | -0.012886 | a11 | -0.23497 | -0.022758 | -0.004038 | -0.0014892 | 0.0021194 | -0.012421 | -0.012985 | -0.012346 | -0.0030498 | -0.0069615 | -0.0076204 | -0.0017479 | -0.0014733 | -0.00059949 | 0.0098891 | -0.039537 | -0.012542 | -0.0070276 | -0.002999 | -0.0072935 | -0.015154
a12 | -0.028952 | -0.006344 | -0.0064049 | -0.0088244 | -0.0093663 | -0.0056594 | 0.0015837 | -0.0026487 | -0.0002598 | -0.0013972 | 0.0019421 | -0.005877 | 0.00018115 | 0.0022341 | 0.003154 | 0.0054787 | -0.0012205 | 0.00016159 | 0.001077 | -0.0044188 | -0.0027772 | a12 | -0.0098512 | -0.016013 | -0.00083194 | -0.0020088 | -0.0073638 | -0.0081655 | 0.0031478 | 0.004747 | 0.011378 | -0.0021568 | -0.0016781 | 0.0023315 | -0.00075807 | -0.002854 | -0.0094467 | 0.0030996 | 0.0046562 | 8.9514e-05 | -0.0083629 | -0.0056939 | -0.0020863
a13 | 0.0036444 | -0.0023478 | -0.00025708 | -6.0497e-07 | -0.0004448 | 0.0017201 | -9.2947e-05 | 0.00081401 | -0.0033368 | -0.0005725 | -0.00034193 | 0.0011692 | 0.0012136 | 0.00062643 | 7.0179e-05 | 0.0011389 | -0.0026387 | -0.0022544 | -0.0057229 | -0.0045865 | -0.0006217 | a13 | -8.9749e-05 | -0.00073429 | -0.000148 | -0.00081393 | -0.00085813 | 2.3915e-05 | 2.9353e-05 | -0.00020467 | -0.0053086 | -0.0058413 | -0.0038727 | -0.0026941 | -0.00096133 | 0.0006086 | -0.00066638 | 0.0015629 | -0.0017095 | -0.0028179 | -0.0032811 | -0.0020614 | -0.0015082
a14 | 0.0028526 | -0.010075 | -0.011556 | -0.013705 | -0.011492 | -0.012594 | -0.0095176 | -0.0095268 | -0.010447 | -0.012415 | -0.009059 | -0.012763 | -0.010279 | -0.00887 | -0.0099489 | -0.010455 | -0.01014 | -0.0092062 | -0.010607 | -0.0044551 | -0.010041 | a14 | 0.013411 | -0.012149 | -0.0092719 | -0.0097385 | -0.011558 | -0.013053 | -0.0091722 | -0.0060599 | -0.0035218 | -0.010843 | -0.011286 | -0.0091918 | -0.0098927 | -0.012464 | -0.013746 | -0.013844 | -0.0081745 | -0.010237 | -0.012393 | -0.0035879 | -0.0093479
a15 | -0.0086532 | -0.0011639 | -0.0022201 | -0.0011845 | -0.0028922 | -0.0013012 | 0.00021759 | -0.0045493 | -0.0035917 | -0.0038723 | -0.001001 | -0.00042192 | -0.00021946 | -0.00096584 | -0.0032573 | -0.00041164 | -0.00046063 | -0.0012397 | -0.00022823 | 0.00045369 | -0.0017619 | a15 | -0.014938 | -0.0046279 | -0.0026774 | -0.0030204 | -0.0068284 | -0.0037036 | -0.0039712 | -0.0027252 | -0.0076912 | -0.0072765 | -0.0040644 | -0.0024907 | -0.0048004 | -0.0083105 | -0.008702 | -0.0038469 | -0.0046197 | -0.0054526 | -0.0018788 | 0.0017024 | -0.0049275
a16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dx (mm) | -0.044506 | -0.019685 | 0 | 0.059231 | -0.034343 | 0.046664 | 0.050243 | -0.10694 | 0 | -0.075363 | 0.010221 | 0.050098 | 0.05913 | 0 | -0.11061 | 0 | 0.08043 | -0.025078 | 0.084074 | 0.047756 |  | Dx (m) | -0.13195 | 0 | 0.063137 | 0.10821 | -0.063734 | 0.0679 | 0.010147 | -0.054506 | -0.10764 | -0.034737 | 0.085147 | 0.1218 | -0.032238 | -0.13731 | -0.15582 | -0.035334 | -0.020424 | -0.040731 | 0.14601 | 0.22353
Dy (mm) | -0.36874 | 0 | -0.010931 | -0.092743 | -0.067475 | -0.051218 | 0 | 0 | 0 | -0.037345 | 0.094139 | -0.055992 | 0.025151 | 0.11668 | 0.10113 | 0.056602 | 0.028036 | 0.069032 | 0.055815 | -0.02771 |  | Dy (m) | 0.14167 | -0.12859 | -0.01656 | -0.04129 | -0.083967 | -0.083905 | 0.024341 | 0.12443 | 0.17951 | 0 | 0 | 0.028301 | 0.092515 | 0 | -0.055136 | -0.042449 | 0.090411 | 0 | -0.085685 | -0.17645
Mag. len. (m) | 14.4715 | [20 empty] | Mag. len. (m) | 14.4727
C1 cen. (mT) | 0.005064 | [20 empty] | C1 cen. (mT) | 0.005066
Coil pos. (mm) | 0.023521 | [20 empty] | Coil pos. (mm) | 0.024451

## Harmonics
Normal:
Skew:
*10

## Work sheet
| Measured harmonics- Aperture 1 | [7 empty] | Measured harmonics- Aperture 2 | [8 empty] | Zero vector
| normal multipoles |  |  |  | skew multipoles |  |  |  | normal multipoles |  |  |  | skew multipoles
| all positions (1:20) |  | central positions (2:19) |  | all positions (1:20) |  | central positions (2:19) |  | all positions (1:20) |  | central positions (2:19) |  | all positions (1:20) |  | central positions (2:19)
| average | sigma | average | sigma | average | sigma | average | sigma | average | sigma | average | sigma | average | sigma | average | sigma
1 | [17 empty] | 0
2 | -0.075393 | 0.72654 | -0.030822 | 0.46509 | -1.1207 | 1.2803 | -1.029 | 1.142 | -0.84032 | 0.49885 | -0.85769 | 0.3925 | -0.40186 | 0.88054 | -0.33213 | 0.75262 |  | 0
3 | 4.7977 | 8.786 | 3.6951 | 0.5453 | 0.36996 | 0.90594 | 0.35056 | 0.77647 | 3.6794 | 8.421 | 2.6329 | 1.018 | 0.12621 | 0.71604 | 0.10769 | 0.4607 |  | 0
4 | 0.03827 | 0.18901 | 0.035843 | 0.1043 | 0.21802 | 0.38182 | 0.20883 | 0.35697 | -0.088556 | 0.1556 | -0.10595 | 0.11499 | -0.38411 | 0.56313 | -0.48879 | 0.22801 |  | 0
5 | 1.6969 | 1.104 | 1.9343 | 0.18778 | -0.14847 | 0.60366 | -0.062384 | 0.18001 | 1.4641 | 1.2424 | 1.7284 | 0.27938 | -0.18578 | 0.64741 | -0.098125 | 0.14444 |  | 0
6 | -0.02197 | 0.11556 | -0.012789 | 0.041899 | -0.014126 | 0.12801 | 8.4648e-05 | 0.043516 | -0.019695 | 0.080122 | -0.009799 | 0.066579 | -0.03623 | 0.10295 | -0.049397 | 0.047305 |  | 0
7 | 0.90791 | 0.43426 | 0.85451 | 0.059403 | -0.075126 | 0.41284 | -0.020001 | 0.055173 | 0.80449 | 0.4041 | 0.75074 | 0.053924 | -0.058791 | 0.46554 | 0.0052066 | 0.064308 |  | 0
8 | 0.0090762 | 0.022161 | 0.0079145 | 0.023353 | -0.014079 | 0.042661 | -0.008329 | 0.022114 | -0.0079821 | 0.026937 | -0.0089521 | 0.01641 | -0.0035102 | 0.047658 | -0.0074961 | 0.02482 |  | 0
9 | 0.38652 | 0.034289 | 0.39163 | 0.015846 | -0.0046545 | 0.036 | -0.0077602 | 0.02119 | 0.3661 | 0.030064 | 0.36805 | 0.029852 | 0.0037942 | 0.03472 | 0.0024572 | 0.028031 |  | 0
10 | 0 | 0.028733 | -0.00020773 | 0.00061897 | 0 | 0.040559 | -0.00033916 | 0.0013058 | 0 | 0.041661 | -1.6196e-05 | 4.7862e-05 | 0 | 0.040581 | -5.0813e-05 | 0.0014779 |  | 0
11 | 0.7435 | 0.029222 | 0.74983 | 0.004472 | -0.012886 | 0.044134 | -0.0065713 | 0.0065611 | 0.73579 | 0.030492 | 0.74237 | 0.0057068 | -0.015154 | 0.051841 | -0.007569 | 0.010638 |  | 0
12 | -0.00043842 | 0.0041343 | -0.00069334 | 0.002955 | -0.0027772 | 0.0073243 | -0.0026093 | 0.00243 | -0.0011832 | 0.0056233 | -0.0014202 | 0.0027655 | -0.0020863 | 0.0064111 | -0.0016497 | 0.0032252 |  | 0
13 | 0.089685 | 0.0057108 | 0.089567 | 0.001931 | -0.0006217 | 0.0022617 | -0.00054936 | 0.001909 | 0.088179 | 0.0062258 | 0.089115 | 0.0024088 | -0.0015082 | 0.0019482 | -0.0015328 | 0.001891 |  | 0
14 | -0.0020307 | 0.0027369 | -0.0022625 | 0.00082823 | -0.010041 | 0.0035317 | -0.011037 | 0.00087614 | -0.0041578 | 0.0038217 | -0.0047219 | 0.00085831 | -0.0093479 | 0.0060017 | -0.010406 | 0.0015954 |  | 0
15 | 0.03148 | 0.0075865 | 0.033062 | 0.0016733 | -0.0017619 | 0.0021508 | -0.001598 | 0.0014382 | 0.030884 | 0.010071 | 0.032827 | 0.0026116 | -0.0049275 | 0.0034037 | -0.004816 | 0.0021119 |  | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Specified harmonics
| normal harmonics |  |  |  |  | skew harmonics
| average | uncertain | sigma | min | max | average | uncertain | sigma | min | max |  |  | Coil positioning estimate
1 | 0 | 10 | 5 | -15 | 15 | 0.75 | 5 | 0 | 0.75 | 0.75 |  |  | n | n^2 | Ap. 1 | Ap. 2
2 | -1.4 | 0.85 | 0.68 | -3.44 | 0.64 | 0 | 0.51 | 1.7 | -5.1 | 5.1 |  |  | 2 | 4 | -0.31637 | -0.60971
3 | -4 | 0.87 | 1.45 | -8.35 | 0.35 | 0.08 | 0.87 | 0.43 | -1.21 | 1.37 |  |  | 3 | 9 | -0.42971 | -0.37861
4 | 0.22 | 0.34 | 0.49 | -1.25 | 1.69 | 0 | 0.13 | 0.49 | -1.47 | 1.47 |  |  | 4 | 16 | -1.6453 | -1.8206
5 | 0 | 0.42 | 0.42 | -1.26 | 1.26 | 0.01 | 0.42 | 0.33 | -0.98 | 1 |  |  | 5 | 25 | -1.6936 | -1.605
6 | -0.01 | 0.06 | 0.09 | -0.28 | 0.26 | 0 | 0.06 | 0.14 | -0.42 | 0.42 |  |  | 6 | 36 | -3.1535 | -2.8803
7 | 0.32 | 0 | 0.22 | -0.34 | 0.98 | 0.02 | 0 | 0.07 | -0.19 | 0.23 |  |  | 7 | 49 | -2.8603 | -2.8321
8 | 0 | 0 | 0.04 | -0.12 | 0.12 | 0 | 0 | 0.08 | -0.24 | 0.24 |  |  | 8 | 64 | -3.7843 | -3.903
9 | 0.13 | 0 | 0.07 | -0.08 | 0.34 | -0.01 | 0 | 0.07 | -0.22 | 0.2 |  |  | 9 | 81 | -3.9995 | -3.543
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | sigma (mm) |  | 0.023521 | 0.024451
11 | 0.53 | 0 | 0 | 0.53 | 0.53 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Random harmonics | [6 empty] | Expected harmonics (no uncertainty)
| d (mm) |  |  |  | sig(n)=d alpha beta^n |  |  | normal |  |  | skew
| 0.1 | 0.025 | 0.006 |  |  |  |  | min | ave | max | min | ave | max
1 | 4.6023 | 1.1506 | 0.27614 |  | Scaling law constants |  |  | -15 | 0 | 15 | 0.75 | 0.75 | 0.75
2 | 2.8314 | 0.70784 | 0.16988 |  | alpha | 73.9 |  | -3.44 | -1.4 | 0.64 | -5.1 | 0 | 5.1
3 | 1.7207 | 0.43017 | 0.10324 |  | beta | 0.6266 |  | -8.35 | -4 | 0.35 | -1.21 | 0.08 | 1.37
4 | 1.033 | 0.25824 | 0.061978 |  | gamma | 0.9939 |  | -1.25 | 0.22 | 1.69 | -1.47 | 0 | 1.47
5 | 0.61258 | 0.15315 | 0.036755 |  |  |  |  | -1.26 | 0 | 1.26 | -0.98 | 0.01 | 1
6 | 0.35886 | 0.089715 | 0.021532 |  |  |  |  | -0.28 | -0.01 | 0.26 | -0.42 | 0 | 0.42
7 | 0.20767 | 0.051917 | 0.01246 |  |  |  |  | -0.34 | 0.32 | 0.98 | -0.19 | 0.02 | 0.23
8 | 0.11871 | 0.029678 | 0.0071228 |  |  |  |  | -0.12 | 0 | 0.12 | -0.24 | 0 | 0.24
9 | 0.067037 | 0.016759 | 0.0040222 |  |  |  |  | -0.08 | 0.13 | 0.34 | -0.22 | -0.01 | 0.2
10 | 0.037395 | 0.0093488 | 0.0022437 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
11 | 0.020607 | 0.0051516 | 0.0012364 |  |  |  |  | 0.53 | 0.53 | 0.53 | 0 | 0 | 0
12 | 0.011217 | 0.0028042 | 0.00067302 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | ten times !
13 | 0.0060316 | 0.0015079 | 0.0003619 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | ten times !
14 | 0.0032039 | 0.00080097 | 0.00019223 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | ten times !
15 | 0.0016811 | 0.00042029 | 0.00010087 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | ten times !
16 | 0.0008714 | 0.00021785 | 5.2284e-05 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | ten times !
17 | 0.00044619 | 0.00011155 | 2.6771e-05 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | ten times !
Measured harmonics along the axis with local feed down - Aperture 1 - Normal
| position 1 | position 2 | position 3 | position 4 | position 5 | position 6 | position 7 | position 8 | position 9 | position 10 | position 11 | position 12 | position 13 | position 14 | position 15 | position 16 | position 17 | position 18 | position 19 | position 20 | integral
1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
2 | -2.2452 | 0.26236 | 0.33251 | 1.1863 | -0.15671 | 0.048513 | 0.018226 | -0.23655 | -0.78758 | 0.10322 | -0.5058 | -0.1656 | 0.30828 | -0.22136 | 0.28498 | -0.22038 | -0.7423 | 0.34514 | -0.40799 | 0.98014 | -0.075393
3 | 42.3285 | 3.7027 | 3.216 | 2.94 | 3.8103 | 3.17 | 3.9706 | 4.5229 | 4.1558 | 3.9205 | 4.194 | 4.0242 | 4.2272 | 3.8781 | 3.2548 | 2.4628 | 3.1433 | 4.1959 | 3.7218 | -1.4833 | 4.7977
4 | -0.20713 | -0.097441 | -0.01411 | -0.042713 | -0.044759 | 0.18848 | 0.13148 | 0.13986 | 0.13257 | -0.090275 | 0.13033 | -0.058011 | -0.030951 | 0.06293 | -0.07591 | -0.090592 | 0.10111 | 0.12891 | 0.17427 | 0.5479 | 0.03827
5 | -1.3185 | 1.8416 | 1.6053 | 1.7594 | 2.0124 | 2.0727 | 2.0929 | 2.0712 | 2.0848 | 2.079 | 1.9232 | 2.1435 | 2.0786 | 2.1197 | 2.0527 | 1.88 | 1.7115 | 1.6982 | 1.5911 | -1.8251 | 1.6969
6 | -0.17189 | -0.020515 | 0.028283 | 0.021112 | -0.098267 | -0.030224 | -0.0053073 | -0.046983 | 0.0013421 | 0.00015328 | 0.032338 | 0.036841 | -0.0065709 | -0.0031017 | -0.05373 | -0.080825 | 0.063053 | -0.024806 | -0.042996 | 0.10466 | -0.02197
7 | 2.7692 | 0.79131 | 0.90425 | 0.97522 | 0.9386 | 0.80721 | 0.90628 | 0.87953 | 0.87214 | 0.85294 | 0.80893 | 0.84892 | 0.88628 | 0.90743 | 0.84539 | 0.74622 | 0.80081 | 0.82054 | 0.78926 | 0.58441 | 0.90791
8 | -0.0051433 | -0.011403 | -0.0048406 | -0.015416 | -0.0016193 | 0.0065987 | 0.021744 | 0.022661 | -0.0072203 | -0.0064285 | 0.0079266 | 0.00043217 | 0.022017 | 0.034089 | 0.041706 | 0.068244 | -0.02039 | -0.018707 | 0.0030665 | 0.017672 | 0.0090762
9 | 0.40726 | 0.38965 | 0.37832 | 0.38841 | 0.41662 | 0.39897 | 0.41907 | 0.39543 | 0.41204 | 0.39893 | 0.3843 | 0.38847 | 0.39737 | 0.39766 | 0.35928 | 0.36972 | 0.37792 | 0.40079 | 0.37645 | 0.25307 | 0.38652
10 | -0.00029787 | -4.6206e-05 | 8.4418e-05 | 1.5397e-05 | -8.2771e-06 | 4.2913e-06 | -3.9693e-05 | -5.4298e-06 | -0.0024877 | 2.6833e-06 | -6.7197e-06 | 5.4345e-06 | 2.6337e-07 | -0.00024091 | -3.7011e-06 | -0.0010158 | 2.3422e-06 | 1.589e-06 | -1.0966e-06 | 9.2459e-08 | 0
11 | 0.65653 | 0.75478 | 0.74276 | 0.7481 | 0.75428 | 0.74736 | 0.74993 | 0.75173 | 0.75134 | 0.74333 | 0.74302 | 0.74994 | 0.756 | 0.75351 | 0.75252 | 0.75741 | 0.74626 | 0.74682 | 0.74786 | 0.66217 | 0.7435
12 | -0.052734 | 0.012657 | -0.0024402 | -0.014344 | -0.0050958 | -0.011705 | 0.0079079 | 0.0035317 | -0.055351 | -0.0090786 | -0.044689 | 0.010426 | -0.03279 | 0.022373 | 0.033107 | 0.036294 | -0.069961 | 0.01896 | -0.024602 | 0.048763 | -0.0043842 | ten times!
13 | 1.0544 | 0.92799 | 0.89265 | 0.8988 | 0.90172 | 0.86234 | 0.90036 | 0.92198 | 0.8886 | 0.89934 | 0.88034 | 0.876 | 0.87443 | 0.88595 | 0.89668 | 0.87207 | 0.89524 | 0.91922 | 0.92838 | 0.73347 | 0.89685 | ten times!
14 | -0.042578 | -0.032621 | -0.019212 | -0.021552 | -0.030367 | -0.021199 | -0.026732 | -0.020444 | -0.031274 | -0.0084101 | -0.026783 | -0.017375 | -0.012915 | -0.011724 | -0.038426 | -0.018437 | -0.027643 | -0.012773 | -0.029371 | 0.052531 | -0.020307 | ten times!
15 | 0.048013 | 0.34108 | 0.31773 | 0.34143 | 0.34836 | 0.34807 | 0.33454 | 0.32752 | 0.34521 | 0.34032 | 0.31905 | 0.36309 | 0.34452 | 0.30752 | 0.3116 | 0.32108 | 0.32293 | 0.30579 | 0.31132 | 0.14124 | 0.3148 | ten times!
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
Measured harmonics along the axis with local feed down- Aperture 1 - Skew
| position 1 | position 2 | position 3 | position 4 | position 5 | position 6 | position 7 | position 8 | position 9 | position 10 | position 11 | position 12 | position 13 | position 14 | position 15 | position 16 | position 17 | position 18 | position 19 | position 20 | integral
1
2 | 0.95939 | -2.8109 | -1.9384 | -2.8797 | -1.1878 | -1.0344 | -0.46308 | -1.2508 | -1.5243 | -0.39946 | -0.093499 | -0.68007 | -1.4301 | -1.2757 | -0.45146 | 2.3885 | -0.63407 | -1.4103 | -1.4466 | -4.0361 | -1.1207
3 | 2.2412 | 0.066103 | -0.32225 | -0.30402 | -0.50443 | 0.67853 | -0.01028 | -0.17084 | -0.45659 | 0.068624 | 0.3631 | 0.47777 | 0.56384 | -0.27024 | 0.64469 | 2.6255 | 1.4842 | 0.90452 | 0.47181 | -0.94686 | 0.36996
4 | -0.51052 | 0.74492 | 0.18342 | 0.49591 | 0.63171 | 0.1963 | 0.3584 | 0.68978 | 0.21907 | 0.14975 | 0.048679 | 0.18036 | 0.4999 | -0.011274 | -0.21916 | -0.65353 | -0.26152 | 0.40785 | 0.098414 | 0.85666 | 0.21802
5 | -2.7095 | 0.10586 | -0.1316 | -0.13718 | -0.23491 | 0.028075 | -0.010531 | -0.17248 | -0.24955 | -0.19579 | -0.10388 | 0.024599 | -0.26944 | -0.24857 | -0.090298 | 0.3563 | 0.2602 | 0.1094 | -0.16312 | -0.064705 | -0.14847
6 | -0.21167 | -0.012896 | -0.056185 | 0.0077272 | 0.063123 | 0.0057688 | 0.043605 | 0.025093 | 0.051088 | 0.009287 | -0.061131 | -0.043032 | 0.011204 | -0.033768 | -0.038098 | 0.096173 | -0.041017 | -0.014144 | -0.011273 | 0.018852 | -0.014126
7 | -1.8396 | -0.12577 | -0.024116 | -0.00033362 | 0.033289 | -0.07461 | -0.038148 | -0.033445 | -0.03047 | 0.02639 | -0.05224 | -0.032891 | -0.030362 | -0.00024171 | 0.010982 | -0.13433 | 0.043496 | 0.02305 | 0.079734 | 0.12689 | -0.075126
8 | -0.075546 | 0.036054 | 0.0033342 | -0.030261 | 0.0032445 | 0.0096376 | 0.027256 | 0.0091766 | 0.00029316 | -0.029706 | -0.011669 | -0.011047 | 0.0035547 | -0.020356 | -0.015482 | -0.019956 | -0.026332 | -0.023179 | -0.054483 | -0.10124 | -0.014079
9 | 0.10703 | 0.012505 | 0.001114 | -0.0092576 | -0.018648 | 0.0085689 | -0.016941 | -0.024692 | -0.039697 | -0.027211 | -0.0095461 | 0.0012628 | -0.0017555 | 0.0042845 | -0.0052487 | 0.053008 | -0.011113 | -0.018698 | -0.03762 | -0.035609 | -0.0046545
10 | -0.00045908 | -0.0044391 | -2.3595e-07 | -4.495e-06 | -3.3646e-06 | 2.9014e-07 | -0.0018977 | -0.0018623 | 0.0020693 | 4.9002e-06 | 1.4428e-06 | 2.7711e-06 | 6.7235e-07 | -6.7303e-07 | -6.4883e-06 | 2.8112e-05 | 4.9661e-06 | -4.8308e-07 | -2.4414e-06 | 4.3779e-06 | 0
11 | -0.20436 | -0.0078546 | -0.00083123 | -0.0021681 | -0.0025025 | -0.013595 | -0.015141 | -0.0059625 | -0.0041517 | -0.0046217 | -0.0043906 | -0.0045557 | -0.0018552 | 0.00032678 | 0.0058531 | -0.01896 | -0.010637 | -0.010004 | -0.017232 | -0.00099866 | -0.012886 | ten times!
12 | -0.011209 | -0.063766 | -0.057169 | -0.030057 | -0.051053 | -0.026173 | 0.01587 | -0.025873 | -0.002598 | 0.0093847 | -0.039475 | -0.024781 | -0.014257 | -0.051279 | -0.033354 | 0.019764 | -0.028459 | -0.043829 | -0.02257 | -0.028272 | -0.027772 | ten times!
13 | 0.017503 | -0.024995 | -0.002733 | 0.0057901 | -0.0096242 | 0.021367 | 0.0027273 | 0.00034898 | -0.033368 | -0.013757 | -0.0010324 | 0.01647 | 0.016709 | 0.0072276 | -0.0027566 | 0.012178 | -0.020018 | -0.023339 | -0.050081 | -0.043005 | -0.006217 | ten times!
14 | 0.039934 | -0.10094 | -0.1127 | -0.1104 | -0.09638 | -0.11076 | -0.095266 | -0.099275 | -0.10447 | -0.11609 | -0.11524 | -0.11071 | -0.10982 | -0.11825 | -0.12841 | -0.11951 | -0.10855 | -0.1097 | -0.12022 | -0.041506 | -0.10041 | ten times!
15 | -0.086532 | -0.011639 | -0.022201 | -0.011845 | -0.028922 | -0.013012 | 0.0021759 | -0.045493 | -0.035917 | -0.038723 | -0.01001 | -0.0042192 | -0.0021946 | -0.0096584 | -0.032573 | -0.0041164 | -0.0046063 | -0.012397 | -0.0022823 | 0.0045369 | -0.017619 | ten times!
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
Measured harmonics along the axis with local feed down - Aperture 2 - Normal
| position 1 | position 2 | position 3 | position 4 | position 5 | position 6 | position 7 | position 8 | position 9 | position 10 | position 11 | position 12 | position 13 | position 14 | position 15 | position 16 | position 17 | position 18 | position 19 | position 20 | integral
1
2 | -1.0563 | -1.121 | -0.68794 | -1.2777 | -0.10665 | -1.1218 | -0.77904 | -0.77754 | -1.0106 | -1.1936 | -1.1996 | -1.0904 | -1.5027 | -0.96406 | -0.45077 | -0.066056 | -0.68655 | -0.91654 | -0.4858 | 0.42241 | -0.84032
3 | 39.4909 | 3.79 | 1.9762 | 2.4404 | 2.9566 | 2.3551 | 2.6996 | 2.7693 | 3.0201 | 3.4231 | 3.5779 | 3.3128 | 2.8684 | 2.536 | 0.42906 | 0.019731 | 2.2141 | 3.3619 | 3.6412 | -2.408 | 3.6794
4 | -0.036984 | -0.25678 | -0.074032 | -0.1887 | -0.19995 | -0.12039 | -0.085543 | -0.0362 | -0.016079 | -0.071084 | -0.0010536 | -0.1439 | -0.33026 | -0.13524 | -0.25763 | 0.064608 | 0.0085969 | -0.15561 | 0.09216 | 0.40819 | -0.088556
5 | -1.7017 | 1.5498 | 1.1673 | 1.3114 | 1.6169 | 1.8168 | 1.9291 | 1.969 | 1.9082 | 2.008 | 1.9979 | 1.9442 | 1.7883 | 1.9736 | 2.1142 | 1.6284 | 1.3373 | 1.5153 | 1.5355 | -2.6377 | 1.4641
6 | -0.050484 | -0.035511 | -0.027507 | -0.031503 | 0.012183 | 0.044518 | -0.047882 | -0.0991 | -0.06284 | 0.027817 | 0.052057 | 0.032583 | 0.16005 | 0.054329 | 0.028253 | -0.060749 | -0.10058 | -0.043066 | -0.079436 | -0.26993 | -0.019695
7 | 2.5361 | 0.69206 | 0.77366 | 0.81526 | 0.80886 | 0.69507 | 0.7386 | 0.71188 | 0.72821 | 0.7392 | 0.75078 | 0.7552 | 0.83188 | 0.86467 | 0.66304 | 0.68028 | 0.76701 | 0.7517 | 0.74604 | 0.59443 | 0.80449
8 | -0.010178 | 0.0084467 | -0.0089214 | 0.00026902 | -0.0059853 | -0.022131 | 0.015799 | 0.0021844 | -0.015526 | -0.012602 | -0.033242 | -0.0022197 | -0.02444 | -0.028415 | -0.024101 | -0.026044 | 0.026341 | 0.0038382 | -0.014389 | 0.021304 | -0.0079821
9 | 0.36184 | 0.38094 | 0.34983 | 0.37726 | 0.37646 | 0.37872 | 0.39036 | 0.38784 | 0.38311 | 0.38695 | 0.38122 | 0.37903 | 0.38858 | 0.3484 | 0.3086 | 0.28029 | 0.36429 | 0.39135 | 0.37175 | 0.30972 | 0.3661
10 | 9.2687e-05 | -0.00018545 | -6.0713e-07 | 2.9649e-06 | -1.5082e-05 | 1.433e-05 | 3.9232e-07 | -1.6627e-05 | -6.23e-05 | -2.1944e-05 | -4.4455e-05 | -1.3167e-05 | 3.3826e-06 | 2.1044e-05 | -1.3184e-05 | 2.2138e-06 | -1.2841e-05 | 2.5768e-05 | 2.4042e-05 | 1.6426e-05 | 0
11 | 0.6383 | 0.75327 | 0.73648 | 0.73472 | 0.7451 | 0.74242 | 0.74387 | 0.74779 | 0.75072 | 0.74537 | 0.74261 | 0.74505 | 0.73998 | 0.74416 | 0.74107 | 0.73043 | 0.73465 | 0.74112 | 0.74392 | 0.64975 | 0.73579
12 | 0.091006 | -0.044644 | -0.015745 | -0.051967 | -0.037842 | -0.020905 | 0.011007 | -0.023807 | 0.022113 | -0.029373 | -0.0075919 | 0.0082294 | 0.015253 | 0.010995 | 0.030671 | 0.0064045 | -0.066055 | -0.028685 | -0.033694 | 0.013955 | -0.011832 | ten times!
13 | 0.89368 | 0.92196 | 0.91294 | 0.91776 | 0.9159 | 0.87137 | 0.86343 | 0.8634 | 0.88098 | 0.86995 | 0.86481 | 0.86912 | 0.89035 | 0.92362 | 0.8836 | 0.93579 | 0.89129 | 0.87237 | 0.89203 | 0.63374 | 0.88179 | ten times!
14 | 0.05494 | -0.034185 | -0.044248 | -0.044027 | -0.038807 | -0.045684 | -0.060115 | -0.047503 | -0.053935 | -0.05164 | -0.052561 | -0.064355 | -0.036297 | -0.056631 | -0.048532 | -0.045045 | -0.041318 | -0.034042 | -0.051015 | -0.020683 | -0.041578 | ten times!
15 | -0.082872 | 0.33476 | 0.31195 | 0.31883 | 0.32462 | 0.36427 | 0.3448 | 0.30075 | 0.28872 | 0.34929 | 0.34721 | 0.33228 | 0.30083 | 0.29168 | 0.36556 | 0.37434 | 0.30509 | 0.31404 | 0.33982 | 0.1581 | 0.30884 | ten times!
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
Measured harmonics along the axis with local feed down - Aperture 2 - Skew
| position 1 | position 2 | position 3 | position 4 | position 5 | position 6 | position 7 | position 8 | position 9 | position 10 | position 11 | position 12 | position 13 | position 14 | position 15 | position 16 | position 17 | position 18 | position 19 | position 20 | integral
1
2 | -0.79461 | -1.2956 | 0.71095 | 0.16673 | -0.21898 | -0.3962 | -0.47669 | 0.075605 | 1.0257 | 0.78764 | -0.29193 | -0.36974 | -0.043097 | -1.1311 | -1.3954 | -1.7551 | -0.71198 | -0.19165 | -0.46736 | -2.565 | -0.40186
3 | 2.1961 | 0.47221 | 0.088593 | 0.13503 | 0.45326 | 1.0129 | 0.42325 | -0.10222 | -0.77971 | -0.31162 | -0.42246 | -0.25399 | -0.089301 | 0.21073 | -0.038161 | 1.0202 | -0.20636 | 0.22771 | 0.098331 | -1.2913 | 0.12621
4 | 1.6678 | -0.71149 | -0.61748 | -0.70979 | -0.15236 | -0.64124 | -0.41624 | -0.57662 | -0.34902 | -0.51039 | -0.80467 | -0.33915 | -0.47791 | -0.27215 | -0.048547 | -0.15086 | -0.60318 | -0.6294 | -0.78764 | 0.28076 | -0.38411
5 | -2.8987 | 0.21222 | 0.040197 | 0.039496 | -0.047883 | 0.02183 | -0.075235 | -0.045489 | -0.22167 | -0.19629 | -0.26187 | -0.19671 | -0.30438 | -0.27234 | -0.18619 | -0.16395 | 0.13152 | -0.12276 | -0.11674 | 0.070604 | -0.18578
6 | 0.1216 | -0.094823 | -0.086196 | -0.064758 | -0.061352 | -0.074971 | -0.0018744 | -0.053304 | -0.0039869 | 0.01031 | -0.036434 | -0.045614 | -0.13982 | -0.065773 | -0.082631 | 0.045572 | 0.0093312 | -0.035897 | -0.10692 | -0.026346 | -0.03623
7 | -2.0386 | -0.11613 | -0.00054043 | 0.034143 | 0.10925 | -0.033967 | 0.0049271 | 0.064697 | -0.007794 | 0.014502 | 0.018734 | 0.0036334 | -0.033477 | -0.059186 | 0.091877 | -0.1028 | -0.044256 | 0.049077 | 0.10103 | 0.12694 | -0.058791
8 | 0.14633 | 0.038861 | 0.0011458 | -0.0084997 | -0.01613 | 0.0032525 | 0.015477 | -0.015581 | 0.0067431 | 0.005994 | 0.0092604 | -0.0035667 | -0.023226 | -0.05133 | -0.011269 | -0.069138 | -0.019305 | -0.014783 | 0.017165 | -0.027844 | -0.0035102
9 | 0.10157 | 0.029693 | -0.01177 | -0.0090676 | -0.03896 | 0.0093885 | 0.0078062 | -0.00045045 | -0.010561 | -0.008969 | -0.030605 | -0.0049857 | 0.0028929 | 0.024803 | 0.017974 | 0.091528 | -0.010273 | -0.0046428 | -0.0095714 | -0.0060872 | 0.0037942
10 | 1.9899e-05 | -3.6469e-05 | 7.8704e-07 | 1.1341e-06 | 1.0166e-05 | -1.5582e-06 | 1.0112e-07 | -6.6588e-06 | 1.5725e-05 | -0.0024367 | -0.0040115 | -1.2544e-05 | -3.6536e-06 | 0.0029234 | 4.5001e-05 | 9.2972e-07 | -1.1531e-06 | 0.002569 | 2.9396e-05 | 0.00012858 | 0
11 | -0.2359 | -0.023135 | -0.0039774 | -0.0013016 | 0.0013846 | -0.011952 | -0.013033 | -0.011718 | -0.0018056 | -0.00701 | -0.007528 | -0.0020844 | -0.0014618 | -0.00085307 | 0.0086961 | -0.039511 | -0.012024 | -0.0070253 | -0.0019024 | -0.0052036 | -0.015154
12 | -0.18569 | -0.077534 | 0.0023884 | 0.0071529 | -0.020002 | -0.030639 | 0.016619 | -0.029162 | -0.003208 | -0.023 | -0.014453 | 0.0082855 | -0.066465 | -0.02795 | -0.060576 | 0.059337 | -0.010969 | 8.4974e-05 | -0.026862 | 0.024877 | -0.020863 | ten times!
13 | 0.0038194 | -0.011186 | 0.002637 | -0.00060592 | -0.018104 | 0.0052282 | 0.0020558 | 0.00096621 | -0.046628 | -0.061293 | -0.031379 | -0.01772 | -0.0091779 | -0.007002 | -0.027234 | 0.010029 | -0.015398 | -0.031367 | -0.019726 | -0.013011 | -0.015082 | ten times!
14 | 0.12755 | -0.08604 | -0.087072 | -0.083852 | -0.09672 | -0.10329 | -0.098302 | -0.09264 | -0.084718 | -0.11051 | -0.11001 | -0.097164 | -0.12312 | -0.13404 | -0.13203 | -0.12647 | -0.10524 | -0.1042 | -0.097692 | -0.01604 | -0.093479 | ten times!
15 | -0.14938 | -0.046279 | -0.026774 | -0.030204 | -0.068284 | -0.037036 | -0.039712 | -0.027252 | -0.076912 | -0.072765 | -0.040644 | -0.024907 | -0.048004 | -0.083105 | -0.08702 | -0.038469 | -0.046197 | -0.054526 | -0.018788 | 0.017024 | -0.049275 | ten times!
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ten times!
Relative main field module along the axis
| position 1 | position 2 | position 3 | position 4 | position 5 | position 6 | position 7 | position 8 | position 9 | position 10 | position 11 | position 12 | position 13 | position 14 | position 15 | position 16 | position 17 | position 18 | position 19 | position 20 | integral
|  | 0.0011739 | 0.0001865 | -1.0971e-05 | -0.00020844 | -0.00020844 | -0.00020844 | -0.00020844 | -0.00040591 | -0.00060338 | -0.00020844 | -0.00020844 | 0.0001865 | -0.00020844 | -1.0971e-05 | -1.0971e-05 | -1.0971e-05 | -1.0971e-05 | 0.00097638 |  | 0.0050641
|  | 0.00096502 | 0.00017546 | -2.1932e-05 | -0.00021932 | -0.00021932 | -0.00021932 | -0.00021932 | -0.00021932 | -0.00041671 | -0.00021932 | -0.00021932 | -0.00021932 | -0.00021932 | -2.1932e-05 | 0.00017546 | 0.00017546 | -2.1932e-05 | 0.00096502 |  | 0.0050661