Description of the problem: During the visit of G. Peiro at the Alstom premises on 05th -07th Feb 2004, severe problems with the levelling of the measurement system have been observed. We therefore checked the time which Alstom spend for a measurement of a collared coil since the beginning of April 04 (after the last maintenance has been carried out by D. Giloteaux), which is

# Text boxes

Request for Maintenance/Repair

Date: 07-May-04

For: DIMM System 1; used for warm magnetic measurements on collared coils

At: Alstom, Belfort

To: AT-MTM-FM, Juan Garcia Perez, David Giloteaux

From: Christine Vollinger, AT-MAS

CC: M. Cornelis, G. de Rijk, L. Rossi, W. Scandale, L. Walckiers, J. Vlogaert.