{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Start","F_T_FUNCTION","F_INT_HARM"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Start","index":0,"n_rows":11,"n_cols":2,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["Instructions"]
["Insert REFHARM worksheet to load into this Excel file"]
["Edit parameters below"]
["Use CTRL+l to load data"]
[]
[]
["Parameters"]
["Table to load","F_T_FUNCTION"]
["Oracle userid","magmeasadm"]
["Oracle password"]
["Oracle server","accdb"]

{"sheet":"F_T_FUNCTION","index":1,"n_rows":73,"n_cols":15,"rows_kept":73,"cut":false,"hidden":false,"merged":[]}
["ID","MAGNET_NAME","MAGNET_TYPE","APERTURE_NUMBER","MEASURE_DATE","SET_CURRENT","RAMP_DIRECTION","FIELD_LENGTH","TEMPERATURE","REFERENCE_RADIUS","TRANSFER_FUNCTION","LOGIN_NAME","LOGIN_DATE","NOTES","MAGNET_STATE"]
["F_T_FUNCTION_SEQ.nextval","HCMBB_A001-CR004001",1,1,null,100,1,9.4186999999999994,1.9,1.7000000000000001E-2,6.7701000000000002E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions. Calibrated with SSW at 11850 A","cryomagnet"]
[null,null,null,null,null,400,1]
[null,null,null,null,null,550,1]
[null,null,null,null,null,600,1]
[null,null,null,null,null,760,1]
[null,null,null,null,null,1000,1]
[null,null,null,null,null,1500,1]
[null,null,null,null,null,2000,1]
[null,null,null,null,null,2500,1]
[null,null,null,null,null,3000,1]
[null,null,null,null,null,4000,1]
[null,null,null,null,null,5000,1]
[null,null,null,null,null,6000,1]
[null,null,null,null,null,7000,1]
[null,null,null,null,null,8000,1]
[null,null,null,null,null,9000,1]
[null,null,null,null,null,10000,1]
[null,null,null,null,null,11000,1]
[null,null,null,null,null,11850,1]
[null,null,null,null,null,11000,-1]
[null,null,null,null,null,10000,-1]
[null,null,null,null,null,9000,-1]
[null,null,null,null,null,8000,-1]
[null,null,null,null,null,7000,-1]
[null,null,null,null,null,6000,-1]
[null,null,null,null,null,5000,-1]
[null,null,null,null,null,4000,-1]
[null,null,null,null,null,3000,-1]
[null,null,null,null,null,2500,-1]
[null,null,null,null,null,2000,-1]
[null,null,null,null,null,1500,-1]
[null,null,null,null,null,1000,-1]
[null,null,null,null,null,760,-1]
[null,null,null,null,null,600,-1]
[null,null,null,null,null,550,-1]
[null,null,null,null,null,400,-1]
[null,null,null,null,null,100,1]
[null,null,null,null,null,400,1]
[null,null,null,null,null,550,1]
[null,null,null,null,null,600,1]
[null,null,null,null,null,760,1]
[null,null,null,null,null,1000,1]
[null,null,null,null,null,1500,1]
[null,null,null,null,null,2000,1]
[null,null,null,null,null,2500,1]
[null,null,null,null,null,3000,1]
[null,null,null,null,null,4000,1]
[null,null,null,null,null,5000,1]
[null,null,null,null,null,6000,1]
[null,null,null,null,null,7000,1]
[null,null,null,null,null,8000,1]
[null,null,null,null,null,9000,1]
[null,null,null,null,null,10000,1]
[null,null,null,null,null,11000,1]
[null,null,null,null,null,11850,1]
[null,null,null,null,null,11000,-1]
[null,null,null,null,null,10000,-1]
[null,null,null,null,null,9000,-1]
[null,null,null,null,null,8000,-1]
[null,null,null,null,null,7000,-1]
[null,null,null,null,null,6000,-1]
[null,null,null,null,null,5000,-1]
[null,null,null,null,null,4000,-1]
[null,null,null,null,null,3000,-1]
[null,null,null,null,null,2500,-1]
[null,null,null,null,null,2000,-1]
[null,null,null,null,null,1500,-1]
[null,null,null,null,null,1000,-1]
[null,null,null,null,null,760,-1]
[null,null,null,null,null,600,-1]
[null,null,null,null,null,550,-1]
[null,null,null,null,null,400,-1]

{"sheet":"F_INT_HARM","index":2,"n_rows":73,"n_cols":48,"rows_kept":73,"cut":false,"hidden":false,"merged":[]}
["ID","MAGNET_NAME","MAGNET_TYPE","MAGNET_STATE","APERTURE_NUMBER","MEASURE_DATE","INTEGRAL_TYPE","SET_CURRENT","RAMP_DIRECTION","RAMP_RATE","TEMPERATURE","REFERENCE_RADIUS","NORMALIZATION_ORDER","MAGNET_X_CENTER","MAGNET_Y_CENTER","NORMAL_1","SKEW_1","NORMAL_2","SKEW_2","NORMAL_3","SKEW_3","NORMAL_4","SKEW_4","NORMAL_5","SKEW_5","NORMAL_6","SKEW_6","NORMAL_7","SKEW_7","NORMAL_8","SKEW_8","NORMAL_9","SKEW_9","NORMAL_10","SKEW_10","NORMAL_11","SKEW_11","NORMAL_12","SKEW_12","NORMAL_13","SKEW_13","NORMAL_14","SKEW_14","NORMAL_15","SKEW_15","LOGIN_NAME","LOGIN_DATE","NOTES"]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",100,1,0,1.9,1.7000000000000001E-2,1,1.1956174959990855E-3,1.3503673467164297E-4,0,0,-19.063938856309228,-5.9993656599017156,151.96989271758804,-0.63135885909974088,6.3998137151411436,6.1576389217660008,-23.603523835880857,0.78017630750579103,-5.434539115659982,-2.0958840731381523,11.588002558524394,-0.63842036022598092,3.2317527951449567,-1.5965936381630192,-5.9253782154906416,0.29513645807990702,1.4999361487199401,-0.55439341321781621,-2.5956912198426845,0.49126816667761986,3.360305505278407,1.6933174206449447E-2,-0.53519488482334598,6.7421846012537159E-2,-0.28569407364254917,-0.15958699091881562,0.13891427068925219,-2.18564608895838E-2,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",400,1,0,1.9,1.7000000000000001E-2,1,5.1129897768197075E-5,8.3170690118292113E-4,0,0,1.1986856327596396,2.4689005732853833,-14.963195138559444,-0.63445509328363281,-0.10967450353568443,0.6025006594972081,3.2038811648039882,3.4404084875077193E-2,-8.2186545062244765E-2,3.7936884805609493E-2,-0.28143466250547483,7.2515762069005507E-2,-1.9033970309391645E-2,-3.2667397277084259E-2,1.0218758766541669,1.4583809333383383E-2,-6.895087691047494E-2,2.3769751970823091E-2,0.89902489902837412,0.20204842860637151,0.42232682059650917,-0.21813394292242161,7.1558779310349541E-2,3.7567657432477294E-2,2.5689688235717618E-2,1.9081062100205753E-2,3.8369363637419163E-2,-1.1769984139344412E-2,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",550,1,0,1.9,1.7000000000000001E-2,1,4.374157003084856E-5,8.3196044446725952E-4,0,0,1.3739725912853524,2.1770674077540928,-7.5870515249373298,-0.58450237294320639,-2.8212245067980538E-2,0.49135389646916955,1.6156478269373962,3.8618880906836961E-2,-7.3697405992864964E-2,8.5869984653927176E-3,0.15214036817598295,8.0313084364386819E-2,-1.1595659169300582E-2,-2.0661341575399072E-2,0.78049478666214223,1.2139979552346681E-2,-3.1574681355433822E-2,1.442363317575484E-3,0.8188154370306403,8.9687072282473593E-2,0.23699034090351007,-2.9567253192112522E-2,6.1322156279522713E-2,1.7156557817464248E-2,1.0348407652427996E-2,2.7326550793369479E-2,3.4488266243395856E-2,-5.0243767898748709E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",600,1,0,1.9,1.7000000000000001E-2,1,4.2273003108440148E-5,8.3045251095631575E-4,0,0,1.4296132154241312,2.1240774761164518,-6.3287616578024757,-0.57159791026729689,-7.986730531097868E-3,0.47695646768410654,1.2920711709180568,4.2663829128185553E-2,-7.0919411583105163E-2,7.4125904301434748E-3,0.24281878228641232,8.1305753005466358E-2,-1.0592642130545803E-2,-1.8669030068750477E-2,0.73392225584840665,1.3148061811396281E-2,-2.4529089192345532E-2,3.5172114722304892E-3,0.82339285238998694,6.7677443231670881E-2,0.19272032330096009,-3.8862441770829634E-2,5.4589441651915753E-2,1.9497041843652054E-2,4.3173793249306281E-3,2.6445003498824182E-2,3.3649651617880666E-2,-4.2975814228970836E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",760,1,0,1.9,1.7000000000000001E-2,1,3.2479640316280492E-5,8.119752306019717E-4,0,0,1.5091441357743633,2.0772210034976228,-3.3905322796761403,-0.54499683743640648,2.8056523150161283E-2,0.45150658166963403,0.60248795500336616,4.9967943120270808E-2,-6.0542215542951125E-2,3.9261953156439862E-3,0.44050232735518552,8.2032216390081528E-2,-9.9994131112358612E-3,-1.0448984426194486E-2,0.61753881423074919,1.5832614416541133E-2,3.3019289277279285E-4,3.1984558185922151E-3,0.81350670099201194,-1.0978262511525215E-2,2.8121983838456342E-2,-3.8547997581609469E-2,5.837824265282214E-2,2.4244662075846038E-2,-4.5987809560560236E-3,2.0687472971874239E-2,3.327361097658027E-2,-6.1237328803908034E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",1000,1,0,1.9,1.7000000000000001E-2,1,1.4405129661044471E-5,7.9786599105733345E-4,0,0,1.5515747790393422,2.0448951293108859,-1.0182521069627639,-0.52435968209763617,4.2462479240478843E-2,0.43830966129801907,0.20035803674709018,5.0562221322585345E-2,-5.072146007314797E-2,2.5980661135362577E-3,0.58150573818478501,8.4478663504733362E-2,-7.6071989758269305E-3,-4.0396791890699134E-3,0.52750554753884482,1.2482518194643986E-2,5.5974251036761749E-3,3.8248619194048467E-3,0.79137175314141806,-3.6124794151000797E-2,-3.241930460439426E-2,-2.4764664912934987E-2,7.3723288214439173E-2,7.7153179486518482E-3,3.6611134842195353E-4,1.5954620860082768E-2,3.7569650946795694E-2,-2.1441715233494461E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",1500,1,0,1.9,1.7000000000000001E-2,1,4.2819457661396451E-6,7.9051845043432616E-4,0,0,1.5747175322201103,2.0173827796552102,1.3113763284675548,-0.50259419553190487,5.1017889683596898E-2,0.42828500138876657,-7.1747941170791543E-2,5.2800210399037484E-2,-5.007796489915519E-2,4.3649817801253623E-3,0.70909251776992099,8.4647136413396329E-2,1.0002259021885662E-4,-1.5869776717086365E-3,0.46225658021732152,1.2124727734319784E-2,5.9508432471650436E-3,8.2634969614047808E-3,0.79226782155078301,-3.7482187823593388E-2,-2.950784073633074E-2,-5.8965318059173516E-2,6.8127919606616349E-2,3.1847852021664081E-3,-9.7222603144659931E-4,1.4267691646026506E-2,3.979222673101785E-2,4.0552908060017954E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",2000,1,0,1.9,1.7000000000000001E-2,1,2.441416161787123E-5,7.9425593747926772E-4,0,0,1.5501463820107653,1.9902239263998376,2.3548542993895882,-0.4891542467276746,6.1250195018781893E-2,0.43171036271484547,-0.16734596059796356,5.4719466971565746E-2,-5.5089619977599931E-2,9.6747968975728648E-4,0.75199202274176591,8.1458188494340458E-2,-6.2091045491343907E-3,-3.0780019985467582E-3,0.43621614175271017,1.8225718048222071E-2,8.3253161076288704E-3,7.289486670314628E-3,0.77733403254671585,-4.7354425185703229E-2,-4.5481266197852616E-2,-5.2341102287230608E-2,7.2297307802638294E-2,4.907130311131658E-4,-3.608045592586265E-3,1.6930141734132466E-2,4.3772076654420573E-2,1.2133960866618789E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",2500,1,0,1.9,1.7000000000000001E-2,1,1.9969583106378241E-5,7.975324560256028E-4,0,0,1.5402347135061623,1.9672276544932923,2.9308650562693472,-0.48231972275457313,6.4182093735825174E-2,0.43124270223499667,-0.2166335744608803,5.6184561844113946E-2,-5.5417762782666011E-2,1.4845807847511979E-3,0.77302605485661668,8.2524663737666704E-2,-3.7520534817007878E-3,-1.1009330964904755E-3,0.42013638322547553,1.475939492586674E-2,6.3533006594234881E-3,6.1168363692051878E-3,0.76136329089172006,-3.1939813235863562E-2,-1.9204412498972392E-2,-3.461785392490066E-2,7.553061979974722E-2,1.5253764374406194E-4,-2.5660955076653356E-3,1.8606958127168997E-2,4.4441682136290246E-2,2.0844021094397016E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",3000,1,0,1.9,1.7000000000000001E-2,1,2.3825487099772284E-5,7.9457033161895244E-4,0,0,1.5334425533986602,1.9451508533638124,3.2802258103980493,-0.47878824082015281,6.7076636222156233E-2,0.43335084183419986,-0.24413380484513492,5.8366049391965796E-2,-5.6293297744905484E-2,-2.062568668593313E-3,0.78553137059446043,8.2116691018077032E-2,-4.1557157588298452E-3,-8.333064753867982E-4,0.40960944331827015,1.4254512844160539E-2,6.8062455154251425E-3,7.3074944814892377E-3,0.76474630711362035,-3.3411548881257004E-2,-2.4824204743347435E-2,-4.2606907972065275E-2,7.7023140005735749E-2,4.7178725372682572E-4,-3.5146067992918931E-3,1.5110061031499368E-2,4.4529266656750749E-2,1.1782489992382544E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",4000,1,0,1.9,1.7000000000000001E-2,1,2.3103196123979564E-5,7.969110027596447E-4,0,0,1.5454760783921764,1.9173452298490388,3.6737730458459508,-0.47273194989382111,7.2022251609211926E-2,0.43535259006606319,-0.28058645596450277,5.9981755673235576E-2,-5.7672877182537337E-2,-3.4928444154420204E-3,0.80073786323349083,8.2964587628265724E-2,-1.4930226229717524E-3,-3.3305375091251649E-3,0.39949746082672627,1.3039687037408937E-2,6.6024274157857636E-3,6.4521607614132191E-3,0.75688160153661688,-3.3042367169547483E-2,-2.3693017400388053E-2,-3.9407630810800974E-2,7.0399384282080757E-2,-3.3722402109855613E-4,-1.9707288357486957E-3,1.4405269339937085E-2,4.4715647745604159E-2,9.3498645334419927E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",5000,1,0,1.9,1.7000000000000001E-2,1,2.4681588444908302E-5,7.9522850552473116E-4,0,0,1.5321034273210388,1.9007385041485967,3.8755948814252799,-0.46937695071871072,7.6990921849370259E-2,0.43609491735666572,-0.30447209621326476,6.0490627110301246E-2,-5.9048431956884709E-2,-4.2956869015544977E-3,0.80787637986057292,8.3905577147320914E-2,-2.4518905095939272E-4,-3.6782313443250144E-3,0.39224537264554737,1.1667313136527808E-2,6.2880274339010417E-3,6.4188633456905035E-3,0.75597672387875103,-3.096333201063103E-2,-2.6472290425527203E-2,-4.1036737979248547E-2,6.5468821313585904E-2,3.4234036947747362E-3,-1.078536119901123E-3,1.5285157897282554E-2,4.4416532882179866E-2,1.1780890536748445E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",6000,1,0,1.9,1.7000000000000001E-2,1,2.7694570921292551E-5,7.9011968587167417E-4,0,0,1.4163415932230554,1.8872927993065824,3.9925860750024471,-0.46687219845997791,8.3146699058081253E-2,0.43812933824490663,-0.32339613040450166,6.059101096927326E-2,-5.9745182381139579E-2,-5.8696310176526928E-3,0.81089458781042423,8.4476218651564447E-2,-1.5559909819990114E-4,-2.7602901748357087E-3,0.38504255948411026,1.143737987572882E-2,6.3725153761332396E-3,6.5673767895337055E-3,0.75771637960825822,-3.0918261716170663E-2,-2.945998415882458E-2,-4.2831087685231854E-2,6.5497198023517611E-2,3.9943889617488062E-3,-9.0769875831941049E-4,1.4548324522109525E-2,4.3932309291142377E-2,-3.0733153790028463E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",7000,1,0,1.9,1.7000000000000001E-2,1,2.9620092511602506E-5,7.8553191707562227E-4,0,0,1.1322447405101255,1.8760791672011878,4.0652129268476607,-0.46437485379363042,9.2404833179208487E-2,0.44115931032273137,-0.34011435165161974,6.0428185011143006E-2,-5.9898901657212546E-2,-7.7769670940633639E-3,0.81108258256912391,8.4944888266137636E-2,3.2802521111872641E-4,-1.9598356127605147E-3,0.37788753725989199,1.1214023181485304E-2,5.3327710082549948E-3,6.1943004637192893E-3,0.75729451279210858,-2.7916657724212725E-2,-2.289386923200672E-2,-4.1814432661051379E-2,6.8242679561145714E-2,2.3700863869342559E-3,-6.8777394409656875E-4,1.3317492094433675E-2,4.3580010401967448E-2,-1.5644679556198131E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",8000,1,0,1.9,1.7000000000000001E-2,1,2.7113628879096831E-5,7.8428945598988894E-4,0,0,0.67687703624629647,1.8675816333683442,4.1236530001866587,-0.46195546697455031,0.10712851879055209,0.44344957105451754,-0.35626731458495831,6.0211035928829579E-2,-5.9190268763243278E-2,-8.416829755352918E-3,0.81008724748686434,8.5450231866038187E-2,1.8477745697559275E-3,-1.7370919102919163E-3,0.3711131125865495,1.0309025800315726E-2,4.0048833935984835E-3,5.7767808168180876E-3,0.75552739176070716,-2.2366205352685305E-2,-1.2162589895571362E-2,-4.1664015383265612E-2,6.8833494087939678E-2,3.5488308499377805E-3,6.1041273059060154E-4,1.3253371006420976E-2,4.3743286976428424E-2,-4.4011177172817673E-5,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",9000,1,0,1.9,1.7000000000000001E-2,1,2.5799741710696217E-5,7.8502242871091987E-4,0,0,5.7095131716560034E-2,1.8585527421607431,4.1911591127790535,-0.46001779143704963,0.13588049943218924,0.4453283563092485,-0.37294855048127656,6.0196793124451232E-2,-5.8404843980107361E-2,-8.6325704664456417E-3,0.80915493576248898,8.5958112021897848E-2,2.9768240760276758E-3,-2.0563158186047495E-3,0.36415409499438595,9.5899484117618079E-3,3.5175184699859519E-3,5.654243773898073E-3,0.75418857729831545,-1.9523354709620938E-2,-7.4064342287054304E-3,-4.1410781979415105E-2,6.7505393957985493E-2,4.5257908939650253E-3,1.273153616273986E-3,1.3370553078870666E-2,4.459537019328199E-2,-3.8975961681027565E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",10000,1,0,1.9,1.7000000000000001E-2,1,2.7568134585931512E-5,7.8558016174410956E-4,0,0,-0.40240397210241419,1.8481733242883989,4.2870383042256233,-0.45825404397047842,0.17289563689670515,0.44648242777597869,-0.3935955699232635,5.995099847739057E-2,-5.7712738144998284E-2,-8.645622301463424E-3,0.8090114061663054,8.6358109996018478E-2,3.71831479873086E-3,-2.2450198607604824E-3,0.35692152341356082,9.4528047508454626E-3,2.9941900422415647E-3,4.6199581441862545E-3,0.74927680278215369,-1.8897484233245505E-2,-5.3551100763130225E-3,-3.3592330481496624E-2,6.6425731700371721E-2,4.6948882185197365E-3,1.6284975640257812E-3,1.3610740991761123E-2,4.5368213598302808E-2,-2.9822750616201641E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",11000,1,0,1.9,1.7000000000000001E-2,1,2.9388279148009877E-5,7.8575079635035512E-4,0,0,-0.6095446858429775,1.8280671816389078,4.4643001902615111,-0.45350508569837444,0.21525424104379404,0.44572570236114989,-0.42306529147961247,5.9105162886688489E-2,-5.6583996228516155E-2,-8.0729278746800026E-3,0.81144141555085425,8.6719335630499425E-2,4.248947377535393E-3,-1.999192709902657E-3,0.34838119988351185,9.4214378615414401E-3,2.9495030235515969E-3,3.9236678426869554E-3,0.74715970897155604,-1.8397922293010835E-2,-4.2799547191335408E-3,-2.9441717718130075E-2,6.4666942394374524E-2,3.7257814763095518E-3,1.304320155416577E-3,1.4279044626243033E-2,4.6442222562058849E-2,-4.0898115973594403E-5,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",11850,1,0,1.9,1.7000000000000001E-2,1,3.0597527985347641E-5,7.8578381661998612E-4,0,0,-0.50327753195702418,1.7877500695975923,4.6711604342915543,-0.44876606091920807,0.2606912950162627,0.44258223662221774,-0.4581070418302402,5.7563887496439682E-2,-5.5421380212559934E-2,-6.3056687794202189E-3,0.81688842229064884,8.7107018081549456E-2,4.8668688439815564E-3,-1.4759458729738315E-3,0.33994556823757577,9.2949673161525879E-3,3.0363428688814325E-3,3.2866218256290521E-3,0.74619165106043683,-1.7785614200714749E-2,-2.8361347795748388E-3,-2.6023923778815468E-2,6.2672802783844475E-2,3.3332542834683372E-3,1.0772508945204571E-3,1.4371000575872352E-2,4.7412616539680506E-2,-1.4419523019663555E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",11000,-1,0,1.9,1.7000000000000001E-2,1,2.9857189118532658E-5,7.8632666709873211E-4,0,0,-0.65956193106364225,1.826542560139168,4.71253695120771,-0.44838529158526003,0.21794043263985338,0.44187103581602205,-0.43864634942519465,5.8349474584507774E-2,-5.6415283210625097E-2,-7.2776811831548622E-3,0.82127749360956703,8.6037828625609158E-2,3.8014086003552673E-3,-1.5495758606677496E-3,0.34336670559233179,9.4162866127468596E-3,2.8764455018383457E-3,3.051494422253713E-3,0.74392853614107124,-1.7848286645660825E-2,-2.6338541324527867E-3,-2.4448237251347663E-2,6.3928123723625732E-2,3.5274932246414361E-3,1.3384399272131186E-3,1.4240638589385271E-2,4.6998320613546682E-2,-5.7525127288579229E-5,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",10000,-1,0,1.9,1.7000000000000001E-2,1,2.7907723672386646E-5,7.8648560368811779E-4,0,0,-0.46997655202174698,1.8466250927290253,4.5943887334680058,-0.45339431804579816,0.17624686378870311,0.44331730423517685,-0.41818086568832358,5.9222479755823808E-2,-5.6997653674521503E-2,-8.5732051414763796E-3,0.82059182104828476,8.5139865075135004E-2,3.152243251939055E-3,-1.7478983725432366E-3,0.34998231787836936,9.4734215147988694E-3,2.5967812408271107E-3,3.0798629417197821E-3,0.74358560793387607,-1.6294845765600703E-2,9.6980017389130201E-4,-2.483464770235717E-2,6.5270554680993409E-2,3.6777647610641015E-3,1.3578931195237299E-3,1.4012695906092779E-2,4.6043061940302291E-2,-8.3917479117230471E-5,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",9000,-1,0,1.9,1.7000000000000001E-2,1,2.6751138047589668E-5,7.8694043288686153E-4,0,0,-1.2145627053211101E-2,1.8547793255547809,4.5604331322551497,-0.45938441750113163,0.13827383694009238,0.44501438449239644,-0.40466569284690307,5.972886370687483E-2,-5.7969658944850441E-2,-9.7553651451412413E-3,0.82289052677421293,8.4843002566283424E-2,2.5644322940817231E-3,-1.7206837132164182E-3,0.35540383693247557,9.4098054837079542E-3,3.9264304470742143E-3,3.5149121818249911E-3,0.74615747360838058,-2.0511484797766058E-2,-8.7091454216344857E-3,-2.7668754956360338E-2,6.6700207601062725E-2,3.8695947170526231E-3,1.0349541314995396E-3,1.3171125619105021E-2,4.5456337463109876E-2,-2.2288151080825238E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",8000,-1,0,1.9,1.7000000000000001E-2,1,2.6637839732013884E-5,7.8667104097263833E-4,0,0,0.61751383455482367,1.8614774824127505,4.5660209903600624,-0.46310442198450769,0.10842542706151446,0.44534542197465621,-0.39550729772195115,5.9522209915079033E-2,-5.8545477875945169E-2,-1.0225653137741417E-2,0.82680584706599969,8.4319801429763475E-2,1.5136917398034405E-3,-1.2943554274350711E-3,0.36029964015661464,9.8165670604105845E-3,4.4875978362147175E-3,3.5053575860900569E-3,0.74687041664737552,-2.1651380825460687E-2,-8.174112004134336E-3,-2.6792632384411302E-2,6.8483327775776107E-2,2.3265154422287544E-3,5.9512539174863966E-4,1.290427522005193E-2,4.4495825353682142E-2,-2.4220542001353624E-5,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",7000,-1,0,1.9,1.7000000000000001E-2,1,2.8398401775747246E-5,7.8579404318515991E-4,0,0,1.0673029814657331,1.8661712486377862,4.6074188230806614,-0.46646675361710721,9.2737234936594942E-2,0.44493374870733454,-0.3890196019773281,5.9058876864815021E-2,-5.9378167573008268E-2,-1.0818855461875432E-2,0.83232802701110198,8.3997739558872173E-2,4.1116067430773485E-4,-8.7227956633745046E-4,0.36370566924888759,1.0299380791275804E-2,4.7685185033286811E-3,4.3198128696068918E-3,0.75129059329557502,-2.3308972355635414E-2,-1.1642193460904405E-2,-3.208825388640979E-2,6.8855755650427369E-2,1.9154042217992822E-3,2.0334894751315339E-4,1.2860578046078212E-2,4.3953074758416609E-2,1.2584816217774388E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",6000,-1,0,1.9,1.7000000000000001E-2,1,2.978375235912344E-5,7.8816510299439672E-4,0,0,1.3370896817281313,1.8732574040788521,4.6795361364350407,-0.46914534073233144,8.2773478641721049E-2,0.44308094551899019,-0.3858227314739579,5.8147516657190326E-2,-6.0140545772634328E-2,-9.9654571327604507E-3,0.83911151140384255,8.3489158008998879E-2,-6.6547034017985437E-4,-8.9188831807624782E-4,0.36621645542669706,1.0475215111969905E-2,5.9964400729229719E-3,4.6381174431645916E-3,0.75180723887166367,-2.828360257452036E-2,-2.3279320680246105E-2,-3.1684933828325074E-2,6.8870354921668514E-2,1.0560303963490865E-3,-6.9654527546069193E-4,1.2686998312656073E-2,4.4047121455555803E-2,2.294246134405381E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",5000,-1,0,1.9,1.7000000000000001E-2,1,2.8294643568470797E-5,7.8987564462036446E-4,0,0,1.4357187350767027,1.8814515598245656,4.788487354818793,-0.47113189864699434,7.5645943656958745E-2,0.44094257354764216,-0.38766937114984323,5.7236765089309742E-2,-5.9944995635299453E-2,-9.0770464415290981E-3,0.84739595599184647,8.2692916947784328E-2,-1.3860068825781349E-3,-3.5267098375051852E-4,0.3672938544965656,1.0563823410352537E-2,7.7566856931645979E-3,3.9431588535777428E-3,0.74842034582373118,-3.55840131921622E-2,-3.6488911056691088E-2,-2.4661752019518684E-2,6.7415528596606614E-2,1.4967296570780793E-3,-1.2658629456830223E-3,1.3690521618807407E-2,4.4551163936383795E-2,5.4798668311401434E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",4000,-1,0,1.9,1.7000000000000001E-2,1,2.7856892936528133E-5,7.9648977690891724E-4,0,0,1.4287563781136312,1.8938292554712184,4.9664967651878236,-0.47255120205044304,6.9156682981580384E-2,0.43870714711788344,-0.39917838279147738,5.5786608283124317E-2,-5.9849307963640623E-2,-7.0204410437539194E-3,0.85834636222545169,8.1221346878143252E-2,-2.1827775080226993E-3,-8.3768311305372565E-4,0.36583367925006033,1.1287941343292184E-2,9.2447674333507104E-3,3.1592115931420653E-3,0.74177739715159685,-4.2654600389502959E-2,-4.6623028266485775E-2,-1.3475223998631627E-2,6.9161399125454451E-2,-6.508879805055955E-4,-1.2240802733752291E-3,1.366503810271919E-2,4.5236520262086299E-2,1.2423426507378321E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",3000,-1,0,1.9,1.7000000000000001E-2,1,2.6760532438989455E-5,7.9929281258781339E-4,0,0,1.3896881058253974,1.9064146969395501,5.3088524713832088,-0.47384588430893942,6.2449168588138725E-2,0.43761846744051758,-0.43235712307962781,5.3594046736440998E-2,-5.823894368940255E-2,-5.9720401769416702E-3,0.87712751761027241,7.8041439084601802E-2,-3.3574343077843686E-3,6.7583891313681801E-4,0.35712903616800534,1.2621406176402523E-2,7.2127496726199702E-3,2.232583535598276E-3,0.73544208322363325,-3.440299413077539E-2,-2.3199944513584314E-2,-1.1664073869473435E-3,7.0762889563115522E-2,-5.2110343984309504E-3,-2.2395106716118231E-3,1.1961086531552378E-2,4.5441889380379977E-2,2.1750621704882348E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",2500,-1,0,1.9,1.7000000000000001E-2,1,2.8476258316647837E-5,7.9798151580654962E-4,0,0,1.3616909664658534,1.9102559353680693,5.625378641672337,-0.47599901368947545,5.9442647976452462E-2,0.43783719795179521,-0.46889452888898442,5.155633564726686E-2,-5.7659859251896609E-2,-6.6400904600613601E-3,0.89394227338136467,7.5433060585116368E-2,-5.3875196596337716E-3,3.087188043317392E-3,0.34637466783318688,1.3996721514474696E-2,5.5898605975580355E-3,2.216850679663446E-3,0.73638213050596313,-2.9644258132533491E-2,-1.7184206240289848E-2,-8.534039538891894E-4,7.6618507104018227E-2,-4.1915993102061185E-3,-2.9123035672522441E-3,1.0456057410002061E-2,4.5324395122711414E-2,3.3720696033875306E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",2000,-1,0,1.9,1.7000000000000001E-2,1,2.6258895245979076E-5,7.9605465996421569E-4,0,0,1.3280541793443112,1.9140231054168606,6.1463075953019368,-0.47956072188364091,5.4608874748978666E-2,0.43745118706051028,-0.53601391768267947,4.7947004408354858E-2,-5.6397075635359416E-2,-6.6532435204706393E-3,0.92304792617189979,7.2693276495172085E-2,-6.8090774322697827E-3,6.7988701355474468E-3,0.32637094398905875,1.5565003758026196E-2,4.2343565255753323E-3,1.2711080653199764E-3,0.73440703507405702,-2.0966609927286987E-2,-7.1948404908061302E-3,5.9177593470695952E-3,8.6147127919330935E-2,-3.6645345210269787E-4,-1.1789812429291583E-3,1.121740501946189E-2,4.6625674087445654E-2,4.8291591106792578E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",1500,-1,0,1.9,1.7000000000000001E-2,1,2.8074656022816737E-5,7.8573470589639164E-4,0,0,1.2701754864322661,1.9057127386847863,7.1460783237343053,-0.48513721459477011,4.8292934215659236E-2,0.44017816939548748,-0.67197040760638971,4.0700316265581384E-2,-5.7549461346941118E-2,-8.5528097821004762E-3,0.98361647093587568,6.8323504011551336E-2,-8.1842276176529154E-3,1.1685937740779348E-2,0.28734621947937428,1.8335942428658786E-2,2.9194237024937451E-4,-1.7345929288483616E-3,0.7271371431185093,1.0799304536043724E-3,2.0555945007668216E-2,2.7756492166235252E-2,0.1028602026102436,4.1210602288712251E-3,3.961682135056559E-3,1.2599652155605972E-2,5.0611251954631467E-2,4.6161390666475391E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",1000,-1,0,1.9,1.7000000000000001E-2,1,4.0390393282909648E-5,7.6352698328495969E-4,0,0,1.1457428773188301,1.8741666614120824,9.5922184083323057,-0.49456565294520533,3.5890084391728624E-2,0.45680582581131068,-1.022329136682923,2.3122618934673378E-2,-6.7587584717400201E-2,-1.0726995143725888E-2,1.1460037256627433,6.1029139217814027E-2,-8.0324442214959949E-3,1.6476277378421986E-2,0.19772057724033454,2.1165923484046084E-2,-1.4484461393613523E-2,-1.0272820271774888E-2,0.7083570134584023,6.4790092074866731E-2,0.13428136958169584,7.6882925639185348E-2,0.10276292730743654,5.2749493343726269E-3,4.8785342336670652E-3,9.3255215777848718E-3,5.3128019220810195E-2,5.2868995143601598E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",760,-1,0,1.9,1.7000000000000001E-2,1,4.8720568823127788E-5,7.4260596345110863E-4,0,0,1.0212287483527094,1.8335679536181799,12.37892878710022,-0.50131895066436594,2.3498987618414648E-2,0.48612996446451107,-1.4451560434873865,5.3023951890946858E-3,-7.83432159860286E-2,-1.1214684744517363E-2,1.3377709488187659,5.3849122989954916E-2,-8.9566122412223156E-3,1.8051952582697761E-2,9.2274621577282306E-2,2.2323747535378049E-2,-2.5013694192889541E-2,-1.5682434672625405E-2,0.69868660667185134,0.10804176478091548,0.21662629654866447,9.8614593118874133E-2,9.3023138974622652E-2,9.0544701717464524E-3,8.7136593903702798E-3,2.0928061217656904E-3,5.4775329208938163E-2,4.6564335222020609E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",600,-1,0,1.9,1.7000000000000001E-2,1,5.8319513272291187E-5,7.1984609753140863E-4,0,0,0.86328602931990472,1.7958624585148042,16.031929180173524,-0.50845605068103794,1.3195580383734062E-2,0.52848932795018744,-2.0005127651836156,-1.6014729943858965E-2,-8.9547638219098669E-2,-1.2840073052827982E-2,1.5892763405536263,4.6620296029482686E-2,-1.0766264943140622E-2,1.7493586518659891E-2,-4.8875409618468348E-2,2.187603748702216E-2,-3.1803463958291006E-2,-1.4408789210898387E-2,0.7073625480765271,0.14677127135534473,0.29561045112081996,8.7296536002929456E-2,8.4978446796678708E-2,1.3068944052361871E-2,1.4517000508680695E-2,-6.1599485450015033E-3,5.6002525939370697E-2,5.5348099782772994E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",550,-1,0,1.9,1.7000000000000001E-2,1,6.5197127115986132E-5,7.0491054350395213E-4,0,0,0.78703804738190242,1.7701948569427735,17.8298729975591,-0.50980453109044133,1.4025715259803504E-2,0.55748564997829708,-2.2740473585221586,-2.5042208014469335E-2,-9.5193575088204127E-2,-1.6442382344820903E-2,1.7100427586703775,4.3972430147221062E-2,-1.1495150421120225E-2,1.6527133679961288E-2,-0.11940185669957282,2.1090601452513295E-2,-3.1619839652515316E-2,-1.1953251080600294E-2,0.71871268907879227,0.15460009953824311,0.31847890539883389,7.5632554756192849E-2,8.910651237715822E-2,1.1259455745107031E-2,1.6031952733489854E-2,-9.6677426108775256E-3,5.6744113973583442E-2,7.1897404765169414E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",1,null,"full",400,-1,0,1.9,1.7000000000000001E-2,1,1.1287743584713965E-4,6.2592895169748003E-4,0,0,0.33450041804601172,1.4783670141400755,26.803457398029099,-0.50724078594597999,3.7547536968619927E-2,0.71486557347355717,-3.5583450876393719,-6.3008777873114388E-2,-0.13743791616745799,-6.8568068267386054E-2,2.3100162548723921,3.5312193401870001E-2,-1.1284864230061385E-2,-1.8836469020792797E-3,-0.47657066358463629,1.5422260478529168E-2,-3.1209267788263353E-2,-3.829803280378147E-3,0.771457512183085,0.19422375787329493,0.44914064676526805,-3.3573389218315784E-2,0.12640485195684745,1.2980304503817359E-2,3.4251625962255366E-2,-2.7556647271727353E-2,6.3364886504430742E-2,1.2585511057673622E-2,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",100,1,0,1.9,1.7000000000000001E-2,1,2.1329042578116265E-4,1.2863090186234088E-4,0,0,-3.8397068180715315,-4.3285803281553825,152.57037262612167,-0.33772478600408423,0.97830175914100104,3.5791567853268873,-23.785555878331099,-0.32941597626972913,-1.0489331729311986,-2.6920240980183001,11.083995679707531,0.2386718179063986,0.65048749504070413,-1.2569508571370325,-5.2373710823200961,0.23922276825375408,0.62233874776780607,-0.59232935016267318,-1.770653866945423,0.77699673073021414,8.9594365406963188E-3,0.31372991628937791,-0.30360291690720609,6.0025082089356866E-3,4.8183926491309176E-2,-0.18150553051561594,0.18204963275147865,2.5021125305254077E-2,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",400,1,0,1.9,1.7000000000000001E-2,1,-3.2187394283002178E-5,8.3249353297801406E-4,0,0,-1.004632124456234,-0.49646291343533366,-14.830565965033056,-0.63323140275627054,3.7078636291355428E-3,0.7292606092346946,3.9917911178276198,2.3869412196472071E-2,7.3823977649334668E-2,5.2421188697577156E-2,6.8152749810401619E-2,9.0700275371080413E-2,2.6538820000047239E-3,-2.7679041407382029E-2,1.0556977492219373,2.8449407238286199E-2,2.9194126948268402E-2,1.6896778423866533E-2,0.80493622968675738,-4.4206305440904918E-2,8.9745112421408632E-2,-0.1123958994350802,6.8822465498115354E-2,4.6628317947485336E-3,1.3321394330756355E-2,1.5842232794181524E-2,5.6076109309563388E-3,-1.5538601497359245E-2,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",550,1,0,1.9,1.7000000000000001E-2,1,-3.650926568620896E-5,8.3179247841492034E-4,0,0,-1.1775205615922109,-0.8999528632438436,-7.8039406391753179,-0.57049992412746087,1.2685280198483362E-2,0.49239114309399201,2.3188174534549755,2.6108916061342791E-2,6.1229743867901129E-2,5.0890183738209104E-2,0.5049858015362797,9.9032947832302709E-2,1.1945879480182827E-2,-2.9303883479169787E-2,0.81924631230038825,1.3118381787475365E-2,3.8991874148059532E-3,9.8578639195214084E-3,0.76689021436787752,1.0101398411771002E-2,3.1697392614721862E-2,8.825596747868111E-3,0.10250414241123924,1.6347894419004777E-2,1.2973816245525417E-2,1.4486581815437575E-2,2.4874962114081238E-2,-1.2397931062923914E-2,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",600,1,0,1.9,1.7000000000000001E-2,1,-4.3972384547017993E-5,8.3275127825925555E-4,0,0,-1.2185422105512702,-0.9516662158520679,-6.6008202445595057,-0.55613859722183778,1.6711335939025684E-2,0.44319533466975447,1.9821832077158039,2.5803703452179399E-2,5.9943144277010411E-2,5.0755659903743401E-2,0.58896364471702423,0.1024380713540962,1.4889370527209482E-2,-3.0910351586772307E-2,0.77788331882850459,9.3771973126209902E-3,1.1331520638471503E-3,5.1878606047395526E-3,0.74483417961101384,1.2155466990565376E-2,1.2149776207007971E-2,1.6490331069840033E-2,9.8296379668000991E-2,1.0450239174123641E-2,1.05749836420137E-2,1.2483418946348407E-2,2.8145044851780158E-2,-9.3216795758405795E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",760,1,0,1.9,1.7000000000000001E-2,1,-5.7132107638570794E-5,8.4329222099923783E-4,0,0,-1.2743566720165775,-0.90687378439922417,-3.7319977645611364,-0.52735562348150056,1.6954321806092524E-2,0.3649056242023288,1.2398601174487278,2.5957342141848031E-2,5.572358385046966E-2,5.5558234711894541E-2,0.76721226862229686,0.10473855035112763,1.4528718564555629E-2,-3.4383007293592414E-2,0.68058067482670748,1.0670067315504834E-2,-1.0176568881100168E-3,-1.6962772622926513E-3,0.69909759210846811,-6.3500558615967712E-4,-2.6156106543113809E-2,5.5992170049949053E-2,7.6098367796472541E-2,-4.8833511262347824E-3,1.0556123779247943E-2,1.287186502907528E-2,3.3056767826683625E-2,-4.7516099264770214E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",1000,1,0,1.9,1.7000000000000001E-2,1,-5.6062993500565283E-5,8.4588875722866133E-4,0,0,-1.2873883283344516,-0.76771986136457582,-1.4163810091808762,-0.51516721451525505,1.7134340092717006E-2,0.33986251025676356,0.79309384323008569,2.8491700032252744E-2,4.7512789159251639E-2,6.0745353780183683E-2,0.88926819949924829,0.10581141762452323,1.5081166406824373E-2,-3.3244729235775372E-2,0.5964245323851064,1.2860139962893631E-2,2.9007350782738889E-3,1.1810378393554624E-4,0.69007870807753335,-1.2945673353581197E-2,-3.2033792355323387E-2,4.1116079000466016E-2,7.1255308233771575E-2,-2.5950512988464703E-3,4.9316020878270184E-3,1.1726241655219398E-2,3.7538453464682514E-2,-3.5085519412915629E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",1500,1,0,1.9,1.7000000000000001E-2,1,-6.8349100686633882E-5,8.3950934545959789E-4,0,0,-1.2445684292170667,-0.62467271289792314,0.86416624519717711,-0.51069092768145785,2.4417005728197966E-2,0.32667631496447119,0.46859744778498552,3.3537935600778418E-2,4.4549843970522952E-2,6.8169082639168641E-2,0.9987692820418107,0.10719271641818084,2.6145806686598733E-2,-2.2852553626039798E-2,0.52069388646342096,1.3523595658080371E-2,2.574042273034156E-3,3.6744160582490529E-3,0.6871287766143771,2.6659987581686718E-4,1.2087581496381289E-2,1.622025509381032E-2,7.4889086464700466E-2,-1.684415380165684E-3,6.1083926014065069E-3,1.0772611902753835E-2,3.9420263063324724E-2,-2.0826028287970165E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",2000,1,0,1.9,1.7000000000000001E-2,1,-4.8005175938503612E-5,8.3222421229863549E-4,0,0,-1.2043037266348511,-0.57056350445421045,1.8899850727730303,-0.5094052066260194,2.9653932512704977E-2,0.31917805466008681,0.35018871515572569,3.2254185589196994E-2,3.7213734135394236E-2,6.5006622622027568E-2,1.038412933013326,0.10968085195807248,2.2596722775445346E-2,-1.8221809601344299E-2,0.48822004096875388,1.6090617271503439E-2,4.085595488348393E-3,3.6723535359932807E-3,0.69083509598671589,-6.8547869630377926E-3,-4.0990508553891321E-4,-1.6448420268615923E-2,8.11163599263163E-2,-6.9112494150354257E-3,7.1516757866267177E-4,5.3788142403476654E-3,3.9947701660999854E-2,-1.6770975325978181E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",2500,1,0,1.9,1.7000000000000001E-2,1,-5.1859548505328105E-5,8.3230369952401657E-4,0,0,-1.1792201852464619,-0.54715237690726071,2.4583780218290556,-0.50849973988241215,3.1609090781970939E-2,0.31826197909997544,0.29188320399837836,3.2090540631651253E-2,3.7740456115972772E-2,6.3547215227201442E-2,1.0604038264637725,0.10956538903747198,1.9492540089448326E-2,-1.8531864176408903E-2,0.47420204352099588,1.7437148677451195E-2,1.0784225252638516E-2,-5.5028012350690518E-3,0.66109930751712354,-2.6723636071347281E-2,-4.7218911236249037E-2,2.4836374813372506E-2,7.2837646917287613E-2,1.5377763001543348E-3,6.8654310765585971E-3,4.9242928469785899E-3,3.9344079869407682E-2,-4.7412478368057545E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",3000,1,0,1.9,1.7000000000000001E-2,1,-5.3551554431469217E-5,8.3349884264720495E-4,0,0,-1.1670629968895363,-0.53117214477526042,2.8008012375430886,-0.50630784264543804,3.1830197592097736E-2,0.31730985587852478,0.25681585398998763,3.2150001220324111E-2,3.9463049768431742E-2,6.3400213618582543E-2,1.0715509936766463,0.10880566572433326,1.76288274164982E-2,-1.8621243954447388E-2,0.46513541482443582,1.7287431352937071E-2,1.0371875507973392E-2,-9.3947503640675455E-3,0.64369974533667229,-2.4178980430353436E-2,-4.1778656247079465E-2,4.7215394412543417E-2,7.539680695118238E-2,2.392926754481163E-3,7.1913250929069826E-3,4.4851502560225463E-3,3.9801396787217058E-2,-3.6383153069536986E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",4000,1,0,1.9,1.7000000000000001E-2,1,-6.0148942507189015E-5,8.2878732397846232E-4,0,0,-1.1638085914572323,-0.51618933271358369,3.1843754532158104,-0.50210153886722841,2.8388493572237355E-2,0.31511810339916957,0.21559487574785161,3.191144182647343E-2,4.3573833478491419E-2,6.2015555272981061E-2,1.0833876829184039,0.10843930337469217,1.6878411051952383E-2,-1.6884561401800821E-2,0.45429316852262919,1.5869619526636392E-2,8.1708931901693423E-3,-8.3632949693594784E-3,0.64336683230135694,-1.8207473663244104E-2,-3.5812268377716373E-2,5.3662092390636275E-2,7.102256794372698E-2,1.3482019993457869E-3,6.688953908597574E-3,6.0699258838139781E-3,3.9396748170241913E-2,-2.0505869896009824E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",5000,1,0,1.9,1.7000000000000001E-2,1,-6.1709479807294754E-5,8.2528557938681482E-4,0,0,-1.141403553917745,-0.5119111214029195,3.379911290368204,-0.49915277447001305,2.3405012727415082E-2,0.31429748219333958,0.18984598244830755,3.1578587750965545E-2,4.360910193646457E-2,6.0993834351017462E-2,1.0874587824869535,0.10793110499549602,1.6740104504615261E-2,-1.578897195540065E-2,0.44774330717208188,1.5092099976808732E-2,5.7451972657319127E-3,-6.006547727815466E-3,0.64822849769517688,-1.3187654546690601E-2,-2.8996623311698777E-2,5.5171641803134643E-2,6.9639090184578395E-2,-3.3515874039372729E-4,6.2235189373597722E-3,6.8312282823750452E-3,3.9204822893472574E-2,-1.4355977663812168E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",6000,1,0,1.9,1.7000000000000001E-2,1,-6.3436303353087123E-5,8.2211668606105965E-4,0,0,-1.0220857710400009,-0.51182046592192054,3.4923909129944581,-0.49719266707650001,1.7324491515159458E-2,0.31421633097702067,0.16823651691950359,3.1302959591615998E-2,4.3239591766569579E-2,5.9565930371548961E-2,1.0888782560213441,0.1081938215285117,1.6769638869975182E-2,-1.4827646891581607E-2,0.44122421618150581,1.4656086407452662E-2,6.8663173811763919E-3,-4.5074622916289869E-3,0.65405582090189895,-1.5892797104849182E-2,-3.7710897289278664E-2,4.4549873952818078E-2,6.5699973225613148E-2,2.5873245662063411E-4,5.307497728652538E-3,7.3752717218888708E-3,4.0140091481733961E-2,-1.936572034303348E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",7000,1,0,1.9,1.7000000000000001E-2,1,-6.5912571332160186E-5,8.2002693308518817E-4,0,0,-0.73542295178392136,-0.5131859240264034,3.5615148968249675,-0.49536974478708035,7.2451899453988659E-3,0.31478313728711155,0.14860107024554089,3.0939852894319407E-2,4.2265350288245518E-2,5.8570842102382878E-2,1.0881382976572946,0.10834563226616843,1.6897770540613932E-2,-1.4215460907362639E-2,0.43524642145970688,1.420561237807615E-2,7.4244375006893692E-3,-5.6655162393807936E-3,0.65011012921467315,-1.8062032238915008E-2,-4.3462581127296535E-2,4.7381961887960525E-2,6.515622808746234E-2,7.2680949776255592E-4,5.1531852975255799E-3,7.3179430997281705E-3,4.0665307771916258E-2,-1.9380746411671128E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",8000,1,0,1.9,1.7000000000000001E-2,1,-6.5951719065337241E-5,8.2022615667837456E-4,0,0,-0.27828499844384325,-0.51382132057486485,3.6145976905147141,-0.49318045317470127,-9.3020986380929743E-3,0.31558300832008085,0.13010568017401214,3.0285378814915075E-2,4.0195235554413254E-2,5.8084089418850807E-2,1.0859872019100043,0.10844957460066226,1.5652681539597167E-2,-1.4587509816103295E-2,0.42890561158781709,1.4442565911037481E-2,8.6903559199977987E-3,-6.084337051895628E-3,0.64769929595104447,-2.2884872026858575E-2,-5.2182895115923902E-2,5.0044065631986628E-2,6.578886351013577E-2,1.3459862267462008E-4,4.8943048184311947E-3,7.2160252007362549E-3,4.1272896355919367E-2,-2.3612093154843322E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",9000,1,0,1.9,1.7000000000000001E-2,1,-6.495793081713643E-5,8.1981851208383935E-4,0,0,0.34002931793572405,-0.51499926582817479,3.675034038092166,-0.49099584116070949,-3.8781504273649813E-2,0.31575827289418007,0.1128671754572875,2.9804666716207504E-2,3.8164912966395646E-2,5.787546426594626E-2,1.0844550528187098,0.10879719009497223,1.4754353131637794E-2,-1.4533174781892739E-2,0.4221279305517982,1.4320150202555249E-2,7.76159082325835E-3,-3.6572237131441061E-3,0.65514621420832964,-1.7922766409280338E-2,-4.2215611046314418E-2,3.9276749730131233E-2,6.3996203114863953E-2,2.1969200285173037E-3,3.7403472454362492E-3,7.5518680142563181E-3,4.1163034480332428E-2,-2.6035076680401251E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",10000,1,0,1.9,1.7000000000000001E-2,1,-6.4243447418910096E-5,8.1848356045467763E-4,0,0,0.79415775124361176,-0.52367690971682612,3.7654461676386703,-0.48806634134544274,-7.5893045735875783E-2,0.31614573272593421,9.1956662703965714E-2,2.946883359162638E-2,3.6124493900282911E-2,5.7574954619760539E-2,1.0845774888988573,0.10897652601643448,1.3989327261416938E-2,-1.4750621757154449E-2,0.41418302139469088,1.3872537518071958E-2,5.7122682192676548E-3,-2.4292045032838485E-3,0.65818298979153966,-1.1043217474626046E-2,-2.6485835809980748E-2,3.4917315639769214E-2,6.2696851955958477E-2,2.6361031648238988E-3,2.7566904056263008E-3,7.1745211775429358E-3,4.2651168761318657E-2,-2.7669265135778719E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",11000,1,0,1.9,1.7000000000000001E-2,1,-6.5605395384157563E-5,8.1866029729436602E-4,0,0,0.99277013923578561,-0.54332872011828515,3.9313240592167942,-0.48044560355374788,-0.11702969805756722,0.31709317934225667,6.3227210370464623E-2,2.9653328929239532E-2,3.4250630078817471E-2,5.7056950624974484E-2,1.0862519944672613,0.10892946743193593,1.356134212336433E-2,-1.4908631142567125E-2,0.40612635187749546,1.3967991046718047E-2,5.8634883645795177E-3,-2.2233012901025431E-3,0.65961870171405257,-1.1387783518239389E-2,-2.6645251417479036E-2,3.1131842118701587E-2,6.1847588822452414E-2,8.9993737615104224E-4,2.9916133802722765E-3,6.8792709048194232E-3,4.3603322861296784E-2,-2.7962128131409671E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",11850,1,0,1.9,1.7000000000000001E-2,1,-6.6438930830565692E-5,8.1835565834366723E-4,0,0,0.87560784395422675,-0.58588784403151395,4.1246986202269902,-0.4678360373392812,-0.16052596608978656,0.3172791103251873,3.0659346907169996E-2,2.9657886882181805E-2,3.2160466115820179E-2,5.6514648029345797E-2,1.0905161362342344,0.10890076199232634,1.2782641207084149E-2,-1.493668318880923E-2,0.39837150151703277,1.4083929928417074E-2,7.1515958863037658E-3,-1.7950562030216504E-3,0.66304634894615655,-1.6041324503572815E-2,-3.5812209107112594E-2,2.5237195590850917E-2,6.1156448772405871E-2,2.0011058359080089E-5,2.8255279281022157E-3,6.521888932298295E-3,4.4335132759256123E-2,-2.5764063937090561E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",11000,-1,0,1.9,1.7000000000000001E-2,1,-6.6698787638846184E-5,8.2080840359854198E-4,0,0,1.0349590387519461,-0.54806350423025318,4.17711703932709,-0.47803840375267648,-0.11868991385758694,0.31839933492710643,4.919965673897217E-2,2.8910864368996182E-2,3.4462836769700925E-2,5.6584373324309024E-2,1.0946388115374637,0.108560621999496,1.3264997311236025E-2,-1.5299589763832297E-2,0.40091711990101347,1.385300113442048E-2,7.0074090462662912E-3,-1.8233506291524459E-3,0.66107861362210274,-1.5190989107667776E-2,-3.3043370434403085E-2,2.6411128608066537E-2,6.0667046671203123E-2,1.0006422197393445E-3,2.5997943704509875E-3,6.4278363975397712E-3,4.3779608429499246E-2,-2.2941968511870797E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",10000,-1,0,1.9,1.7000000000000001E-2,1,-6.6333646703875147E-5,8.2200620815087849E-4,0,0,0.85343459510639197,-0.530718359361111,4.0730355822435387,-0.4860638065927686,-7.8084626242471755E-2,0.31967060147806026,6.916137348720007E-2,2.8540796533975191E-2,3.67322222636597E-2,5.6975663768814848E-2,1.0947727856128882,0.10841645282946007,1.3905221449250747E-2,-1.5472380568701238E-2,0.40696734612218866,1.3330785475220616E-2,5.3744768295030205E-3,-2.7221177078161686E-3,0.65579687209992299,-1.0067747739363636E-2,-2.7017227934917617E-2,3.6707525269414024E-2,6.2138050201174772E-2,2.6454267072526629E-3,2.2853384028041928E-3,6.9051920843113948E-3,4.2935773466310286E-2,-2.1246048943523508E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",9000,-1,0,1.9,1.7000000000000001E-2,1,-6.7583096463473649E-5,8.2315999080394926E-4,0,0,0.40205373314992193,-0.52727215841005448,4.0515281382367725,-0.49089708660410691,-4.0618006798506599E-2,0.3203834545910238,8.2667746420464441E-2,2.8700861035995822E-2,3.9449180734467335E-2,5.7181496650090292E-2,1.097223409527885,0.10821265620338832,1.4408815059812308E-2,-1.5597595024759756E-2,0.41238448800289212,1.3166528294935328E-2,6.063526685136403E-3,-3.9254777854911297E-3,0.65162966804279243,-1.2508627081828871E-2,-3.495312082969184E-2,4.4325208007865192E-2,6.3020574883936489E-2,2.9895071842027891E-3,2.4470223092022013E-3,7.3324744734765005E-3,4.2285219181241882E-2,-1.7613491198273435E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",8000,-1,0,1.9,1.7000000000000001E-2,1,-6.8917436605849135E-5,8.2549486177863182E-4,0,0,-0.22403697035947548,-0.5281659625634133,4.0664892435656936,-0.49415612296898481,-1.0798593980096173E-2,0.32118438127425358,9.2246359288691016E-2,2.8805127491065719E-2,4.1455254334550468E-2,5.7934744723495926E-2,1.1009955571491135,0.10794127614563395,1.5001270338003062E-2,-1.6091481068068146E-2,0.41711431977961855,1.3315147355005089E-2,7.9837656471087662E-3,-6.1861820576959324E-3,0.64400710236337444,-2.0741831876439527E-2,-4.9551925848413572E-2,5.3401235912312675E-2,6.5821140523996569E-2,1.8321713442288976E-3,3.0833233258460483E-3,7.1317456480361413E-3,4.1775214433730189E-2,-1.6089046637539684E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",7000,-1,0,1.9,1.7000000000000001E-2,1,-6.9210116131881695E-5,8.2691982966506328E-4,0,0,-0.67504417576145592,-0.52948946163470123,4.1161149181517942,-0.496683291735114,5.654063180894983E-3,0.32171994604564547,9.9667499599617668E-2,2.873477540402461E-2,4.3375891637666766E-2,5.8565452539950789E-2,1.1071948900973729,0.10785713414263559,1.6257370895358707E-2,-1.6268900933117416E-2,0.42064631860622309,1.2947495615459114E-2,7.1627911947534503E-3,-6.8852203709584064E-3,0.64256740500314402,-1.862773058874111E-2,-4.8184999188028946E-2,5.3742734393447338E-2,6.6628495500080223E-2,1.1280858023056876E-3,3.4104239290037447E-3,7.054988895592619E-3,4.1617600764780008E-2,-1.2934529071304656E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",6000,-1,0,1.9,1.7000000000000001E-2,1,-6.9054664842365765E-5,8.2782180321302112E-4,0,0,-0.94733953909453128,-0.5292914257369592,4.1946342332755631,-0.49859478569061083,1.5954305697156338E-2,0.3212745186292405,0.10477839247860184,2.8722977545188048E-2,4.5059228734192845E-2,5.9416586565902076E-2,1.1145088176602995,0.10769014087336748,1.7247597287890465E-2,-1.6188041219974844E-2,0.4230744262604027,1.2820866662999003E-2,5.6473214701431547E-3,-5.8021447245300579E-3,0.646602972670281,-1.2123287341163205E-2,-3.6227483110065774E-2,4.9988352328045133E-2,6.462366425670138E-2,1.7665131904023035E-3,3.6188294766221494E-3,7.2791288742530503E-3,4.0911827061625085E-2,-1.0407515565115856E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",5000,-1,0,1.9,1.7000000000000001E-2,1,-6.851656273887631E-5,8.2918585036204692E-4,0,0,-1.0508769225358425,-0.52836638301278704,4.3082814724063887,-0.50059269805179807,2.2300951029584758E-2,0.32139073581968108,0.10530042125432722,2.807313481749401E-2,4.6081333584472535E-2,6.0281054495884188E-2,1.1227495019549865,0.10732272594407244,1.7139552535081787E-2,-1.6365334408251372E-2,0.42354540587120665,1.3445254352068253E-2,5.4944806302721135E-3,-5.7486805389715236E-3,0.64765003548259159,-1.1279617498771806E-2,-3.2151942919320435E-2,4.8539478149045481E-2,6.5732091022145042E-2,1.4754969383620005E-3,4.0163307966814398E-3,7.6216806983834279E-3,4.0014807148201152E-2,-1.0056681599711259E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",4000,-1,0,1.9,1.7000000000000001E-2,1,-6.5725722844559828E-5,8.3297551086600034E-4,0,0,-1.0538759682752004,-0.52714668680127086,4.4923568069996636,-0.502652545778004,2.704912601037782E-2,0.32232666353438244,9.5455068938323714E-2,2.7184956597339306E-2,4.5909710832043121E-2,6.186116821191124E-2,1.1336810010187435,0.10691307656398774,1.6895929840902196E-2,-1.7329673098130785E-2,0.42161401933111869,1.3889282069867165E-2,2.7029268775932177E-3,-7.1516341891936681E-3,0.64042319140987447,-2.2057619517299961E-3,-1.3041434427233746E-2,5.8917124769710595E-2,6.9255492545650194E-2,1.9999016383806054E-3,4.9509923634958397E-3,6.680883604551241E-3,3.8912842250060468E-2,-6.3987121549844653E-4,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",3000,-1,0,1.9,1.7000000000000001E-2,1,-6.5272971138894447E-5,8.3614151085816782E-4,0,0,-1.0271864847126841,-0.52892877213396294,4.842933877522511,-0.50541282365069629,3.01996552421975E-2,0.32567922601335941,6.3494811603628645E-2,2.4838250770238303E-2,4.5994264634466001E-2,6.2755695106006953E-2,1.1519506188202904,0.10647872313233106,1.695562195929844E-2,-1.8161852541905145E-2,0.41308901213814958,1.4780923217770543E-2,2.2891916858541138E-3,-1.0311814463552605E-2,0.62890779563482624,2.8592087138438983E-3,7.6528405519662645E-3,5.7495991780443102E-2,7.2456553767591747E-2,3.555220978851875E-3,5.521621853883267E-3,5.9393814815694151E-3,3.952216965475417E-2,-1.3606368177472281E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",2500,-1,0,1.9,1.7000000000000001E-2,1,-6.0268391253369837E-5,8.3772174119719188E-4,0,0,-1.0214701393948626,-0.527571359141769,5.1702450023349709,-0.50755180654501542,3.2073107338279665E-2,0.32976526468244272,2.8740099327629522E-2,2.2537728975591961E-2,4.4266331784202112E-2,6.211792687825507E-2,1.168398850769409,0.10604156680735481,1.399946062487282E-2,-1.93956792737861E-2,0.40368992407457077,1.5933125860512876E-2,5.5247217832770385E-3,-1.1597997154416438E-2,0.62926831535515015,-4.1640390359776631E-3,3.7357292938972443E-3,4.9490065513475845E-2,7.847822188861675E-2,5.5795311084514947E-3,7.4652598359736151E-3,3.7039005376301804E-3,3.9995020289961707E-2,-1.9315518054588659E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",2000,-1,0,1.9,1.7000000000000001E-2,1,-6.3576457850401719E-5,8.3593294701607261E-4,0,0,-1.001899362930919,-0.52446407658181482,5.7052065055340755,-0.50891611147307347,3.2500275644329023E-2,0.33722129769163678,-3.2692597626010192E-2,1.9144184519806668E-2,4.4297672270796604E-2,6.1329540811121117E-2,1.1963206026308306,0.10512202027365372,1.4210959656155915E-2,-1.9520008864685488E-2,0.38968491791625237,1.574246536333888E-2,8.011157051204627E-3,-1.2727604229062472E-2,0.62882302305870352,-8.1736120835332014E-3,2.1556999692430409E-3,4.981130592240459E-2,7.8673116530853834E-2,5.5732608895375617E-3,1.184458497546172E-2,2.6236134520040409E-3,3.9234170326556871E-2,-2.3339318653617246E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",1500,-1,0,1.9,1.7000000000000001E-2,1,-6.6391611422512238E-5,8.3753124173696657E-4,0,0,-0.96175156284230667,-0.49889796739553449,6.7246753699054995,-0.50853636064867214,3.311221932327537E-2,0.35532397565046991,-0.16237402380090041,1.4233375673482132E-2,4.4575206585609393E-2,6.2057518252588921E-2,1.2499428485068538,0.10398796090223027,1.9294624257864205E-2,-1.9237150475964963E-2,0.35966033455216084,1.5000525388435972E-2,7.123235175345171E-3,-1.2755367649438052E-2,0.61924871487582578,3.4518324677998793E-3,3.768992994520412E-2,4.5079088569649352E-2,7.4031856289691042E-2,5.3833664852995927E-3,9.73361403165981E-3,4.0909251291164949E-3,4.1626460254324628E-2,-2.6983883582319779E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",1000,-1,0,1.9,1.7000000000000001E-2,1,-6.2829517640525283E-5,8.3529199715514963E-4,0,0,-0.90503561469238603,-0.38024928295977078,9.2100355244848036,-0.50411486566294827,2.9903993272022481E-2,0.40924463224562219,-0.49230468688359885,2.5719304687108857E-3,4.2912522947718648E-2,6.1250252993606071E-2,1.3859675120465533,9.9440536736822113E-2,1.9594332108103536E-2,-2.0937594675151244E-2,0.28345246797766227,1.5112429680954435E-2,7.4652925876599356E-3,-1.314031094601556E-2,0.61226843243299645,6.8579752724830393E-3,6.9083519285807804E-2,3.3589839742013287E-2,6.6931526081290618E-2,4.1337498681603526E-3,8.1298694095915929E-3,5.3606950098980793E-3,4.7454978255970469E-2,-3.9755710302783786E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",760,-1,0,1.9,1.7000000000000001E-2,1,-6.7399858334868265E-5,8.4718547190733068E-4,0,0,-0.84526883305105271,-0.16231737143379457,12.061989922376114,-0.49184560310285991,2.0468554017895803E-2,0.46578782643775496,-0.90049689267419852,-6.4803268688033598E-3,4.6772658777614176E-2,7.0231847510055262E-2,1.5456364477221427,9.0737919627253263E-2,1.3643569054039469E-2,-2.6610822707029778E-2,0.2014605736381809,1.8033635616707937E-2,1.3880416508108435E-2,-2.7010312890564287E-2,0.56630761664426998,-1.868594271517364E-2,3.2667402891932484E-2,7.361682212708337E-2,4.5743878697591153E-2,1.0563841777594141E-2,1.5725747361431744E-2,8.4087824411679165E-3,5.0859886704591892E-2,-6.7225767026330204E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",600,-1,0,1.9,1.7000000000000001E-2,1,-7.8697630539456852E-5,8.5573928830861483E-4,0,0,-0.7587871049900321,0.15599630318856533,15.797324392825109,-0.47812532522595796,1.0153960999463259E-2,0.52349739724723066,-1.4505156602448317,-1.8613876049869499E-2,5.7475195382661638E-2,7.6163945694199528E-2,1.75639684124216,8.1416226906340178E-2,1.11054874430923E-2,-2.8914415192954939E-2,8.3564435737854353E-2,1.8638004523863216E-2,1.8841674742282811E-2,-3.5245860749084021E-2,0.52972287738154089,-3.0258709102879387E-2,3.0963373506582157E-2,0.10232927608423602,3.7798966008556228E-2,1.0071849019557738E-2,1.6425108448641382E-2,6.2603671885728789E-3,5.5517104133725688E-2,-6.6229939467405598E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",550,-1,0,1.9,1.7000000000000001E-2,1,-8.3084873442408616E-5,8.5256375352383749E-4,0,0,-0.71810747063522551,0.31855489730458242,17.648918532530292,-0.47177429890936878,4.0065346243079768E-3,0.5437771540747135,-1.722833203501474,-2.4809152963803739E-2,6.1986809057669512E-2,7.3240716062060299E-2,1.8609295599430529,7.847317554321781E-2,1.0892743169071016E-2,-2.8389372556481832E-2,2.464525488781703E-2,1.8013996770745735E-2,2.3800313667627297E-2,-3.5555138546930848E-2,0.52343963027853724,-4.3727598209204452E-2,2.4893270014063121E-2,0.10302853992806837,3.7031364251571504E-2,6.2189893753049489E-3,1.4017091775876699E-2,5.732205717355267E-3,5.7294710883269116E-2,-5.5588933024882754E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBB_A001-CR004001",1,"cryomagnet",2,null,"full",400,-1,0,1.9,1.7000000000000001E-2,1,-1.0878866578409587E-4,8.2728058563365453E-4,0,0,-0.48709182770887216,0.94051798047891899,26.879008076995458,-0.43943145003404616,-3.2990365557957341E-2,0.63413408991084075,-3.0326483485171005,-5.5016270174894202E-2,8.8042325813578209E-2,4.2652713720929221E-2,2.3844994483905952,6.4977811254333898E-2,6.3186293688071047E-3,-2.8492053390303047E-2,-0.27700194157059638,1.6778335055548869E-2,4.8082715273309234E-2,-4.3356651362631143E-2,0.4818864115898347,-0.11178702641033204,-2.7028568217739267E-2,0.10167178972386384,1.1798201470772023E-2,-5.8176026292107216E-3,6.6297119203314377E-3,2.0218884751736919E-5,6.923873863109084E-2,-1.7593460717355242E-3,"lfiscare","2017-03-27T10:00:00","Integral harmonics and transfer function from a sum of 3 mole positions."]