{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Start","F_T_FUNCTION","F_INT_HARM","F_LOCAL_ANGLE"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Start","index":0,"n_rows":11,"n_cols":2,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["Instructions"]
["Insert REFHARM worksheet to load into this Excel file"]
["Edit parameters below"]
["Use CTRL+l to load data"]
[]
[]
["Parameters"]
["Table to load","F_LOCAL_ANGLE"]
["Oracle userid","magmeasadm"]
["Oracle password"]
["Oracle server","accdb"]

{"sheet":"F_T_FUNCTION","index":1,"n_rows":35,"n_cols":15,"rows_kept":35,"cut":false,"hidden":false,"merged":[]}
["ID","MAGNET_NAME","MAGNET_TYPE","APERTURE_NUMBER","MEASURE_DATE","SET_CURRENT","RAMP_DIRECTION","FIELD_LENGTH","TEMPERATURE","REFERENCE_RADIUS","TRANSFER_FUNCTION","LOGIN_NAME","LOGIN_DATE","NOTES","MAGNET_STATE"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:49",50.034999999999997,1,9.4186999999999994,4.5,2.5000000000000001E-2,6.7701000000000002E-3,"ajain","2008-06-08T21:04:17","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:50",100.026,1,9.4159000000000006,4.5,2.5000000000000001E-2,6.6690999999999999E-3,"ajain","2008-06-08T21:04:18","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:51",199.827,1,9.4145000000000003,4.5,2.5000000000000001E-2,6.6541999999999999E-3,"ajain","2008-06-08T21:04:19","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:52",299.77800000000002,1,9.4143000000000008,4.5,2.5000000000000001E-2,6.6604000000000003E-3,"ajain","2008-06-08T21:04:20","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:53",349.75799999999998,1,9.4144000000000005,4.5,2.5000000000000001E-2,6.6623999999999997E-3,"ajain","2008-06-08T21:04:21","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:54",399.72899999999998,1,9.4140999999999995,4.5,2.5000000000000001E-2,6.6651000000000002E-3,"ajain","2008-06-08T21:04:22","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:55",599.58100000000002,1,9.4138999999999999,4.5,2.5000000000000001E-2,6.6699999999999997E-3,"ajain","2008-06-08T21:04:23","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:56",799.15300000000002,1,9.4140999999999995,4.5,2.5000000000000001E-2,6.6721000000000003E-3,"ajain","2008-06-08T21:04:24","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:57",999.20500000000004,1,9.4140999999999995,4.5,2.5000000000000001E-2,6.6728999999999998E-3,"ajain","2008-06-08T21:04:25","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:58",1199.1869999999999,1,9.4140999999999995,4.5,2.5000000000000001E-2,6.6731999999999998E-3,"ajain","2008-06-08T21:04:26","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:30:59",1399.059,1,9.4140999999999995,4.5,2.5000000000000001E-2,6.6731000000000004E-3,"ajain","2008-06-08T21:04:27","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:00",1599.3209999999999,1,9.4140999999999995,4.5,2.5000000000000001E-2,6.6725999999999999E-3,"ajain","2008-06-08T21:04:28","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:01",1799.5229999999999,1,9.4141999999999992,4.5,2.5000000000000001E-2,6.6718999999999997E-3,"ajain","2008-06-08T21:04:29","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:02",1999.6849999999999,1,9.4141999999999992,4.5,2.5000000000000001E-2,6.6711000000000001E-3,"ajain","2008-06-08T21:04:30","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:03",2199.9169999999999,1,9.4143000000000008,4.5,2.5000000000000001E-2,6.6701E-3,"ajain","2008-06-08T21:04:31","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:04",2400.1590000000001,1,9.4143000000000008,4.5,2.5000000000000001E-2,6.6686000000000002E-3,"ajain","2008-06-08T21:04:32","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:05",2600.431,1,9.4144000000000005,4.5,2.5000000000000001E-2,6.6664999999999997E-3,"ajain","2008-06-08T21:04:33","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:06",2800.4830000000002,1,9.4145000000000003,4.5,2.5000000000000001E-2,6.6628E-3,"ajain","2008-06-08T21:04:34","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:07",3000.8649999999998,1,9.4147999999999996,4.5,2.5000000000000001E-2,6.6566999999999998E-3,"ajain","2008-06-08T21:04:35","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:08",3200.9769999999999,1,9.4152000000000005,4.5,2.5000000000000001E-2,6.6479E-3,"ajain","2008-06-08T21:04:36","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:09",3400.9789999999998,1,9.4156999999999993,4.5,2.5000000000000001E-2,6.6366000000000003E-3,"ajain","2008-06-08T21:04:37","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:10",3601.3009999999999,1,9.4164999999999992,4.5,2.5000000000000001E-2,6.6214999999999998E-3,"ajain","2008-06-08T21:04:38","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:11",3801.3429999999998,1,9.4175000000000004,4.5,2.5000000000000001E-2,6.6016E-3,"ajain","2008-06-08T21:04:39","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:12",4001.5050000000001,1,9.4186999999999994,4.5,2.5000000000000001E-2,6.5779999999999996E-3,"ajain","2008-06-08T21:04:40","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:13",4201.527,1,9.4199000000000002,4.5,2.5000000000000001E-2,6.5519999999999997E-3,"ajain","2008-06-08T21:04:41","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:14",4401.5590000000002,1,9.4213000000000005,4.5,2.5000000000000001E-2,6.5234000000000004E-3,"ajain","2008-06-08T21:04:42","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:15",4601.6409999999996,1,9.4228000000000005,4.5,2.5000000000000001E-2,6.4928E-3,"ajain","2008-06-08T21:04:43","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:16",4801.6729999999998,1,9.4242000000000008,4.5,2.5000000000000001E-2,6.4606999999999998E-3,"ajain","2008-06-08T21:04:44","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:17",5001.7849999999999,1,9.4255999999999993,4.5,2.5000000000000001E-2,6.4273999999999998E-3,"ajain","2008-06-08T21:04:45","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:18",5201.7870000000003,1,9.4269999999999996,4.5,2.5000000000000001E-2,6.3930999999999997E-3,"ajain","2008-06-08T21:04:46","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:19",5401.8190000000004,1,9.4283999999999999,4.5,2.5000000000000001E-2,6.3578000000000003E-3,"ajain","2008-06-08T21:04:47","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:20",5601.8209999999999,1,9.4297000000000004,4.5,2.5000000000000001E-2,6.3217000000000004E-3,"ajain","2008-06-08T21:04:48","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:21",5801.7129999999997,1,9.4309999999999992,4.5,2.5000000000000001E-2,6.2854E-3,"ajain","2008-06-08T21:04:49","From sum of 10 mole positions.","cryomagnet"]
["F_T_FUNCTION_SEQ.nextval","HCMBX__001-BL000003",1,1,"2002-03-07T14:31:22",5901.6040000000003,1,9.4314999999999998,4.5,2.5000000000000001E-2,6.267E-3,"ajain","2008-06-08T21:04:50","From sum of 10 mole positions.","cryomagnet"]

{"sheet":"F_INT_HARM","index":2,"n_rows":69,"n_cols":48,"rows_kept":69,"cut":false,"hidden":false,"merged":[]}
["ID","MAGNET_NAME","MAGNET_TYPE","MAGNET_STATE","APERTURE_NUMBER","MEASURE_DATE","INTEGRAL_TYPE","SET_CURRENT","RAMP_DIRECTION","RAMP_RATE","TEMPERATURE","REFERENCE_RADIUS","NORMALIZATION_ORDER","MAGNET_X_CENTER","MAGNET_Y_CENTER","NORMAL_1","SKEW_1","NORMAL_2","SKEW_2","NORMAL_3","SKEW_3","NORMAL_4","SKEW_4","NORMAL_5","SKEW_5","NORMAL_6","SKEW_6","NORMAL_7","SKEW_7","NORMAL_8","SKEW_8","NORMAL_9","SKEW_9","NORMAL_10","SKEW_10","NORMAL_11","SKEW_11","NORMAL_12","SKEW_12","NORMAL_13","SKEW_13","NORMAL_14","SKEW_14","NORMAL_15","SKEW_15","LOGIN_NAME","LOGIN_DATE","NOTES"]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:49","full",50.035400000000003,1,0,4.5,2.5000000000000001E-2,1,0,0,0.33874650000000001,-1.7600000000000001E-3,-0.75,5.2,45.35,-0.46,-0.36,1.32,4.9400000000000004,0.28999999999999998,-0.16,0.18,3.27,-0.17,-7.0000000000000007E-2,0.16,-0.21,-0.01,0.02,0.06,0.04,-0.01,0,0.04,-0.47,-0.01,0.01,-0.01,0.66,0.01,"ajain","2008-06-08T20:11:27","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:50","full",100.02589999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,0.66707970000000005,-1.5399999999999999E-3,-0.4,0.51,-18.66,-0.64,-0.09,0.85,5.76,0.27,-0.09,0.16,0.17,-0.1,-0.01,0.11,0.28000000000000003,0.03,0.01,7.0000000000000007E-2,-0.75,0,-0.01,0,-0.04,-0.01,0,0.05,0.92,0.01,"ajain","2008-06-08T20:11:28","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:51","full",199.82689999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,1.3296888,-1.5E-3,-0.22,-1.69,-25.35,-0.73,0,0.55000000000000004,2.29,0.28000000000000003,-0.04,0.1,-0.51,-0.08,0,7.0000000000000007E-2,0.17,0.04,0,0.06,-0.85,0,0,0.01,-0.06,0,0,0.04,0.96,0.01,"ajain","2008-06-08T20:11:29","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:52","full",299.77789999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,1.9966484,-1.4400000000000001E-3,-0.18,-2.02,-19.27,-0.72,0,0.48,0.62,0.28000000000000003,-0.03,0.1,-0.5,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,0.01,0.04,0.01,0.05,-0.78,0.01,0,0.01,-0.12,0,0,0.04,0.93,0.01,"ajain","2008-06-08T20:11:30","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:53","full",349.75839999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,2.3302285,-1.4400000000000001E-3,-0.18,-2.04,-16.89,-0.71,0,0.46,0.28999999999999998,0.28000000000000003,-0.02,0.11,-0.5,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.04,0.04,0,0.05,-0.75,0,0,0.01,-0.14000000000000001,0,0,0.03,0.93,0,"ajain","2008-06-08T20:11:31","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:54","full",399.72890000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,2.6642290000000002,-1.4300000000000001E-3,-0.17,-2.0499999999999998,-14.98,-0.72,0,0.46,0.13,0.28000000000000003,-0.02,0.1,-0.49,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-7.0000000000000007E-2,0.04,0.01,0.05,-0.74,0,0,0.01,-0.15,0,0,0.03,0.92,0,"ajain","2008-06-08T20:11:32","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:55","full",599.58079999999995,1,0,4.5,2.5000000000000001E-2,1,0,0,3.9992135000000002,-1.4499999999999999E-3,-0.17,-2,-10.45,-0.71,-0.01,0.47,0,0.28000000000000003,-0.02,0.09,-0.39,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.13,0.04,0.01,0.06,-0.7,0,0,0.01,-0.18,0,0,0.03,0.91,0,"ajain","2008-06-08T20:11:33","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:56","full",799.15269999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,5.3320505999999996,-1.4400000000000001E-3,-0.17,-1.96,-8.48,-0.7,-0.01,0.47,0.05,0.28000000000000003,-0.01,0.09,-0.31,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.14000000000000001,0.04,0,0.05,-0.68,0,0,0.01,-0.19,0,0,0.03,0.9,0,"ajain","2008-06-08T20:11:34","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:57","full",999.2047,1,0,4.5,2.5000000000000001E-2,1,0,0,6.6675962000000002,-1.4300000000000001E-3,-0.18,-1.93,-7.47,-0.7,-0.01,0.48,0.11,0.28000000000000003,-0.02,0.1,-0.26,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.14000000000000001,0.04,0,0.05,-0.67,0,0,0.01,-0.19,0,0,0.03,0.9,0,"ajain","2008-06-08T20:11:35","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:58","full",1199.1867,1,0,4.5,2.5000000000000001E-2,1,0,0,8.0024604000000004,-1.4499999999999999E-3,-0.18,-1.91,-6.86,-0.7,-0.01,0.48,0.14000000000000001,0.28000000000000003,-0.02,0.09,-0.23,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.14000000000000001,0.04,0.01,0.05,-0.66,0,0,0.01,-0.2,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:36","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:30:59","full",1399.0587,1,0,4.5,2.5000000000000001E-2,1,0,0,9.3360325999999993,-1.4300000000000001E-3,-0.18,-1.9,-6.5,-0.7,-0.01,0.49,0.17,0.28000000000000003,-0.02,0.09,-0.21,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0.01,0.05,-0.66,0,0,0.01,-0.2,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:37","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:00","full",1599.3207,1,0,4.5,2.5000000000000001E-2,1,0,0,10.671583999999999,-1.4300000000000001E-3,-0.19,-1.88,-6.26,-0.7,-0.01,0.49,0.19,0.28000000000000003,-0.02,0.09,-0.19,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.14000000000000001,0.04,0.01,0.05,-0.66,0,0,0.01,-0.2,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:38","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:01","full",1799.5228,1,0,4.5,2.5000000000000001E-2,1,0,0,12.006298900000001,-1.4300000000000001E-3,-0.19,-1.88,-6.1,-0.69,-0.01,0.49,0.2,0.28000000000000003,-0.02,0.1,-0.18,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0.01,0.05,-0.65,0,0,0.01,-0.2,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:39","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:02","full",1999.6848,1,0,4.5,2.5000000000000001E-2,1,0,0,13.340173800000001,-1.42E-3,-0.19,-1.87,-6,-0.69,-0.02,0.49,0.21,0.28000000000000003,-0.02,0.1,-0.17,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:40","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:03","full",2199.9168,1,0,4.5,2.5000000000000001E-2,1,0,0,14.6735582,-1.42E-3,-0.19,-1.86,-5.95,-0.69,-0.02,0.49,0.2,0.28000000000000003,-0.02,0.1,-0.17,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0.01,0.05,-0.65,0,0,0.02,-0.21,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:41","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:04","full",2400.1588999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,16.005696799999999,-1.42E-3,-0.2,-1.85,-5.96,-0.69,-0.01,0.5,0.2,0.28000000000000003,-0.02,0.1,-0.16,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0.01,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:42","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:05","full",2600.4308999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,17.335713399999999,-1.41E-3,-0.2,-1.83,-6.01,-0.69,-0.02,0.5,0.18,0.28000000000000003,-0.02,0.1,-0.15,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0.01,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:43","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:06","full",2800.4829,1,0,4.5,2.5000000000000001E-2,1,0,0,18.658923999999999,-1.4E-3,-0.21,-1.8,-6.12,-0.69,-0.02,0.5,0.18,0.28000000000000003,-0.02,0.1,-0.12,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0.01,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:44","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:07","full",3000.8649999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,19.9757189,-1.41E-3,-0.21,-1.76,-6.32,-0.69,-0.02,0.5,0.18,0.28000000000000003,-0.02,0.1,-0.09,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.15,0.04,0.01,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:45","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:08","full",3200.9769999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,21.2799133,-1.41E-3,-0.22,-1.74,-6.58,-0.69,-0.02,0.51,0.2,0.28000000000000003,-0.02,0.1,-0.04,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.16,0.04,0.01,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.89,0,"ajain","2008-06-08T20:11:46","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:09","full",3400.9789999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,22.571072099999999,-1.4E-3,-0.22,-1.71,-6.8,-0.69,-0.02,0.5,0.24,0.28000000000000003,-0.02,0.1,0.04,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.16,0.04,0.01,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.9,0,"ajain","2008-06-08T20:11:47","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:10","full",3601.3011000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,23.8461429,-1.4E-3,-0.23,-1.72,-6.92,-0.69,-0.02,0.5,0.36,0.28000000000000003,-0.01,0.1,0.13,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.17,0.04,0.01,0.05,-0.65,0,0,0.01,-0.21,0,0,0.03,0.9,0,"ajain","2008-06-08T20:11:48","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:11","full",3801.3431,1,0,4.5,2.5000000000000001E-2,1,0,0,25.094902600000001,-1.4E-3,-0.23,-1.78,-6.95,-0.69,-0.02,0.48,0.59,0.28000000000000003,-0.01,0.1,0.26,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.17,0.04,0.01,0.05,-0.65,0,0,0.01,-0.22,0,0,0.03,0.9,0,"ajain","2008-06-08T20:11:49","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:12","full",4001.5050999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,26.322087700000001,-1.4E-3,-0.23,-1.88,-6.86,-0.69,-0.02,0.45,0.82,0.28000000000000003,-0.01,0.1,0.41,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.18,0.04,0.01,0.05,-0.66,0,0,0.02,-0.22,0,0,0.03,0.9,0,"ajain","2008-06-08T20:11:50","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:13","full",4201.5271000000002,1,0,4.5,2.5000000000000001E-2,1,0,0,27.528316,-1.4E-3,-0.23,-2.0299999999999998,-6.67,-0.68,-0.02,0.41,0.98,0.28000000000000003,-0.01,0.09,0.56999999999999995,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.18,0.04,0.01,0.05,-0.66,0,0,0.01,-0.22,0,0,0.03,0.91,0,"ajain","2008-06-08T20:11:51","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:14","full",4401.5591000000004,1,0,4.5,2.5000000000000001E-2,1,0,0,28.7133112,-1.39E-3,-0.23,-2.2200000000000002,-6.42,-0.68,-0.02,0.36,1.04,0.28000000000000003,-0.01,0.09,0.73,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.18,0.04,0.01,0.05,-0.66,0,0,0.02,-0.22,0,0,0.03,0.91,0,"ajain","2008-06-08T20:11:52","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:15","full",4601.6410999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,29.8774069,-1.39E-3,-0.23,-2.46,-6.11,-0.68,-0.02,0.3,1.03,0.27,-0.01,0.09,0.87,-7.0000000000000007E-2,0.01,7.0000000000000007E-2,-0.18,0.04,0.01,0.05,-0.67,0,0,0.01,-0.22,0,0,0.03,0.91,0,"ajain","2008-06-08T20:11:53","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:16","full",4801.6731,1,0,4.5,2.5000000000000001E-2,1,0,0,31.022122100000001,-1.39E-3,-0.23,-2.71,-5.72,-0.68,-0.02,0.25,0.97,0.27,-0.01,0.08,0.99,-7.0000000000000007E-2,0.01,0.08,-0.17,0.04,0.01,0.05,-0.67,0,0,0.02,-0.23,0,0,0.03,0.92,0,"ajain","2008-06-08T20:11:54","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:17","full",5001.7851000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,32.1486193,-1.39E-3,-0.23,-3,-5.31,-0.68,-0.01,0.19,0.92,0.28000000000000003,-0.01,0.08,1.06,-7.0000000000000007E-2,0.01,0.08,-0.15,0.04,0.01,0.05,-0.67,0,0,0.01,-0.23,0,0,0.03,0.92,0,"ajain","2008-06-08T20:11:55","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:18","full",5201.7870999999996,1,0,4.5,2.5000000000000001E-2,1,0,0,33.255588600000003,-1.39E-3,-0.23,-3.32,-4.95,-0.68,-0.01,0.12,0.88,0.28000000000000003,-0.01,7.0000000000000007E-2,1.1100000000000001,-7.0000000000000007E-2,0.01,0.08,-0.14000000000000001,0.04,0.01,0.05,-0.68,0,0,0.02,-0.23,0,0,0.03,0.93,0,"ajain","2008-06-08T20:11:56","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:19","full",5401.8190999999997,1,0,4.5,2.5000000000000001E-2,1,0,0,34.343452900000003,-1.39E-3,-0.23,-3.69,-4.6900000000000004,-0.68,-0.01,0.06,0.87,0.28000000000000003,-0.01,7.0000000000000007E-2,1.1200000000000001,-7.0000000000000007E-2,0.01,0.08,-0.13,0.04,0.01,0.05,-0.68,0,0,0.02,-0.23,0,0,0.03,0.93,0,"ajain","2008-06-08T20:11:57","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:20","full",5601.8211000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,35.413243199999997,-1.39E-3,-0.23,-4.04,-4.47,-0.68,-0.02,0,0.92,0.28000000000000003,0,0.06,1.1100000000000001,-7.0000000000000007E-2,0.01,0.08,-0.12,0.04,0,0.05,-0.68,0,0,0.02,-0.24,0,0,0.03,0.94,0,"ajain","2008-06-08T20:11:58","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:21","full",5801.7129999999997,1,0,4.5,2.5000000000000001E-2,1,0,0,36.466110499999999,-1.3799999999999999E-3,-0.23,-4.33,-4.29,-0.68,-0.02,-0.04,1,0.28000000000000003,-0.01,0.06,1.08,-7.0000000000000007E-2,0.01,0.08,-0.11,0.04,0.01,0.05,-0.69,0,0,0.02,-0.24,0,0,0.03,0.94,0,"ajain","2008-06-08T20:11:59","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:22","full",5901.6040000000003,1,0,4.5,2.5000000000000001E-2,1,0,0,36.985496400000002,-1.3799999999999999E-3,-0.23,-4.45,-4.22,-0.68,-0.02,-0.06,1.05,0.28000000000000003,-0.01,0.06,1.07,-7.0000000000000007E-2,0.01,0.08,-0.11,0.04,0,0.05,-0.69,0,0,0.02,-0.24,0,0,0.03,0.95,0,"ajain","2008-06-08T20:12:00","Integral harmonics and transfer function from a sum of 10 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:23","body",49.840400000000002,1,0,4.5,2.5000000000000001E-2,1,0,0,3.5825200000000001E-2,-1.41E-3,-0.73,5.87,43.45,0.63,-0.38,1.44,4.87,0.03,-0.16,0.18,3.15,-0.09,-0.06,0.17,-0.23,-0.04,0.01,0.06,0.06,0,-0.01,0.05,-0.47,-0.01,0.01,-0.01,0.67,0.01,"ajain","2008-06-08T20:08:00","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:24","body",99.824700000000007,1,0,4.5,2.5000000000000001E-2,1,0,0,7.0703199999999994E-2,-1.2700000000000001E-3,-0.38,1.1100000000000001,-20.89,0.31,-0.1,0.95,5.8,0.02,-0.08,0.18,0.02,-0.03,-0.01,0.13,0.32,0.01,0,7.0000000000000007E-2,-0.73,0,-0.01,0,-0.04,-0.01,0,0.06,0.95,0.02,"ajain","2008-06-08T20:08:01","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:25","body",199.6481,1,0,4.5,2.5000000000000001E-2,1,0,0,0.14111270000000001,-1.25E-3,-0.19,-1.1200000000000001,-27.46,0.18,0,0.63,2.33,0.03,-0.03,0.12,-0.64,0,0,0.09,0.22,0.01,0,7.0000000000000007E-2,-0.83,0.01,0,0.01,-0.06,-0.01,0,0.04,0.98,0.02,"ajain","2008-06-08T20:08:02","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:26","body",299.6241,1,0,4.5,2.5000000000000001E-2,1,0,0,0.21197849999999999,-1.1999999999999999E-3,-0.15,-1.45,-21.26,0.2,0,0.56000000000000005,0.63,0.02,-0.02,0.12,-0.63,0.01,0.01,0.09,0.05,0.02,0,0.06,-0.76,0.01,0,0.02,-0.12,-0.01,0,0.04,0.95,0.02,"ajain","2008-06-08T20:08:03","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:27","body",349.61579999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,0.24741769999999999,-1.1999999999999999E-3,-0.15,-1.47,-18.84,0.2,0,0.54,0.3,0.02,0,0.13,-0.63,0,0.01,0.09,0,0.02,0,0.06,-0.73,0.01,0,0.01,-0.14000000000000001,-0.01,0,0.04,0.95,0.01,"ajain","2008-06-08T20:08:04","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:28","body",399.54379999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,0.28287299999999999,-1.1900000000000001E-3,-0.14000000000000001,-1.47,-16.920000000000002,0.19,-0.01,0.55000000000000004,0.14000000000000001,0.02,0,0.11,-0.62,0.01,0.01,0.09,-0.03,0.02,0,0.06,-0.72,0.01,0,0.01,-0.15,-0.01,0,0.03,0.94,0.01,"ajain","2008-06-08T20:08:05","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:29","body",599.33450000000005,1,0,4.5,2.5000000000000001E-2,1,0,0,0.4246433,-1.2199999999999999E-3,-0.13,-1.42,-12.37,0.2,-0.01,0.55000000000000004,0,0.02,0,0.11,-0.52,0.01,0.01,0.09,-0.09,0.02,0.01,0.06,-0.67,0,0,0.01,-0.18,0,0,0.03,0.93,0.01,"ajain","2008-06-08T20:08:06","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:30","body",798.99270000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,0.56627510000000003,-1.1999999999999999E-3,-0.14000000000000001,-1.37,-10.39,0.21,-0.01,0.56000000000000005,0.05,0.02,0.01,0.11,-0.44,0.01,0.01,0.09,-0.11,0.01,0,0.06,-0.66,0.01,0,0.02,-0.19,-0.01,0,0.03,0.92,0.01,"ajain","2008-06-08T20:08:07","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:31","body",999.05970000000002,1,0,4.5,2.5000000000000001E-2,1,0,0,0.70815110000000003,-1.1900000000000001E-3,-0.15,-1.34,-9.3699999999999992,0.22,-0.01,0.56000000000000005,0.1,0.02,0,0.11,-0.39,0.01,0.01,0.09,-0.11,0.01,0,0.06,-0.65,0.01,0,0.02,-0.2,-0.01,0,0.03,0.92,0.01,"ajain","2008-06-08T20:08:08","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:32","body",1199.0742,1,0,4.5,2.5000000000000001E-2,1,0,0,0.84996660000000002,-1.2099999999999999E-3,-0.15,-1.32,-8.77,0.22,-0.01,0.56999999999999995,0.13,0.02,0,0.11,-0.36,0.01,0.01,0.09,-0.11,0.02,0,0.06,-0.64,0.01,0,0.02,-0.2,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:09","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:33","body",1398.9074000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,0.99159620000000004,-1.1999999999999999E-3,-0.16,-1.31,-8.4,0.21,-0.01,0.56999999999999995,0.16,0.02,0,0.11,-0.33,0.01,0.01,0.09,-0.11,0.01,0,0.06,-0.64,0.01,0,0.02,-0.2,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:10","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:34","body",1599.1982,1,0,4.5,2.5000000000000001E-2,1,0,0,1.1334816999999999,-1.1900000000000001E-3,-0.16,-1.29,-8.16,0.22,-0.01,0.56999999999999995,0.18,0.02,0,0.11,-0.32,0.01,0.01,0.09,-0.11,0.01,0,0.06,-0.63,0.01,0,0.02,-0.21,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:11","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:35","body",1799.3951999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,1.2752475999999999,-1.1900000000000001E-3,-0.16,-1.29,-8,0.22,-0.01,0.57999999999999996,0.19,0.02,0.01,0.12,-0.31,0.01,0.01,0.09,-0.11,0.02,0,0.06,-0.63,0.01,0,0.02,-0.21,0,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:12","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:36","body",1999.5360000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,1.4169210000000001,-1.1800000000000001E-3,-0.16,-1.28,-7.91,0.22,-0.01,0.57999999999999996,0.2,0.02,0.01,0.12,-0.3,0.01,0.01,0.09,-0.11,0.02,0,0.06,-0.63,0.01,0,0.02,-0.21,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:13","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:37","body",2199.7655,1,0,4.5,2.5000000000000001E-2,1,0,0,1.558543,-1.1800000000000001E-3,-0.17,-1.27,-7.87,0.22,-0.01,0.57999999999999996,0.19,0.02,0,0.12,-0.28999999999999998,0.01,0.01,0.09,-0.11,0.02,0,0.06,-0.63,0.01,0,0.02,-0.21,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:14","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:38","body",2400.0063,1,0,4.5,2.5000000000000001E-2,1,0,0,1.7000462000000001,-1.1800000000000001E-3,-0.17,-1.26,-7.88,0.22,-0.01,0.57999999999999996,0.19,0.02,0,0.12,-0.28999999999999998,0.01,0.01,0.09,-0.11,0.02,0,0.06,-0.63,0.01,0,0.02,-0.21,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:15","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:39","body",2600.2709,1,0,4.5,2.5000000000000001E-2,1,0,0,1.8412979,-1.17E-3,-0.18,-1.24,-7.94,0.22,-0.01,0.57999999999999996,0.18,0.02,0,0.12,-0.27,0.01,0.01,0.09,-0.11,0.02,0,0.06,-0.63,0.01,0,0.02,-0.21,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:16","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:40","body",2800.3654000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,1.9818480000000001,-1.17E-3,-0.18,-1.2,-8.07,0.22,-0.02,0.59,0.17,0.02,0,0.12,-0.25,0.01,0.01,0.09,-0.12,0.02,0,0.06,-0.63,0.01,0,0.02,-0.22,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:17","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:41","body",3000.7161999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,2.1216314999999999,-1.17E-3,-0.19,-1.1599999999999999,-8.3000000000000007,0.22,-0.02,0.59,0.18,0.02,0,0.12,-0.21,0.01,0.01,0.09,-0.12,0.02,0,0.06,-0.63,0.01,0,0.02,-0.22,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:18","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:42","body",3200.8332,1,0,4.5,2.5000000000000001E-2,1,0,0,2.2600712999999999,-1.16E-3,-0.19,-1.1299999999999999,-8.58,0.22,-0.02,0.59,0.2,0.02,0.01,0.12,-0.16,0.01,0.01,0.09,-0.12,0.02,0,0.06,-0.63,0.01,0,0.02,-0.22,-0.01,0,0.03,0.91,0.01,"ajain","2008-06-08T20:08:19","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:43","body",3400.8676999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,2.3970921999999999,-1.16E-3,-0.2,-1.1000000000000001,-8.83,0.22,-0.02,0.59,0.25,0.02,0.01,0.12,-0.09,0.01,0.01,0.09,-0.13,0.02,0,0.06,-0.63,0.01,0,0.02,-0.22,-0.01,0,0.03,0.92,0.01,"ajain","2008-06-08T20:08:20","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:44","body",3601.1747999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,2.5322925000000001,-1.15E-3,-0.2,-1.1000000000000001,-8.98,0.22,-0.02,0.57999999999999996,0.38,0.02,0.01,0.12,0.01,0.01,0.01,0.09,-0.13,0.02,0,0.06,-0.63,0.01,0,0.02,-0.22,-0.01,0,0.03,0.92,0.01,"ajain","2008-06-08T20:08:21","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:45","body",3801.2193000000002,1,0,4.5,2.5000000000000001E-2,1,0,0,2.6646152999999999,-1.15E-3,-0.2,-1.1499999999999999,-9.0399999999999991,0.22,-0.02,0.56999999999999995,0.63,0.02,0.01,0.12,0.15,0.01,0.01,0.09,-0.14000000000000001,0.02,0,0.06,-0.63,0.01,0,0.02,-0.22,-0.01,0,0.03,0.92,0.01,"ajain","2008-06-08T20:08:22","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:46","body",4001.3712999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,2.7945719000000002,-1.15E-3,-0.2,-1.25,-9,0.22,-0.02,0.54,0.88,0.02,0.01,0.12,0.3,0,0.01,0.09,-0.14000000000000001,0.02,0,0.06,-0.63,0.01,0,0.02,-0.22,-0.01,0,0.03,0.92,0.01,"ajain","2008-06-08T20:08:23","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:47","body",4201.4533000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,2.9222948,-1.15E-3,-0.2,-1.4,-8.86,0.22,-0.02,0.49,1.04,0.02,0.01,0.12,0.47,0,0.01,0.09,-0.15,0.02,0,0.06,-0.63,0.01,0,0.02,-0.23,-0.01,0,0.03,0.93,0.01,"ajain","2008-06-08T20:08:24","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:48","body",4401.4528,1,0,4.5,2.5000000000000001E-2,1,0,0,3.0476280999999998,-1.14E-3,-0.2,-1.6,-8.68,0.22,-0.02,0.45,1.1100000000000001,0.02,0.01,0.11,0.63,0,0.01,0.09,-0.15,0.02,0,0.06,-0.64,0.01,0,0.02,-0.23,-0.01,0,0.03,0.93,0.01,"ajain","2008-06-08T20:08:25","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:49","body",4601.5586000000003,1,0,4.5,2.5000000000000001E-2,1,0,0,3.170709,-1.14E-3,-0.2,-1.84,-8.4499999999999993,0.23,-0.01,0.39,1.0900000000000001,0.02,0.01,0.11,0.77,0,0.01,0.1,-0.14000000000000001,0.02,0,0.06,-0.64,0.01,0,0.02,-0.23,-0.01,0,0.03,0.94,0.01,"ajain","2008-06-08T20:08:26","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:50","body",4801.5780999999997,1,0,4.5,2.5000000000000001E-2,1,0,0,3.2916913000000001,-1.14E-3,-0.2,-2.11,-8.14,0.23,-0.01,0.33,1.04,0.02,0.01,0.1,0.89,0,0.01,0.1,-0.13,0.02,0,0.06,-0.65,0.01,0,0.02,-0.23,-0.01,0,0.03,0.94,0.01,"ajain","2008-06-08T20:08:27","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:51","body",5001.6262999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,3.4106610000000002,-1.14E-3,-0.19,-2.4,-7.81,0.23,-0.01,0.27,0.97,0.02,0.02,0.1,0.97,0,0.01,0.1,-0.12,0.02,0,0.06,-0.65,0.01,0,0.02,-0.24,-0.01,0,0.03,0.95,0.01,"ajain","2008-06-08T20:08:28","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:52","body",5201.6646000000001,1,0,4.5,2.5000000000000001E-2,1,0,0,3.5276033999999998,-1.1299999999999999E-3,-0.19,-2.74,-7.56,0.23,-0.01,0.2,0.92,0.02,0.02,0.09,1.01,0,0.01,0.1,-0.11,0.02,0,0.06,-0.65,0.01,0,0.02,-0.24,-0.01,0,0.03,0.95,0.01,"ajain","2008-06-08T20:08:29","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:53","body",5401.6715999999997,1,0,4.5,2.5000000000000001E-2,1,0,0,3.6424424000000002,-1.1299999999999999E-3,-0.19,-3.11,-7.4,0.24,-0.01,0.14000000000000001,0.91,0.02,0.02,0.09,1.03,0,0.01,0.1,-0.09,0.02,0,0.06,-0.66,0.01,0,0.02,-0.24,-0.01,0,0.03,0.96,0.01,"ajain","2008-06-08T20:08:30","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:54","body",5601.6797999999999,1,0,4.5,2.5000000000000001E-2,1,0,0,3.7553914000000002,-1.1299999999999999E-3,-0.19,-3.46,-7.27,0.24,-0.01,0.08,0.94,0.02,0.02,0.08,1.01,0,0.01,0.1,-0.08,0.02,0,0.06,-0.66,0.01,0,0.02,-0.24,-0.01,0,0.03,0.96,0.01,"ajain","2008-06-08T20:08:31","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:55","body",5801.5929999999998,1,0,4.5,2.5000000000000001E-2,1,0,0,3.8665588,-1.1299999999999999E-3,-0.19,-3.75,-7.18,0.24,-0.01,0.04,1.01,0.02,0.02,0.08,0.99,0,0.01,0.1,-7.0000000000000007E-2,0.02,0,0.06,-0.66,0.01,0,0.02,-0.25,-0.01,0,0.03,0.97,0.01,"ajain","2008-06-08T20:08:32","Transfer function and harmonics from average of central 8 mole positions."]
["F_INT_HARM_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-03-07T14:31:56","body",5901.5240000000003,1,0,4.5,2.5000000000000001E-2,1,0,0,3.9214172,-1.1299999999999999E-3,-0.2,-3.86,-7.15,0.25,-0.01,0.02,1.06,0.02,0.02,0.08,0.97,0,0.01,0.1,-7.0000000000000007E-2,0.02,0,0.06,-0.66,0.01,0,0.02,-0.25,-0.01,0,0.03,0.97,0.01,"ajain","2008-06-08T20:08:33","Transfer function and harmonics from average of central 8 mole positions."]

{"sheet":"F_LOCAL_ANGLE","index":3,"n_rows":11,"n_cols":13,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["ID","MAGNET_NAME","MAGNET_TYPE","MAGNET_STATE","APERTURE_NUMBER","MEASURE_DATE","MEASURE_POSITION","MEASURE_LENGTH","TEMPERATURE","ANGLE","LOGIN_NAME","LOGIN_DATE","NOTES"]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T13:12:14",4.5039999999999996,1,300,4.6000000000000001E-4,"ajain","2008-06-08T20:51:26","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T13:21:16",3.504,1,300,-1.01E-3,"ajain","2008-06-08T20:51:27","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T13:29:22",2.504,1,300,-7.6999999999999996E-4,"ajain","2008-06-08T20:51:28","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T13:35:00",1.504,1,300,-1.5E-3,"ajain","2008-06-08T20:51:29","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T13:41:55",0.504,1,300,-7.6999999999999996E-4,"ajain","2008-06-08T20:51:30","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T13:49:31",-0.496,1,300,-4.4999999999999999E-4,"ajain","2008-06-08T20:51:31","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T13:55:27",-1.496,1,300,-8.8000000000000003E-4,"ajain","2008-06-08T20:51:32","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T14:01:49",-2.496,1,300,-1.8600000000000001E-3,"ajain","2008-06-08T20:51:33","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T14:09:57",-3.496,1,300,-3.1E-4,"ajain","2008-06-08T20:51:34","Run 109; Analysis 10018692; Data taken after cold test."]
["F_LOCAL_ANGLE_SEQ.nextval","HCMBX__001-BL000003",1,"cryomagnet",1,"2002-05-23T14:22:46",-4.4960000000000004,1,300,-5.2900000000000004E-3,"ajain","2008-06-08T20:51:35","Run 109; Analysis 10018692; Data taken after cold test."]